Date:	April 28, 2016

To:	Technical Advisory Committee (TAC) Representatives

From:	Amanda Frazier, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRR and SCR recommended for approval by PRS: - NPRR752, Clarification of Revision Request Process [ERCOT] - SCR788, Addition of Integral ACE Feedback to GTBD Calculation [PDCWG]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR752, Clarification of Revision Request Process [ERCOT] Proposed Effective Date: July 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies Protocol language related to the revision request process to reflect current ERCOT practices. PRS Decision: On 3/10/16, PRS unanimously voted to recommend approval of NPRR752 as amended by the 2/24/16 ERCOT comments. On 4/14/16, PRS unanimously voted to endorse and forward to TAC the 3/10/16 PRS Report and the Impact Analysis for NPRR752. - SCR788, Addition of Integral ACE Feedback to GTBD Calculation [PDCWG] Proposed Effective Date: Upon system implementation - Priority 2016; Rank 1640 ERCOT Impact Analysis: Between $30k and $50k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This SCR updates the formula used by the Resource Limit Calculator to calculate the Generation To Be Dispatched (GTBD) value. The update will include the addition of Area Control Error (ACE) Integral times a configurable factor that captures the long-term Dispatch trend to help minimize GTBD oscillations from one Security-Constrained Economic Dispatch (SCED) interval to the next. The analysis further shows that having an Integral ACE feedback would reduce the amount of manual Time Error corrections performed. PRS Decision: On 3/10/16, PRS voted to recommend approval of SCR788 as submitted. There was one abstention from the Consumer Market Segment. On 4/14/16, PRS unanimously voted to endorse and forward to TAC the 3/10/16 PRS Report and the Impact Analysis for SCR788 with a recommended priority of 2016 and a rank of 1640. Revision Requests Rejected None Revision Requests Withdrawn - NPRR685, Change Criteria for Resource Opportunity Outages [Calpine] - NPRR756, Enhanced Ancillary Services [Freeport LNG] - NPRR757, Distributed Generation Reporting Improvement [SENA] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the May 12, 2016 PRS Meeting - NPRR709, Revisions to Alternative Dispute Resolution Procedure [ERCOT] - NPRR754, Revise Load Distribution Factors Report Posting Frequency [ERCOT] - NPRR755, Agent-Only QSE Registration [ERCOT] - NPRR758, Improved Transparency for Outages Potentially Having a High Economic Impact [ERCOT] - NPRR761, As-Built Clarification to NPRR515, Day-Ahead Market Self-Commitment of Generation Resources [ERCOT] - NPRR762, Removal of Language Related to Responsive Reserve Provided by DC Ties [ERCOT] - NPRR763, As-Built Clarification to NPRR553, Monthly BLT Payment and Charge for Presidio Exception [ERCOT] - NPRR764, QSE Capacity Short Calculations Based on an 80% Probability of Exceedance (P80) [ERCOT] - NPRR765, Remove Vendor Names for Fuel Indices from the Protocols [ERCOT] - SCR790, Wind Resource Power Production and Forecast Transparency [DC Energy] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR638, Revisions to Certain Price Components of EAL [ERCOT] - NPRR667, Ancillary Service Redesign [ ERCOT] - NPRR696, Price Correction Process Following a SCED Failure [Reliant] - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] - NPRR738, ERS Performance Calculations During TDSP Outages [MP2 Energy] - NPRR747, Revision of Voltage Control Requirements [ERCOT] - NPRR751, Clarifications for Distributed Generation Resources [Sun Power/GDF Suez] - NPRR753, Allow AMS Data Submittal Process for TDSP-Read Non-Modeled Generators [ERCOT] - NPRR759, Segmentation of the Total New Capacity Estimate in the ERCOT CDR [PLWG] - NPRR760, Calculation of Exposure Variables For Days With No Activity [DC Energy] - SCR785, Update RTL calculation to include Real-Time Reserve Price Adder based components [ERCOT] - SCR789, Update NMMS Topology Processor to PSSE 34 Capability [ERCOT] New Revision Requests Scheduled for Consideration at the May 12, 2016 PRS Meeting - NPRR766, Alignment of System-Wide Discount Factor Description with Operational Adjustments to RDF [ERCOT] - URGENT These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr