## Slide 1: RDWG Update to ROS
5 May 2016

## Slide 2: RRGRR009
RRGRR009 was generated to address new data requirements in response to new/revised NERC Standards, Planning Guides, and ERCOT
  Voltage Limit Sets
  Relay Loadability
  Most limiting Series Elements
  Geomagnetic Disturbances

## Slide 3: RRGRR009cont…
Comments were received from ERCOT and the Wind Coalition
  Wind Coalition comments do not address the data elements themselves, but the need to supply them at all, as NERC Standard TPL-007-1 limits applicability to components <200kV, while the PGDTF is recommending reducing the applicability threshold to 69kV.
  Wind Coalition will voice their concerns through the PGDTF

## Slide 4: RRGRR009cont…
RDWG is recommending approval of RRGRR009 as edited by the RDWG.
RDWG will return to the ROS next month with the Impact Analysis following its review.

## Slide 5: Draft RRGRR
The Resource Adequacy group at ERCOT has drafted a RRGRR which seeks to provide consistent temperature references for determination of the Seasonal HSL values in the RARF.
They will next present the draft to the QMWG for additional pre-screening before official submission.

## Slide 6: Resource Limit Use by ERCOT
There are currently 12 different resource limit values submitted to ERCOT through various means.
The RDWG compiled the list and sent it to 20 different ERCOT groups for them to explain if or how a particular value was being utilized by that group.
RDWG reviewed responses and have discovered several instances of potentially inappropriate use of a particular limit.

## Slide 7: Resource Limit Use by ERCOTcont…
The RDWG is now requesting that ROS send this list to WMS for additional review and validation by the QMWG
The end goal of this review is to have ERCOT AND market participants modify their work practices/applications if the use of a given resource limit is indeed validated as being inappropriate