## Slide 1: OWG Update to ROS
S. Looney, Luminant
May 5, 2016

## Slide 2: NPRR and NOGRR Review
150NOGRR, Alignment with NPRR747, Revision of Voltage Control Requirements
  ERCOT submitted comments to the NOGRR just prior to the OWG meeting. Carved out the communication issues.
  OWG tabled for one month.
154 NOGRR, Alignment with NPRR755 and Requirements for ERCOT WAN Installation and Exchange of Resource-Specific XML Data
  Concerns were raised regarding the specification of telemetry methods between Resources and the WAN participant.
  OWG could not reach consensus. ERCOT and Luminant have submitted comments.

## Slide 3: NPRR and NOGRR Review
155NOGRR, Voltage Ride-Through Requirements Clarification – Tabled waiting on ERCOT comments.
156NOGRR, Alignment with NPRR762, Removal of Language Related to Responsive Reserve Provided - by DC Ties – Approved language, will return for IA review.
747NPRR, Revision of Voltage Control Requirements – Tabled for one month for review of ERCOT comments.

## Slide 4: TAC Assignment
  OWG was asked by TAC and ROS to look into how ERS may or may not affect reliability and RRS.
    Mark Patterson gave a brief presentation to OWG, he will be back in May to go into further detail.
    Mark confirmed that ERS is not counted in meeting NERC BAL standard reliability reserve requirements.
    ERCOT is considering revisions to ERS test failure consequences due to a significant test failure rate.