## Slide 1: April 28, 2016 TAC Update to COPS
John Schatz
May 11, 2016

## Slide 2: April 19th Board Meeting Update
<number>
  NPRR649, Addressing Issues Surrounding High Dispatch Limit (HDL) Overrides (Vote) – Approved
    The Board was thankful for TAC’s efforts in resolving NPRR649 (Appeal)
  NPRR741, Clarifications to TPE and EAL Credit Exposure Calculations (Vote) - Approved
  NPRR744, RUC Trigger for the Reliability Deployment Price Adder and Alignment with RUC Settlement (Vote) - Approved
  NPRR745, Change ERS Availability from an Hourly to 15-minute Interval Evaluation plus Other Minor Changes (Vote) - Approved
  NPRR746, Adjustments Due to Negative Load (Vote) - Approved
  NPRR748, Revisions associated with COM-002-4 and Other Clarifications Associated with Dispatch Instruction (Vote) - Approved
  NPRR749, Option Cost for Outstanding CRRs - Approved
  NPRR750, Clarify Resource Status when Providing Fast Responding Regulation Service Approved
  SCR787, Maintain NDCRC Data For Generator Transfer Between Resource Entities - Approved

## Slide 3: PRS Report
<number>
Revision Requests Considered by TAC
  NPRR752, Clarification of Revision Request Process – Unanimously Approved
  SCR788, Addition of Integral ACE Feedback to GTBD Calculation – Unanimously Approved
ERCOT Browser Support Roadmap Update
  ERCOT will be providing this same update during today’s COPS meeting

## Slide 4: Revision Requests Tabled at TAC
<number>
Revision Request Previously Tabled:
  NOGRR151, Alignment with NPRR748, Revisions associated with COM-002-4 and Other Clarifications Associated with Dispatch Instructions (Vote)
    03/31/16 TAC Vote: Motion to “TABLE” awaiting the associated NPRR748 Approval at the April Board was Unanimously Approved
    04/28/16 TAC Vote: Unanimously Approved was amended with ERCOT’s desktop administrative and spelling corrections.

## Slide 5: ROS Report
<number>
NOGRR153, Maintenance of Duplicate EEA Language via Alignment NOGRR Process (Vote) – Approved
Appeal of NOGRR149, Revision to Definition of Transmission Operator (Vote)
    03/31/16 TAC Vote: Motion to “TABLE” at TAC for a month was Approved
    04/28/16 TAC Discussion/Vote: Motion to TABLE for SPPG to provide responses to several questions posed by TAC membership. TAC will be expecting updates to SPPG’s homework assignments during their subsequent meetings.
    TAC’s Motion to TABLE was Unanimous

## Slide 6: WMS Report
<number>
ERCOT Recommendation of 200MW increase to RRS for HE 15-18 in July and August 2016
    Endorsed (Roll Call - 70% Yes, 30% No, 1 Abstention)
Allocation Option 3 for VCMRR009
    Endorsed (1 Opposed, 4 Abstentions)
    Option 3 allocates minimum fuel purchase costs over usage from the resource, from any 3rd party transactions, and from any storage volumes
Joint ROS/WMS Workshop on RMR and Regional Haze
    Tentatively scheduled for Tuesday, May 24th
    ERCOT is seeking agenda items from Market Participants

## Slide 7: COPS Report
<number>
Voting Items
PWG Comments to COPMGRR042, Update to COPS Organizational Structure, Creation of MDWG and Updates to PWG Responsibilities Approved
Draft NPRR, Updates to Nodal Protocol Section 18, Load Profiling, to Align with Current Market Processes Approved to Submit to Market Rules
Draft LPGRR, Comprehensive Review of Load Profiling Guide Approved to Submit to Market Rules

## Slide 8: COPS Report (Cont.)
<number>
Additional Items Highlighted:
Settlements Update re: NPRR419, Revisions to RTEIAMT and RMRAAMT
CSWG Update re: NPRR746, NPRR754, COPMGRR041, and COPMMGRR042
MDWG Update re: NOGRR084, 60 Day Disclosure Data, Review of CRR Balancing Account Extract User Guide, Review of Market Data Transparency SLA
PWG Update re: completion of LPG Section 18 review, annual validation proposed changes, and protocol compliance reporting
  http://www.ercot.com/content/wcm/key_documents_lists/76829/09._COPS_UPDATE_TO_TAC_042816.ppt

## Slide 9: RMS Report
<number>
http://www.ercot.com/content/wcm/key_documents_lists/76829/08._RMS_Update_to_TAC_04_28_16__v1_.ppt

## Slide 10: DREAM Discussion
Distributed Resource Energy and Ancillaries Market Taskforce (DREAM)
  http://www.ercot.com/content/wcm/key_documents_lists/76829/10._DREAM_Discussion.zip
  Shell Energy Presentation - ERCOT-Directed Dispatch of Price Responsive Distributed Generation Presentation
  Distributed Energy Resource Issues Matrix
10

## Slide 11: DREAM, Cont.
4/28/16 TAC Discussion and/or Vote:
  Motion to Dissolve the DREAM Taskforce was Approved with 1 Abstention
  Action Item: Randa Stephenson (TAC Chair) will work with ERCOT, TDSPs and interested parties on how we move forward in developing market processes and details pertaining to the DER Issues Matrix on slide 8.
11

## Slide 12: ERCOT
<number>
2016 Ancillary Service Methodology (Possible Vote)
Reserve Discount Factor Update
  Motion to Endorse ERCOT’s proposed changes to the 2016 AS Methodology in conjunction with a reduction in the Reserve Discount Factor (RDF)
  Motion was Approved with 2 NO Votes and 1 Abstention

## Slide 13: Other Business
<number>
Status Update on NPRR667 – Ancillary Service Redesign
    Per Kenan “One word description – Odyssey”. ERCOT appreciates stakeholder input and feedback throughout this process and PRS’ willingness to provide ERCOT another month for discussions.
    If NPRR667 is approved by PRS that would be good, but if not, ERCOT would like to bring NPRR667 to TAC for discussion and direction. ERCOT would like TAC to weigh-in on this issue.
ERCOT Wind Forecast Accuracy-
  ERCOT drafting an NPRR and requested QMWG input. TAC leadership agreed to refer to WMS and WMS can refer to QMWG. Updates expected through the WMS Monthly Report to TAC.
Data Workshop Topics & Dates
  Friday, May 20, 2016 at ERCOT Met Center Conference Room 206
Market Continuity Workshop – 5/2/16

## Slide 14: Questions?
14