| NPRR Number | 751 | NPRR Title | Clarifications for Distributed Generation Resources |
| --- | --- | --- | --- |
| Date |  | May 11, 2016 |  |
| Submitter’s Information |  |  |  |
| Name |  | Clayton Greer |  |
| E-mail Address |  | clayton.greer@morganstanley.com |  |
| Company |  | Morgan Stanley Capital Group, Inc. |  |
| Phone Number |  | (512) 497-2986 |  |
| Cell Number |  |  |  |
| Market Segment |  | Independent Power Marketer (IPM) |  |

Comments

With the apparent problems related to this Nodal Protocol Revision Request (NPRR), Morgan Stanley proposes that we continue with the existing language in the Protocols for the time being with the exception of the 10 MW limitation on resources connected to the Distribution System.  These comments attempt to make those changes.

| Revised Cover Page Language |  |
| --- | --- |
| Revision Description | This Nodal Protocol Revision Request (NPRR) updates the definition of Distributed Generation (DG). |
| Business Case | The NPRR provides needed clarification for DG and supports the ERCOT Strategic Plan per the “Flexible Market Design” Strategic Pillar, in that it helps to “ensure appropriate integration and utilization of resources available to the market.” |

Revised Proposed Protocol Language

- 2.1	DEFINITIONS AND ACRONYMS

- Distributed Generation (DG)

An electrical generating facility located at a Customer’s point of delivery (point of common coupling) that is connected at a voltage less than or equal to 60 kilovolts (kV) which may be connected in parallel operation to the utility system.

- Resource

The term is used to refer to both a Generation Resource and a Load Resource.  The term “Resource” used by itself in these Protocols does not include a Non-Modeled Generator or an ERS Resource.

- 2.2	ACRONYMS AND ABBREVIATIONS