| NPRR Number | 751 | NPRR Title | Clarifications for Distributed Generation Resources |
| --- | --- | --- | --- |
| Date |  | February 9, 2016 |  |
| Submitter’s Information |  |  |  |
| Name |  | Katie Coleman |  |
| E-mail Address |  | katie.coleman@tklaw.com |  |
| Company |  | Thompson & Knight LLP on behalf of the Texas Industrial Energy Consumers (TIEC) |  |
| Phone Number |  | (512) 404-6705 |  |
| Cell Number |  | (512) 773-0394 |  |
| Market Segment |  | Consumer |  |

Comments

TIEC is concerned about changing the Protocol definition of Distributed Generation (DG) to one that does not align with the definitions in PURA or the PUC Substantive Rules.

Both PURA and the Commission’s rules require “distributed generation” resources to be located behind a customer’s point of interconnection.  Specifically, PUC Substantive Rule 25.211(c)(10) defines “distributed generation” using almost the exact same language that currently appears in the Protocols, which specifies that a DG facility must be located “at a customer’s point of delivery (point of common coupling).”  Similarly, PUC Substantive Rule 25.217 limits “distributed renewable generation” to equipment “installed on a retail electric customer’s side of the meter.”  PURA § 31.002(4-a), which defines “distributed natural gas generation facility,” and PURA § 39.916, which defines “distributed renewable generation,” also require that DG generation be located “on the customer’s side of the meter.”  The current Protocol definition of DG matches these definitions, and the Protocols have been written under the assumption that DG installations will be associated with a retail Customer.

Without revisiting each place where the term Distributed Generation appears throughout the Protocols, TIEC is concerned that the proposed definitional changes will have unintended consequences by imposing requirements that do not make sense for merchant generation, or providing exemptions from requirements that should apply to a merchant facility.

TIEC looks forward to further discussion on this issue.

Revised Cover Page Language

No proposed revisions.

Revised Proposed Protocol Language

No proposed revisions.