| NPRR Number | 751 | NPRR Title | Clarifications for Distributed Generation Resources |
| --- | --- | --- | --- |
| Date of Decision |  | February 11, 2016 |  |
| Action |  | Tabled |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 2.2, Acronyms and Abbreviations |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) updates the definition of Distributed Generation (DG) and creates a definition for Aggregate Distributed Generation (ADG). |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The NPRR provides needed clarification for DG and supports the ERCOT Strategic Plan per the “Flexible Market Design” Strategic Pillar, in that it helps to “ensure appropriate integration and utilization of resources available to the market.” Whereas energy technologies are being installed on the Distribution System, this NPRR specifies terms that will be necessary as ERCOT seeks to determine the appropriate methodologies for qualification and registration to enable integration and participation in the market. |  |
| Credit Work Group Review |  | To be determined |  |
| PRS Decision |  | On 2/11/16, PRS unanimously voted to table NPRR751. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 2/11/16, participants requested tabling of NPRR751 and additional discussions of this NPRR with the Distributed Resource Energy and Ancillaries Market Task Force (DREAM TF). |  |

| Sponsor |  |
| --- | --- |
| Name | Chad Blevins / Bob Helton |
| E-mail Address | Blevins@thebutlerfirm.com / Robert.Helton@gdfsuezna.com |
| Company | SunPower Corporation / GDF Suez Energy Marketing NA |
| Phone Number | 512-910-8820 / 713-636-1814 |
| Cell Number |  |
| Market Segment | Independent Generator |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | Cory.Phillips@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| Oncor 020316 | Expressed concern with relocating Distributed Generation (DG) under Resource and defining Aggregate Distributed Generation without also providing applicable uses of that new defined term within Protocols. |
| ERCOT 020416 | Noted concerns with NPRR751 language and requested PRS table the NPRR. |
| TIEC 020916 | Expressed concern with defining Distributed Generation in Protocols in a manner that does not align with Public Utility Regulatory Act (PURA) or Public Utility Commission of Texas (PUCT) Substantive Rules. |

Market Rules Notes

None

Proposed Protocol Language Revision

- 2.1	DEFINITIONS AND ACRONYMS

- Distributed Generation (DG) (see Resource)

- Resource

The term is used to refer to both a Generation Resource and a Load Resource.  The term “Resource” used by itself in these Protocols does not include a Non-Modeled Generator or an ERS Resource.

Distributed Generation (DG)

An electrical generating facility or storage facility connected at a voltage less than or equal to 60 kilovolts (kV) which is connected in parallel operation to the utility system, capable of injecting electrical energy onto the Distribution System. The generation facility may, or may not, be co-located with Load behind the point of common coupling.

Aggregate Distributed Generation (ADG)

A Resource Registration classification for an aggregation of any combination of DG connected at a voltage less than or equal to 60 kilovolts (kV), interconnected in the same Load Zone, capable of injecting electrical energy onto the Distribution System at each Point of Interconnection (POI) included in the aggregation.

- 2.2	ACRONYMS AND ABBREVIATIONS

ADG	Aggregate Distributed Generation