## Slide 1
Fast Responding Regulation Service (FRRS)
Overview
ERCOT
Operations Planning
QMWG
May 13th, 2016

## Slide 2: FRRS Parameters
FRRS deployment parameters currently set in ERCOT EMS.

## Slide 3: FRRS Parameters

## Slide 4: Scenario 1: Frequency below 59.97 Hz
Using a Max deployment Time/Band = 1 minute
60.00
59.99
Up
Down
Idle
F
r
e
q
u
e
n
c
y
(
H
z
)
F
R
R
S
D
e
p
l
o
y
m
e
n
t
Time
(minutes)
0+
<=1
Y minutes
BAND
1
BAND
2
BAND
3
59.97
59.96
59.95
59.91
40%

## Slide 5: Scenario 2: Frequency below 59.96 Hz
Using a Max deployment Time/Band = 1 minute
60.00
59.99
Up
Down
Idle
F
r
e
q
u
e
n
c
y
(
H
z
)
F
R
R
S
D
e
p
l
o
y
m
e
n
t
Time
(minutes)
0+
BAND
1
BAND
2
BAND
3
59.97
59.96
59.95
59.91
40%
<=2
<=1
70%

## Slide 6: Scenario 3: Frequency below 59.95 Hz
Using a Max deployment Time/Band = 1 minute
60.00
59.99
Up
Down
Idle
F
r
e
q
u
e
n
c
y
(
H
z
)
F
R
R
S
D
e
p
l
o
y
m
e
n
t
Time
(minutes)
0+
BAND
1
BAND
2
BAND
3
59.97
59.96
59.95
59.91
40%
<=2
<=1
<=3
70%
100%

## Slide 7: Scenario 4: Frequency below 59.91 Hz (Unit trip)
Using a Max deployment Time/Band = 1 minute
60.00
59.99
Up
Down
Idle
F
r
e
q
u
e
n
c
y
(
H
z
)
F
R
R
S
D
e
p
l
o
y
m
e
n
t
Time
(minutes)
0+
<=1
BAND
1
BAND
2
BAND
3
59.97
59.96
59.95
59.91
100%

## Slide 8: FRRS-Up Recall (Always Based on Duration or Frequency)
Using a Max deployment Time/Band = 1 minute

## Slide 9: FRRS Deployment Statistics
How FRRS is being deployed.

## Slide 10: FRRS Up Deployments

## Slide 11: FRRS Down Deployments

## Slide 12: FRRS Deployments per Hour

## Slide 13: FRRS Up Deployments per Hour
*Data from Jan-15 to Apr-16
Deployments per Hour |  | 
 | FRRS-Up | FRRS-Dn
40% | 1.75 | 1.04
70% | 1.28 | 0.45
100% | 0.30 | 0.06
Total | 3.33 | 1.55

## Slide 14: FRRS Down Deployments per Hour
*Data from Jan-15 to Apr-16
Deployments per Hour |  | 
 | FRRS-Up | FRRS-Dn
40% | 1.75 | 1.04
70% | 1.28 | 0.45
100% | 0.30 | 0.06
Total | 3.33 | 1.55

## Slide 15: Frequency Events
Evaluating battery performance during ERCOT frequency events.

## Slide 16: 1/21/2016 11:14:45 PM

## Slide 17: 1/26/2016 11:25:07 PM

## Slide 18: 2/8/2016 10:31:08 AM

## Slide 19: 3/8/2016 5:03:11 AM

## Slide 20: 2/11/2016 9:09:19 PM

## Slide 21: FRRS Performance
How do FRRS carrying units respond to ERCOT deployment signals?

## Slide 22: 2/18/2016 HE16

## Slide 23: 1/7/2016 HE18

## Slide 24: 1/8/2016 HE23

## Slide 25: 1/20/2016 HE23

## Slide 26: 3/3/2016 HE14