| NOGRR Number | 150 | NOGRR Title | Alignment with NPRR747, Revision of Voltage Control Requirements |
| --- | --- | --- | --- |

| Date | May 17, 2016 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Anthony Alford |
| E-mail Address | anthony.alford@centerpointenergy.com |
| Company | CenterPoint Energy |
| Phone Number | 713-207-2265 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

Comments

CenterPoint Energy appreciates the opportunity to submit the following additional comments to Nodal Operating Guide Revision Request (NOGRR) 150 regarding the 4/21/16 ERCOT comments.

First, CenterPoint disagrees with ERCOT’s removal of edits provided in paragraph (1) (h) of Section 2.7.3.1, Operational Guidelines.  Transmission lines should not be removed from service until all Transmission Service Provider (TSP) reactive devices have been deployed and generation dispatch has been evaluated to resolve the voltage issues.  ERCOT’s comments also stated that the use of a Mitigation Plan or Temporary Outage Action Plan should be evaluated.  CenterPoint Energy would be opposed to either of these if they included the shedding of Customer Load in lieu of Dispatching Generation Resources.  Furthermore, while CenterPoint Energy agrees with ERCOT’s approach of evaluating other reactive controls to mitigate voltage exceedances during light loading conditions, we are concerned that the practice of simply removing transmission lines may mask the identification of potential system improvements that may be needed to prevent these situations from occurring in the first place.

Second, CenterPoint Energy disagrees with ERCOT’s clarifying edits on top of the 1/25/16 CenterPoint comments in paragraph (2) of Section 2.7.3.5, Resource Entity Responsibilities and Generation Resource Requirements.  The requirement states that Generation Resources with high reactive loading from abnormal conditions require ERCOT’s consent to reduce reactive loading.  ERCOT’s proposed edit doesn’t address how this consent is accomplished, and CenterPoint Energy requests clarification from ERCOT about the intent of the language.

Revised Cover Page Language

None at this time

Revised Proposed Guide Language

None at this time