## Slide 1: PLWG Update to ROS
June 9, 2016

## Slide 2: PLWG Update to ROS
Vice-Chair nomination
  Kenneth Bowen (CPS Energy)

## Slide 3: PLWG Update to ROS
PGRR-042 - Regional Transmission Plan Model Reserve Requirement and Load-Generation Imbalance Methodology
  PGRR-042 was submitted to PLWG in response to the ROS load scaling assignment.
  One participant has proposed a requirement and a method for evaluating the reasonableness of scaling load and/or generation in a defined study area
  ERCOT will present a performance evaluation of their 90/10 load forecast in July.
  PGRR-042 remains tabled.

## Slide 4: PLWG Update to ROS
PGRR-046 - Addition of Geomagnetically Induced Current (GIC) Model Building Requirements
  Report to ROS prepared.
  Waiting for Impact Assessment.
  Final review at June PLWG meeting.