## Slide 1: NERC DERTF Update
Jagan Mandavilli
Senior Reliability Engineer
Texas RE

## Slide 2: Purpose
Based on the recommendations from ERSTF that concluded at the end of 2015, a new task force was formed as part of the ERSWG.
The main activity of this task force is to research in to all aspects of DERs and produce a white paper by the end of 2016.

## Slide 3: SCOPE
DERTF scope included activities related to the following:
  Impacts on Operations
  Impacts on Planning
  Modeling of DERs
  Provide clarification regarding BTMG,DG and other related terms and provide distinctions between these categories
  Review the current NERC standards and identify standards that are related to the DERs
  Review and identify reliability gaps if any of the above standards and document the same

## Slide 4: Current Activities
Formation of sub groups to research in to individual areas
Face to Face meetings
Conference calls
Workshops

## Slide 5: Sub group Activities
What are Distributed Energy Resources?
  Definitions
  Behind the Meter Generation (BTMG)
  Distributed Generation (DG)
  Demand Response
  Typical resources? Solar, small hydro, wind, what?

## Slide 6: Sub group Activities
How are Distributed Energy Resources connected?
  Low voltage BTMG – NEC code and utility requirements
  Distributed Generation – NESC and utility requirements
  Metering – what data goes back to BA or utility? Real-time, hourly, monthly read?

## Slide 7: Sub group Activities
How are Distributed Energy Resources modeled?
  Distribution load is netted at source bus on present models
  Is it being modeled discretely anywhere?
  When does it become significant?
  NERC Load Modeling Task Force
  EPRI and WECC Guideline (PVD1 model)

## Slide 8: Sub group Activities
What are Distributed Energy Resources’ operating characteristics?
  IEEE 1547 Requirements (Now and Future)
  Frequency and voltage ride through
  Active fault source?
  Can it run independently of utility connection?
  Governor action
  FERC Notice of Inquiry on Primary Frequency Response
  FERC NOPR – Voltage Support and Control

## Slide 9: Sub group Activities
What effects to Distributed Energy Resources have on the Bulk Electric System (BES)?
  Planning – What is the net load? What is the peak load to serve?
  Operations
  Negative distribution load? Flow up the transformer? Fault source?
  Balancing Authority Load (Net load, Load Forecast, Reserve requirements?)

## Slide 10: Sub group Activities
Applicable NERC Reliability Standards
  MOD-010-0 MOD-012-0 Dynamics Data for Modeling and Simulation
  MOD-016-1.1 Documentation of Data Reporting Requirements
  MOD-017-0.1 Aggregated Actual and Forecast Demands and Net Energy for Load
  MOD-019-0.1 Reporting of Interruptible Demands and Direct Control Load Management
  MOD-020-0 Providing Interruptible Demands and Direct Load Control Management Data
  MOD-021-1 Documentation of the Accounting Methodology for the Effects of Demand-Side Management in Demand and Energy Forecasts
  MOD-031 is pending
  MOD-032 replaces MOD-010
  MOD-033 replaces MOD-012
  PRC-006 UFLS
  PRC-0?? UVLS schemes
  PRC-019
  PRC-024-2 (pending) Generator Voltage and Frequency Coordination

## Slide 11: Sub group Activities
Recommendations
  Connection requirements
  Modeling
  Performance requirements?
  Accounting Load/Gen?
  Modifications to any NERC Standards?
  Load, Forecast, Reserve requirements?

## Slide 12: Upcoming workshop

## Slide 13
Questions?