DRAFT Minutes of the Reliability and Operations Subcommittee (ROS) Meeting ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744 Thursday, May 5, 2016 – 9:30 a.m. Attendance Members: Bern, Alan Oncor DeTullio, David Air Liquide Dillard, Jesse City of Dallas Ee, Danny Austin Energy Greer, Clayton Morgan Stanley Hatfield, Bill LCRA Holloway, Harry GDF Suez Alt. Rep. for A. Ramirez Hudson, Tony TNMP Jones, Randy Calpine Keetch, Rick Reliant Energy Retail Services Koenig, Chris Golden Spread Electric Kroskey, Tony Brazos Electric Cooperative Kunkel, Dennis AEP Service Corporation Moore, John South Texas Electric Cooperative Perez, Eliazar Brownsville PUB Alt. Rep. for E. Alvarez Reed, Cyrus Sierra Club Staples, Boone Tenaska Power Services Vo, Trieu CPS Energy Woitt, Wes CenterPoint Energy Zaragoza, Luis Pattern Energy The following proxy was assigned: Billy Lee to Trieu Vo Guests: Ahn, Sirius, Jung Oncor Alford, Anthony CenterPoint Energy Via Teleconference Armke, James Austin Energy Bailey, Robert NRG Barnes, Bill NRG Via Teleconference Bunch, Kevin EDFES Chatlani, Varsha LCRA Via Teleconference Chhajed, Pushkar Luminant Via Teleconference Checkley, Jim Cross Texas Corpuz, Genardo LCRA Via Teleconference Cripe, Ramsey Schneider Engineering Via Teleconference DeWitt, Charles LCRA Erbrick, Michael MICS Via Teleconference Evans, Doug STEC Via Teleconference Fletcher, Blake Endure Energy Via Teleconference Graham, Greg Texas Reliability Entity Via Teleconference Grimes, Mike EDPR Via Teleconference Gross, Blake AEPSC Hammons, Daniela CenterPoint Energy Via Teleconference Henry, Mark Texas Reliability Entity Henson, Martha Oncor Hunt, Dandy AEN Via Teleconference Jewell, Michael Jewell and Associates Via Teleconference Jones, Liz Oncor Juricek, Michael Oncor Via Teleconference Kee, David CPS Energy Khayat, Maribel CenterPoint Energy Via Teleconference Kremling, Barry GVEC Looney, Sherry Luminant Melgoza, Moises APX Via Teleconference Mueller, Paula Texas Reliability Entity Via Teleconference Palen, John NRG Peters, Patrick CenterPoint Energy Reid, Walter Wind Coalition Ross, Richard AEPSC Sandidge, Clint Noble Solutions Via Teleconference Schwarz, Brad Hunt Power Via Teleconference Tu, Feng AEP Via Teleconference Turner, Lucas STEC Via Teleconference Varnell, John Tenaska Via Teleconference Wall, Perrin CenterPoint Energy Via Teleconference White, Lauri AEP Texas Whitworth, Doug Texas Reliability Entity Via Teleconference Williams, Scot Oncor Via Teleconference Woodruff, Taylor Oncor Via Teleconference ERCOT Staff: Albracht, Brittney Billo, Jeff Chang, Sean Via Teleconference Clifton, Suzy Coon, Patrick Via Teleconference Deller, Art Via Teleconference Frosch, Colleen Giarratano, Alex Gnanam, Prabhu Via Teleconference Hanson, Kevin Via Teleconference Landry, Kelly Mereness, Matt Via Teleconference Reed, Bobby Via Teleconference Spinner, Mark Teixeira, Jay Thompson, Chad Thompson, David Via Teleconference Woodfin, Dan Unless otherwise indicated, all Market Segments were present for a vote. 2016 ROS Chair Alan Bern called the May 5, 2016 ROS meeting to order at 9:30 a.m. Antitrust Admonition Mr. Bern directed attention to the Antitrust Admonition, which was displayed. A copy of the Antitrust Guidelines was available for review. Agenda Review (see Key Documents) There were no changes to the agenda. Approval of ROS Meeting Minutes March 3, 2016 April 7, 2016 This item was postponed.

Technical Advisory Committee (TAC) Update Mr. Bern noted that TAC tabled the appeal of Nodal Operating Guide Revision Request (NOGRR) 149, Revision to Definition of Transmission Operator, and assigned a list of questions to be answered by the appellant.

ERCOT Updates Operations Report Alex Giarratano presented the Operations Report. Wes Woitt requested that the comment field indicating the size of the unit that tripped be reinserted to the Frequency Events Table. System Planning Report Jeff Billo presented the System Planning Report, and reminded Market Participants that the full list is available in the Generator Interconnection Status Report. Mr. Woitt suggested that it would be more useful to see the full list of interconnecting Resources in the report to ROS, adding that it is confusing when some projects are not listed, even if for the reason of unchanged status. Laredo-North Edinburg Series Capacitor Testing Update Mr. Billo reported that AEP is preparing to energize the Laredo-North Edinburg line and has requested of ERCOT permission to perform series capacitor testing. Mr. Billo stated that after multi-tiered analysis, ERCOT is inclined to grant the request; will send a Market Notice ahead of testing, which will be less than one day in duration; and welcomes stakeholder input. Randy Jones reiterated his concern that only recently has he heard of the intention to test series capacitors, reviewed his memo of May 3, 2013 expressing objection to the testing, and opined that this is an inopportune time to test anything in the Valley region. Dennis Kunkel offered that the test will be brief, consistent with those conducted for Competitive Renewable Energy Zone (CREZ) lines, and that cost allocation will not be applicable. Update re North American Electric Reliability Corporation (NERC) Standard PRC-002-2 Disturbance Monitoring and Reporting Requirements Fred Huang reported that ERCOT has preliminarily identified 74 generators and 19 Transmission Elements that will be required to have dynamic disturbance recording (DDR) capability, and that ERCOT is in the process of notifying affected Entities. Market Participants added that there is an implementation period after the July 1, 2016 effective date.

PRS Referrals (see Key Documents) SCR789, Update NMMS Topology Processor to PSSE 34 Capability Mr. Woitt moved to endorse SCR789 as amended by the 5/3/16 STEC comments. John Moore seconded the motion. The motion carried unanimously. Refine the Process for Identifying High Impact Outages re NPRR758, Improved Transparency for Outages Potentially Having a High Economic Impact Mr. Bern reported that PRS requested WMS, the Reliability and Operations Subcommittee (ROS) and the Outage Coordination Improvements Task Force (OCITF) consider how Market Participants will work with ERCOT to develop the list of High Impact Transmission Elements (HITEs). Mr. Woodfin added that NPRR758 may be implementable in phases. Walter Reid noted that he would raise to discussion the possibility of transmission Maintenance Outages being taken during the summer, with low wind-production times, rather than in the spring.

Revision Requests Tabled at PRS, Referred to ROS (see Key Documents) NOGRR050, Resolution of Reporting Issues Related to NPRR219 Mr. Woitt requested ERCOT Staff provide an example of the report NOGRR050 would produce; Troy Anderson offered to convey the request to the project team. Clayton Greer moved to endorse and forward to TAC the revised Impact Analysis for NOGRR050. Rick Keetch seconded the motion. The motion carried unanimously. NPRR747, Revision of Voltage Control Requirements ROS took no action on this item.

Resource Data Working Group (RDWG) (see Key Documents) John Palen reviewed recent RDWG activities. Mr. Reid expressed concern for ambiguity in the Nodal Protocols and Guides as to the definition of High Sustained Limit (HSL) and Low Sustained Limit (LSL); that sometimes the value is a Real-Time value, at other times a Current Operating Plan (COP) value or a telemetered value; that a distinction between the types of values is lacking and a source of potential misuse and confusion.

Network Data Support Working Group (NDSWG) (see Key Documents) Tony Kroskey reviewed recent NDSWG activities.

Operations Working Group (OWG) (see Key Documents) Sherry Looney presented Revision Requests for ROS consideration. NOGRR154, Alignment with NPRR755 and Requirements for ERCOT WAN Installation and Exchange of Resource-Specific XML Data Market Participants reviewed the 5/4/16 Luminant comments and revisited the 3/7/16 Tenaska comments, again noting the conflict between the Tenaska and ERCOT proposals for both non-WAN communication via the Internet, and ERCOT’s role in resolving data issues with Qualified Scheduling Entities (QSEs). Luis Zaragoza moved to table NOGRR154. Mr. Greer seconded the motion. The motion carried unanimously.

Operations Training Working Group (OTWG) Mark Spinner reviewed recent OTWG activities.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents) Mr. Giarratano presented recent PDCWG analysis.

Planning Working Group (PLWG) (see Key Documents) Charlie DeWitt reviewed recent PLWG activities. Close Action Item – Generation Deliverability Mr. R. Jones moved to consider the Generation Deliverability assignment closed, and to request that ERCOT Staff review the top five highest congestion rent values and report to PLWG how many MWs are trapped and on what periodicity, and what might be done to fix any deliverability issue. Mr. Greer seconded the motion. The motion carried unanimously.

Steady State Working Group (SSWG) (see Key Documents) Dandy Hunt reviewed recent SSWG activities.

Voltage Profile Working Group (VPWG) (see Key Documents) Feng Tu reviewed recent VPWG activities.

Other Business May 9, 2016 at Texas RE: ERCOT and Texas RE Workshop: Remedial Action Scheme Mr. Bern reminded Market Participants of the upcoming workshop. NERC Standard IRO-010-2 Reliability Coordinator Data Specification and Collection Colleen Frosch reported that ERCOT is to maintain the data specification document and that the ERCOT Nodal ICCP Handbook likely that document; is currently TAC-approved; could be incorporated into the Nodal Operating Guides or maintained as a stand-alone Other Binding Document; and invited stakeholder input. Market Participants discussed that the ICCP Handbook is in need of updating; that it might be useful to change the name of the handbook and keep as a stand-alone document; and that a workshop to discuss the changes may be useful. Open Action Items No Report Black Start Working Group (BSWG) Dynamics Working Group (DWG) Outage Coordination Improvements Task Force (OCITF) Planning Geomagnetic Disturbance Task Force (PGDTF) System Protection Working Group (SPWG)

Adjournment Mr. Bern adjourned the May 5, 2016 ROS meeting at 12:41 p.m.

# Footnotes

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2016/5/5/77596-ROS