DRAFT Minutes of the Reliability and Operations Subcommittee (ROS) Meeting ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744 Thursday, March 3, 2016 – 9:30 a.m. Attendance Members: Barnes, Bill; Reliant Energy Retail Services; Alt. Rep. for R. Keetch. Bern, Alan; Oncor. DeTullio, David; Air Liquide. Dillard, Jesse; City of Dallas. Ee, Danny; Austin Energy. Greer, Clayton; Morgan Stanley. Hatfield, Bill; LCRA. Holloway, Harry; GDF Suez; Alt. Rep. for A. Ramirez. Hudson, Tony; TNMP. Jones, Randy; Calpine; Via Teleconference. Koenig, Chris; Golden Spread Electric. Kroskey, Tony; Brazos Electric Cooperative. Kunkel, Dennis; AEP Service Corporation. Lee, Billy; Garland Power and Light. Moore, John; South Texas Electric Cooperative. Perez, Eliazar; Brownsville PUB; Alt. Rep. for E. Alvarez. Staples, Boone; Tenaska Power Services. Tzartzev, Rouslan; EDP Renewables; Via Teleconference. Vo, Trieu; CPS Energy. Woitt, Wes; CenterPoint Energy. Zaragoza, Luis; Pattern Energy. Guests: Armke, James; Austin Energy. Ashley, Kristy; CES. Brandt, Adrianne; CPS Energy. Bunch, Kevin; EDFES. Cripe, Ramsey; Schneider Engineering. DeWitt, Charles; LCRA. Gross, Blake; AEPSC. Hunt, Dandy; AEN. Juricek, Michael; Oncor. Kee, David; CPS Energy. Lane, Rob; Luminant. Looney, Sherry; Luminant. Nunan, Gerry; Schneider Engineering. Palen, John; NRG. Peters, Patrick; CenterPoint Energy. Reid, Walter; Wind Coalition. Santos, Juan; Garland Power and Light. White, Lauri; AEP Texas. Woodruff, Taylor; Oncor. ERCOT Staff: Albracht, Brittney. Billo, Jeff. Clifton, Suzy. Giarratano, Alex. Lavi, Yamit. Landry, Kelly. Solis, Stephen. Teixeira, Jay. Thompson, Chad.. Unless otherwise indicated, all Market Segments were present for a vote. 2016 ROS Chair Alan Bern called the March 3, 2016 ROS meeting to order at 9:31 a.m. Antitrust Admonition Mr. Bern directed attention to the Antitrust Admonition, which was displayed. A copy of the Antitrust Guidelines was available for review.

Agenda Review (see Key Documents) There were no changes to the agenda.

Approval of ROS Meeting Minutes February 4, 2016 David DeTullio moved to approve the February 4, 2016 ROS meeting minutes as submitted. Tony Kroskey seconded the motion. The motion carried unanimously.

ERCOT Updates (see Key Documents) Operations Report Yamit Lavi presented the Operations Report. Market Participants discussed high wind, low Load, and inertia. System Planning Report Jeff Billo presented the System Planning Report.

Power System Simulator/Engineering (PSS/E) Model Updates Walter Reid reiterated concern for notice when Transmission Service Providers (TSPs) and ERCOT update to a new version of PSS/E. Market Participants discussed that PSS/E v34 is coming anytime between November 2016 and August 2017, and that Entities need not wait for additional notice to begin updating models. Mr. Reid requested that working groups note in their posted reports when version changes are coming.

Recommendation re NRG Application for Permanent Site-Specific Exemption from Compliance with ERCOT Nodal Metering Protocols, Section 10.3.2.3 (6) (see Key Documents) John Palen presented the NRG application for a permanent meter exemption. Randy Jones moved to endorse the NRG Application for Permanent Site-Specific Exemption from Compliance with ERCOT Nodal Metering Protocols, Section 10.3.2.3 (6). Bill Hatfield seconded the motion. The motion carried unanimously.

Appeal of Nodal Operating Guide Revision Request (NOGRR) 149, Revision to Definition of Transmission Operator (see Key Documents) Proponents of NOGRR149 reviewed its merits and opined that the affected Municipally Owned Utilities (MOUs) should be relieved from compliance with the relevant portion of the Nodal Operating Guides because they represent a minor percentage of the overall ERCOT Load, and that requiring these entities to obtain the services of a designated Transmission Operator (TO) would be unfair in light of substantial costs. Opponents of NOGRR149 offered that allowing these entities to defer their obligations and to reassign their Load shed obligations to others is equally unfair, and that requiring these entities to obtain the services of a designated TO would allow for better control over transmission constraints that may exist from time to time in the areas of these MOUs. Dennis Kunkel moved to reject the 2/1/16 Schneider Engineering, LTD appeal and to reject NOGRR149. Harry Holloway seconded the motion. The motion carried with four abstentions from the Cooperative (LCRA), Independent Generator (Pattern Energy), Independent Power Marketer (IPM) (Tenaska), and Municipal (Garland Power and Light) Market Segments.

PRS Referrals There were no referrals to ROS from the February 2016 PRS.

Revision Requests Tabled at PRS, Referred to ROS (see Key Documents) NOGRR050, Resolution of Reporting Issues Related to NPRR219 (OCITF) Nodal Protocol Revision Request (NPRR) 685, Change Criteria for Resource Opportunity Outages (OCITF) NPRR747, Revision of Voltage Control Requirements (OWG) ROS took no action on these items.

2016 Working Group Leadership (see Key Documents) Mr. Kroskey moved to confirm 2016 leadership for the Black Start Working Group (BSWG) and the Operations Training Working Group (OTWG) as submitted. Trieu Vo seconded the motion. The motion carried unanimously.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents) Alex Giarratano reviewed recent activities of the PDCWG.

Black Start Working Group (BSWG) Brittney Albracht reviewed recent BSWG activities.

Dynamics Working Group (DWG) (see Key Documents) Juan Santos reviewed recent DWG activities. Market Participants discussed that a Revision Request to address the Full Interconnection Study (FIS) process is anticipated. Market Participants also discussed that parties wishing to request work of ROS working groups should approach ROS with the request, rather than contacting the working groups directly.

Operations Working Group (OWG) (see Key Documents) Sherry Looney reviewed recent OWG activities. NOGRR151, Alignment with NPRR748, Revisions associated with COM-002-4 and Other Clarifications Associated with Dispatch Instructions Mr. R. Jones moved to recommend approval of NPGRR151 as recommended by OWG in the 2/18/16 OWG Report. Mr. Hatfield seconded the motion. The motion carried unanimously.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents) Mike Juricek reviewed recent PGDTF activities.

Planning Working Group (PLWG) (see Key Documents) Charlie DeWitt reviewed recent PLWG activities Revisions to PLWG Whitepaper Mr. Kroskey moved to approve revisions to the PLWG Whitepaper as submitted. Mr. Hatfield seconded the motion. The motion carried with one abstention from the IREP Market Segment (Reliant Energy Retail Services). ROS Direction re Stability Issues Identified during FIS Mr. Kunkel moved to endorse a short term solution as described by Option 3 wherein ERCOT works through issue with Entities, and a long-term solution as described by Option 2; and to direct PLWG to develop PGRR language to address timing of the FIS. Clayton Greer seconded the motion. The motion carried unanimously. Clarification of Planning Guide Section 6.9 Wes Woitt moved to direct the PLWG to review Section 6.9 and the Interconnection process, and to recommend revisions to the Planning Guide or other appropriate action. Bill Barnes seconded the motion. The motion carried unanimously.

Resource Data Working Group (RDWG) Dissolution of RDWG Market Participants discussed whether, due to low stakeholder participation, RDWG should be dissolved and its responsibilities transferred directly to ROS. Ann Boren noted that ERCOT Staff would like to maintain visibility and transparency for the Resource Asset Registration Form and its Glossary, but improve efficiency in the change process. Market Participants discussed whether the scope of the RDWG might be expanded, or moved into an existing working group.

Steady State Working Group (SSWG) (see Key Documents) Dandy Hunt reviewed recent SSWG activities.

System Protection Working Group (SPWG) (see Key Documents) Bret Burford reviewed recent SPWG activities and conveyed concern for limited participation in ERCOT SPWG case building, particularly among smaller Entities.

Voltage Profile Working Group (VPWG) (see Key Documents) Scot Williams reviewed recent VPWG activities.

Outage Coordination Improvements Task Force (OCITF) Dan Woodfin reminded Market participants that the OCITF would meet March 4, 2016.

Other Business Mr. Bern thanked working group and task force leadership for their efforts to provide timely reports, and requested that leadership contact either himself or ROS Vice Chair Boone Staples should work requests be made of their groups by parties other than ROS. No Report - Network Data Support Working Group (NDSWG) - Operations Training Working Group (OTWG)

Adjournment Mr. Bern adjourned the March 3, 2016 ROS meeting at 1:12 p.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2016/3/3/77587-ROS