## Slide 1: OWG Update to ROS
S. Looney, Luminant
June 9, 2016

## Slide 2: NPRR and NOGRR Review
150NOGRR, Alignment with NPRR747, Revision of Voltage Control Requirements
  OWG was in consensus to recommend approval of NOGRR150 as amended by the 4/21/16 ERCOT comments as revised by OWG. OWG will consider IA at June 23 meeting.
155NOGRR, Voltage Ride-Through Requirements Clarification
  Approved language with May 16 ERCOT comments.
  OWG will consider IA at June 23 meeting.
747NPRR, Revision of Voltage Control Requirements –
  OWG was in consensus to endorse NPRR747 as amended by the 4/21/16 ERCOT comments.
156NOGRR, Alignment with NPRR762, Removal of Language Related to Responsive Reserve Provided - by DC Ties –
  OWG approved language and IA; recommends approval by ROS.

## Slide 3: TAC Assignment
  OWG was asked by TAC and ROS to look into how ERS may or may not affect reliability and RRS.
    Reviewed slide of August 4, 2011 ERS deployment.

## Slide 4: August 4, 2011 Deployment Event (10-Minute Only)
Actual Load
Baseline Load
Load Reduction
Obligation
Obligation = 407.9 MWs
Load Reduction= 408.6 MWs