AGENDA

ERCOT Planning Geomagnetic Disturbance Task Force

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78749

Thursday, May 19, 2016 / 9:30am – 3:00 p.m.

http://ercot.webex.com

Meeting Number: 620 099 981

Meeting Password: 051916

Audio Dial-In: 1.877.668.4493

| 1. |  | Antitrust Admonition |  | M. Juricek | 9:30 a.m. |  |
| --- | --- | --- | --- | --- | --- | --- |
| 2. 3. |  | Introductions Agenda Review There were no changes to the agenda. |  | Task Force M. Juricek |  |  |
| 4. |  | Review of Minutes from 4/29/2016 Meeting There were no changes to the meeting notes. |  | Task Force |  |  |
| 5. |  | PGRR046 Addition for Geomagnetically Induced Current (GIC) Model Building Requirements Discussed status of PLWG’s review of the PGRR. |  | M. Juricek/J. Teixeira |  |  |
| 6. |  | Procedure Manual Development Revised the draft Manual so it will be available for ROS June meeting. |  | Task Force |  |  |
| 7. |  | Training on GIC Model Data Preparation There was no discussion on training. |  | Task Force |  |  |
| 8. |  | Future Meetings The next meeting will be in June 2016. |  | M. Juricek |  |  |
| 9. |  | Other Business None |  | M. Juricek |  |  |
| 10. |  | Adjourn |  | M. Juricek | 2:00 p.m. |  |
|  | Open Questions on Model |  | Responsible Party |  |  |  |
|  | - Get definition for GIC and GMD - Ask Siemens: - Station Numbers – Are these changed each time a GIC study is performed if TSP does not supply its own list? - Substation grounding resistance – Is data only collected for high side Y grounded transformers and shunt reactors? - Does it matter what voltage size goes first for Winding 1 in GIC module? Do we want highest kV first? - How does GIC module of PSS/E handle branch data in GIC computations? Does the branch data from PSS/E override the power flow data? |  | ERCOT and TSPs |  |  |  |

Attendees:

| Name |  | Representing | Name |  | Representing |
| --- | --- | --- | --- | --- | --- |
| Michael | Juricek | Oncor | Jay | Teixeira | ERCOT |
| Jianhui | Zhang | AEN | Larisa | Loyferman | CNP |
| Jason | Hulbert | CNP | Cory | Phillips | ERCOT |
| Jun | Li | CNP | Bob | Helton | ENCIE |
| Oluwasayi | Olafugye | CPS | Walt | Simmons | Oncor |
| Qiuli | Yu | ERCOT | Walter | Reid | Wind Coalition |
| Dylan | Preas | LRCA | Barry | Kremline | GVEC |
| Cole | Dietert | LRCA | Bharath | Ravulapati | CTT |
| Ben | Guo | LCRA | Christina | Minchew | WETT |
| Doug | Evans | STEC | Kaleb | Luce | Oncor |
| Matthew | Gomes | Lone Star | Ward | Jablonski | BEC |
| Tim | Cook | CTT | Dwight | Beckman | BEC |
| Brad | Woods | Texas RE |  |  |  |