| PGRR Number |  | PGRR Title |  |
| --- | --- | --- | --- |
| Date Posted |  |
| Requested Resolution | Normal or Urgent, and justification for Urgent status |
| Planning Guide Sections Requiring Revision | Include Section No. and Title |
| Related Documents Requiring Revision/Related Revision Requests | Include title of document to be revised (i.e. Nodal Protocols, Telemetry Standards, etc.) or related Revision Request number and title. |
| Revision Description | Describe the basic function of the Revision Request. |
| Reason for Revision | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |
| Business Case | Describe qualitative benefits (Examples: satisfies regulatory requirements, data transparency enhancement, etc.), quantitative benefits (benefit calculations), impacts to market segments and other information relating to the impacts or benefits of the PGRR. |

| Sponsor |
| --- |
| Name |  |
| E-mail Address |  |
| Company |  |
| Phone Number |  |
| Cell Number |  |
| Market Segment |  |

| Market Rules Staff Contact |
| --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Guide Language Revision

5.9	Triannual Stability Assessment

(1)	ERCOT shall conduct a stability assessment as needed, every 4 months, of the impact of planned new All-Inclusive Generation Resources connecting to the ERCOT System.  The assessment shall derive the conditions to be studied based on the results of the Full Interconnection Study (FIS) stability studies for the All-Inclusive Generation Resources with planned Initial Synchronization in the period under study.  ERCOT may study conditions other than those identified in the FIS stability studies.  All-Inclusive Generation Resources that are not included in the assessment as described in this Section 5.9 Triannual Stability Assessment as result of the Interconnecting Entity failing to meet the prerequisites by the deadlines as listed in the table below will not be eligible for Initial Synchronization during that four month period. The timeline for the triannual stability assessment shall be in accordance with the following table.

| All-Inclusive Generation Resource Initial Synchronization Date – During the Four Month Period | Last Day for an Interconnecting Entity to meet prerequisites as listed in Section 5.9 (2) | Completion of Triannual Stability Assessment |
| --- | --- | --- |
| Upcoming January, Februrary, March, April | Prior July 1 | End of October |
| Upcoming May, June, July, August | Prior November 1 | End of February |
| Upcoming September, October, November, December | Prior March 1 | End of June |

### If the last day for an Interconnecting Entity to meet prerequisites or if the completion of triannual stability assessment as shown in the above table falls on a weekend or holiday, the deadline will extend to the next Business Day.

### (2)	Prerequisites to be satisfied prior to the planned new All-Inclusive Generation Resource being included in the triannual stability assessment:

### (a) The Interconnecting Entity has provided all All-Inclusive Generation Resource data in accordance with the Resource Registration Glossary, Planning Model column, including but not limited to steady state, system protection and stability models. The All-Inclusive Generation Resource has met the requirements of Planning Guide 6.9, Addition of Proposed All-Inclusive Generation Resources to the Planning Models.

### (b) The following elements must be complete, reviewed by ERCOT; and any violations of operational standards as established in the Protocols, Planning Guide, Nodal Operating Guides, and Other Binding Documents are mitigated as required, prior to Initial Synchronization:

### i. FIS Studies are complete,

### ii. SSO studies are complete, if required

### iii. Reactive Power Study is complete

### iv. All studies identified in this Section 5.9 (2) are consistent with All-Inclusive Generation Resource data submitted by the Interconnecting Entity as required by Planning Guide Section 6.9 Addition of Proposed All-Inclusive Generation Resources to the Planning Models.

### (3)	ERCOT shall post to the MIS Secure Area a report summarizing the results of the triannual stability assessment within ten Business Days of completion.

# Comments

I propose that this works with the included companion NPRR to change 16.5(3) to reference Planning Guid 6.9 vs. 6.8.2. Full RARF data is not ever submitted within 60 of the IA being complete. This would also be in conflict with changes to Planning guide 6.9 requiring data for Planning studies by 60 days after sigining the IA and meeting Water, Emmisions and Notice to Proceed requirements.

Same as (2).(b).1 above?

Agree we can probably delete this.