| PGRR Number |  | PGRR Title |  |
| --- | --- | --- | --- |
| Date Posted |  |  |  |
| Requested Resolution |  | Normal or Urgent, and justification for Urgent status |  |
| Planning Guide Sections Requiring Revision |  | Planning Guide 6.9 |  |
| Related Documents Requiring Revision/Related Revision Requests |  | Include title of document to be revised (i.e. Nodal Protocols, Telemetry Standards, etc.) or related Revision Request number and title. |  |
| Revision Description |  | Describe the basic function of the Revision Request. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Describe qualitative benefits (Examples: satisfies regulatory requirements, data transparency enhancement, etc.), quantitative benefits (benefit calculations), impacts to market segments and other information relating to the impacts or benefits of the PGRR. |  |

| Sponsor |  |
| --- | --- |
| Name |  |
| E-mail Address |  |
| Company |  |
| Phone Number |  |
| Cell Number |  |
| Market Segment |  |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Guide Language Revision

6.9	Addition of Proposed All-Inclusive Generation Resources to the Planning Models

(1)	ERCOT will include a proposed All-Inclusive Generation Resource in the base cases created and maintained by the Steady State Working Group (SSWG) once  each of the following has occurred:

(a) 	The Interconnecting Entity (IE) provides all data required in the Screening Study or the FIS, if available)

(b) 	ERCOT determines that the IE has received all necessary Texas Commission on Environmental Quality (TCEQ)-approved air permits or that no such permits are required (not required for wind, photovoltaic solar energy or battery energy storage resources);

(c) 	The IE submits a completed Declaration of Adequate Water Supplies (Section 8, Attachment B, Declaration of Adequate Water Supplies) (not required for wind, photovoltaic solar energy or battery energy storage resources); and

(d) 	ERCOT receives one of the following:

(i)	A signed Standard Generation Interconnection Agreement (SGIA) from the Transmission Service Provider (TSP) and a written notice from the TSP that the IE has provided:

(A)	A notice to proceed with the construction of the interconnection; and

(B)	The financial security required to fund the interconnection facilities; or

(ii)	A public, financially binding agreement between the IE and the TSP under which the interconnection for the Generation Resource will be constructed along with:

(A)	A written notice from the TSP that the IE has provided notice to proceed with the construction of the interconnection; and

(B)	The required financial security; or

(iii)	A letter from a duly authorized official from a Municipally Owned Utility (MOU) or Electric Cooperative (EC) confirming the Entity’s intent to construct and operate a proposed All-Inclusive Generation Resource and interconnect such Generation to its own transmission system.

(2)	Upon meeting the requirements of 6.9 (1), the IE shall provide the remaining required data within 60 days for modeling of the proposed All-Inclusive Generation Resource in the base cases created and maintained by the Steady Strking rProtection Working rPWG) a and  the Dynamics Working Group (DWG) p any remaning planning model data as specified n the Resource Registration Glossary, Planning Model column, using the applicable Resource registration process.

(3)	 n this tery enestorm Generat provide noticlude sucParagrap

(

Once the IE has met these requirements, ERCOT will notify the SSWG, SPWG, and the DWG, and the proposed All-Inclusive Generation Resource will be included in the base cases created and maintained by these working groups.