## Summary
Missed Postings -May 2016
EMIL_ID | Report Type ID | PRODUCT_NAME | GEN_FREQ | # Missed
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 4
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 4
Missed Postings -June 1 - 23, 2016
EMIL_ID | Report Type ID | PRODUCT_NAME | GEN_FREQ | # Missed
NP8-143-CD | 11025 | QSE Ancillary Services Capacity Monitor | Chron - 5 Minutes | 2
NP6-215-CD | 11024 | Real Time Dynamic Rating Data | Chron - 15 Minutes | 1
NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 2
NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 6
NP6-93-CD | 12304 | State Estimator Switch Status | Chron - Hourly | 1
NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 7
NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 2

## Detail
Missed Postings - May 2016
Report Name | EMIL ID | Report ID | Intervals Missed (DD/MM/YYYY) | Reason
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 04/05/2016 00:00 - 04/05/2016 00:05 11/05/2016 00:00 - 11/05/2016 00:05 18/05/2016 00:00 - 18/05/2016 00:05 25/05/2016 00:00 - 25/05/2016 00:05 | CIM Load
Topology Consistency | NP6-291-CD | 12309 | 4/05/2016 00:00 - 04/05/2016 00:05 11/05/2016 00:00 - 11/05/2016 00:05 18/05/2016 00:00 - 18/05/2016 00:05 25/05/2016 00:00 - 25/05/2016 00:05 | CIM Load
Missed Postings - June 22, 2016
Report Name | EMIL ID | Report ID | Intervals Missed (DD/MM/YYYY) | Reason
QSE Ancillary Services Capacity Monitor | NP8-143-CD | 11025 | 08/06/2016 17:40 - 08/06/2016 17:50 | M-A060316-01
Real Time Dynamic Rating Data | NP6-215-CD | 11024 | 08/06/2016 17:30 - 08/06/2016 17:45 | M-A060316-01
Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 08/06/2016 17:40 - 08/06/2016 17:50 | M-A060316-01
State Estimator Switch Status | NP6-93-CD | 12304 | 01/06/2016 00:00 - 01/06/2016 01:00 | CIM Load
State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 01/06/2016 00:00 - 01/06/2016 00:15 08/06/2016 17:40 - 08/06/2016 17:50 15/06/2016 00:00 - 15/06/2016 00:05 | CIM Load M-A060316-01
Topology Consistency | NP6-291-CD | 12309 | 01/06/2016 00:00 - 01/06/2016 00:15 08/06/2016 00:00 - 08/06/2016 00:05 08/06/2016 17:40 - 08/06/2016 17:50 15/06/2016 00:00 - 15/06/2016 00:05 | CIM Load M-A060316-01
Wind Power Production - Actual 5-minute averaged values | NP4-733-CD | 13071 | 08/06/2016 17:40 - 08/06/2016 17:50 | M-A060316-01