| RRGRR Number | 009 | RRGRR Title | Adding Voltage Limit Sets, Relay Loadability, MLSE, and GMD Data |
| --- | --- | --- | --- |
| Date of Decision |  | June 9, 2016 |  |
| Action |  | Tabled |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Priority – 2016; Rank – 1505 |  |
| Guide Sections Requiring Revision |  | Section 2, Resource Registration Glossary |  |
| Related Documents Requiring Revision/Revision Requests |  | Planning Guide Revision Request (PGRR) 046, Addition of Geomagnetically Induced Current (GIC) Model Building Requirements |  |
| Revision Description |  | This Resource Registration Glossary Revision Request (RRGRR) adds three categories of data: Voltage limits are needed for Resources to indicate that their substation transmission level equipment is limited to a certain range of voltages. The relay loadability limits indicate the limits of loading for certain equipment. Geomagnetic Disturbance (GMD) is a newly emphasized risk to the grid. The addition of Geomagnetically-Induced Currents (GIC) and the presence of blocking devices will allow for the study of any vulnerability due to GMD. The addition of a Most Limiting Single Element (MLSE) allows a Resource Entity to identify an MLSE even if that element affects a line not owned by a Resource Entity. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) ERCOT needs to be able to monitor and secure Resource Entity equipment with a VoltageLimitSet (High & Low) for both Normal and Emergency Conditions (in per unit voltage) per Protocol Section 3.10, Network Operations Modeling and Telemetry. Relay Loadability Limits – North American Electric Reliability Corporation (NERC) Standard TPL001-4,Transmission System Planning Performance Requirements, requires ERCOT to study the bulk ERCOT System for performance under certain conditions. NERC Standard TPL-007-1, Transmission System Planned Performance for Geomagnetic Disturbance Events, will require ERCOT to study the bulk ERCOT System for vulnerability to GMDs. ERCOT anticipates that this standard will pass. The MLSE will allow a Resource Entity to identify a limitation that affects equipment that they do not own. This will allow ERCOT to apply the correct limits to Transmission Elements. |  |
| Business Case |  | The inclusion of this information into the Resource Asset Registration process will allow ERCOT to study and better protect Resource equipment and comply with new or revised NERC standards. |  |
| RDWG Decision |  | On 3/28/16, the Resource Data Working Group (RDWG) was in consensus to table RRGRR009. On 4/25/16, RDWG was in consensus to recommend approval of RRGRR009 as amended by the 3/8/16 ERCOT comments and as revised by RDWG. On 6/3/16, RDWG was in consensus to endorse and forward to ROS the 4/25/16 RDWG Report as amended by the 5/11/16 ERCOT comments and the Impact Analysis for RRGRR009 with a recommended priority of 2016 and rank of 1505. |  |
| Summary of RDWG Discussion |  | On 3/28/16, participants decided additional time was needed to review the proposed language changes in RRGRR009 and the 3/8/16 ERCOT comments. On 4/25/16, participants reviewed the 4/19/16 Wind Coalition comments and 3/8/16 ERCOT comments and provided additional language changes to more thoroughly clarify these proposed changes. On 6/3/16, participants reviewed the 5/11/16 ERCOT comments and Impact Analysis. |  |
| ROS Decision |  | On 6/9/16, ROS unanimously voted to table RRGRR009. All Market Segments were present for the vote. |  |
| Summary of ROS Discussion |  | On 6/9/16, participants agreed to table RRGRR009 in order to review the associated PGRR046 at the next ROS meeting. |  |

| Sponsor |  |
| --- | --- |
| Name | Art Deller |
| E-mail Address | Art.deller@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6505 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Lindsay Butterfield |
| E-Mail Address | Lindsay.Butterfield@ercot.com |
| Phone Number | 512-248-6521 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 030816 | Provided various updates to Section 2 such as edits to titles, reformatting and relocation of data columns. |
| Wind Coalition 041916 | Proposed limiting the collection of data for GMD modeling only for Transmission Elements with voltages equal to or greater than 345kV. |
| ERCOT 051116 | Proposed updates to align the revisions made in the 4/25/16 RDWG meeting with the changes in the gray box tab. |

Comments

The proposed changes to Section 2, Resource Registration Glossary, are included in the spreadsheet 009RRGRR-09a RDWG Report 060916.

Please also note the color codes relating to revisions in this section:

- Original ERCOT revisions = red

- ERCOT 030816 = purple

- RDWG 042516 = green

- ERCOT 051116 = blue

Proposed Guide Language Revision

# 2	Resource Registration Glossary

See electronic Microsoft Office Excel© file on the ERCOT website posted with the Resource Registration Glossary.