Nodal Protocol Revision Request


	NPRR Number
	788
	NPRR Title
	RMR Study Modifications

	Date Posted
	July 7, 2016

	
	

	Requested Resolution 
	Urgent.  This Nodal Protocol Revision Request (NPRR) clarifies the study parameters on ERCOT evalution of the need for a Reliability Must-Run (RMR) contract, which could prevent unnecessary capital expenditures on RMR units. 

	Nodal Protocol Sections Requiring Revision 
	3.14.1.2, ERCOT Evaluation
3.14.1.2.1, ERCOT Evaluation of Seasonal Mothball Status

	Related Documents Requiring Revision/Related Revision Requests
	None

	Revision Description
	This NPRR modifies the requirement for RMR studies to use anticipated peaks.

	Reason for Revision
	[image: image1.wmf]

X

  Addresses current operational issues.

[image: image2.wmf]

  Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board).

[image: image3.wmf]

X

  Market efficiencies or enhancements

[image: image4.wmf]

  Administrative

[image: image5.wmf]

  Regulatory requirements

[image: image6.wmf]

  Other:  (explain)

(please select all that apply)

	Business Case
	The current Protocol language requires use of the 90% probability of exceedance (P90) forecast and planning contingency criteria found in the Steady State Working Group (SSWG) cases are overly conservative in the operational horizon for these studies.  This NPRR should reduce the overuse of RMR contracts for reliability concerns that have extraordinarily low probability of materializing.


	Sponsor

	Name
	Randa Stephenson

	E-mail Address
	Randa.stephenson@lcra.org

	Company
	Lower Colorado River Authority (LCRA)

	Phone Number
	512-578-2044

	Cell Number
	

	Market Segment
	Cooperative


	Market Rules Staff Contact

	Name
	Cory Phillips

	E-Mail Address
	cory.phillips@ercot.com

	Phone Number
	512-248-6464


	Proposed Protocol Language Revision


3.14.1.2
ERCOT Evaluation

(1)
Upon receipt of a Notification under Section 3.14.1.1, Notification of Suspension of Operations, ERCOT shall post the Notification on the MIS Secure Area and shall post all existing relevant studies and data and provide a Market Notice of the application and posting of the studies and data.

(2)
Within 14 days after receiving the Notification described in paragraph (1) above, unless otherwise notified by ERCOT that a shorter comment period is required, Market Participants may submit comments to ERCOT on whether the proposed RMR Unit meets the test of operational necessity to support ERCOT System reliability or whether the proposed RMR Unit should qualify for a multi-year RMR Agreement.  ERCOT shall consider and post all submitted comments on the MIS Secure Area.

(3)
Within 24 days after receiving the Notification, ERCOT shall make an initial determination of whether the Generation Resource is required to support ERCOT transmission system reliability.  

(a)
ERCOT shall develop a Load value for use in the RMR study as follows:  For the Load in the RMR transmission studies, ERCOT shall use the forecast used in the Report on Capacity, Demand and Reserves in the ERCOT Region with the addition of self-serve Load.  

(b)
If the Notification indicates that the Generation Resource(s) will decommission, suspend operation indefinitely, or suspend operation for a time period exceeding 12 months, ERCOT, in its sole discretion, may perform transmission reliability analysis over a planning horizon as defined by the latest power flow case and contingency list used by ERCOT Operations with topology changes anticipated up to  two years.  If additional new Generation Resources meet the criteria in Section 16.9, Resources Providing Reliability Must-Run Service, ERCOT should update the power flow case to include those additional Generation Resources with the approporiate seasonal ratings. 
(c)
If the reliability analysis in paragraph (b) above is performed and if the analysis identifies any deficiencies during the two year planning horizon, ERCOT shall pursue solutions to those deficiencies in the following order of priority:

(i)
Alternatives outlined in paragraph (1)(b) of Section 3.14.1, Reliability Must Run, as well as any other operational alternatives deemed to be viable by ERCOT.
(ii)
Transmission upgrades that do not require a Certificate of Convenience and Necessity (CCN) or new rights-of-way that can be implemented prior to the time period that the reliability deficiency has been identified.
(iii)
Transmission upgrades that require a CCN or new rights-of-way that will eliminate the reliability deficiency prior to the time period that the reliability deficiency has been identified. 
(iv)
If items (i) through (iii) above do not resolve the deficiency, then ERCOT shall attempt to enter into an RMR or MRA Agreement to address the reliability deficiency only if the Resource has a significant (at least 10%) Shift Factor impact.
(d)
Additionally, ERCOT shall conduct any other analysis (e.g., operations studies) as required and shall post all study data and results and all analyses and its determination on the MIS Secure Area and issue a Market Notice of its determination.

(4)
Within ten days after a determination by ERCOT that the Generation Resource is required to support ERCOT System reliability, the Resource Entity shall, if it has not already done so, complete and submit to ERCOT Part III of the Notification of Suspension of Operations (Section 22, Attachment E, Notification of Suspension of Operations).  ERCOT shall post the Part III information on the MIS Secure Area.  On the 11th day after the determination or on receipt of Part III of the Notification, whichever comes first, ERCOT and the Resource Entity shall begin good faith negotiations on an RMR Agreement.  These negotiations shall include the budgeting process for Eligible Costs and for fuel costs as detailed in Section 3.14.1.11, Budgeting Eligible Costs, and Section 3.14.1.15, Budgeting Fuel Costs. 

(5)
Within 60 days after receiving Part I and Part II of the Notification, ERCOT shall make a final assessment of whether the Generation Resource is required to support ERCOT System reliability.  ERCOT shall issue a Market Notice of its determination prior to entering RMR Agreement negotiations with the Generation Resource.  If ERCOT determines that the Generation Resource is required, and the RMR Agreement between ERCOT and the Generation Resource has not yet been finalized, good faith negotiations must continue.  At the end of 60 days, ERCOT shall issue a Market Notice on the status of negotiations containing an indication as to whether negotiations are ongoing and the expected time frame for conclusion of negotiations.  If ERCOT determines that the Generation Resource is not needed to support ERCOT System reliability, then the Generation Resource may cease or suspend operations according to the schedule in its Notification, and ERCOT shall issue a Market Notice to this effect.

(6)
ERCOT shall issue a Market Notice on the status of the RMR Unit, including the start date, duration of the RMR Agreement, the Standby Cost per MW and the amount of MW under contract, within 24 hours of signing an RMR Agreement with a Resource Entity.

(7)
If, after 90 days following ERCOT’s receipt of Part I and Part II of the Notification, either ERCOT has not informed the Resource Entity that the Generation Resource is not needed for ERCOT System reliability or both parties have not signed a RMR Agreement for a Generation Resource that ERCOT has determined to be required for ERCOT System reliability, then the Resource Entity may file a complaint with the Public Utility Commission of Texas (PUCT) under subsection (e)(1) of P.U.C. Subst. R. 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas.

(8)
If, after 90 days following receipt of Part I and Part II of the Notification, ERCOT and the Resource Entity have not finalized an RMR Agreement for a Generation Resource that ERCOT has determined to be required for ERCOT System reliability, then the Resource Entity shall maintain that Generation Resource(s) so that it is available for Reliability Unit Commitment (RUC) commitment until no longer required to do so under subsection (e)(2) of P.U.C. Subst. R. 25.502.

3.14.1.2.1
ERCOT Evaluation of Seasonal Mothball Status
(1)
ERCOT shall evaluate requests to place Generation Resources on a seasonal mothball status pursuant to the guidelines provided in Section 3.14.1.2, ERCOT Evaluation, except as stated below.

(2)
Within 30 days after receiving the Notification of Suspension of Operations described in Section 3.14.1.1, Notification of Suspension of Operations, ERCOT shall make an initial assessment of whether the Generation Resource is required to support ERCOT System reliability during the portion of the year when the Generation Resource would be unavailable.  

(a)
For the purpose of studying a Generating Resource operating under a Seasonal Operation Period, ERCOT shall use the forecast used in the Report on Capacity, Demand and Reserves in the ERCOT Region with the addition of self-serve Load. 

(3)
Within 60 days after receiving the Notification of Suspension of Operations ERCOT shall make a final assessment of whether the Generation Resource is required to support ERCOT System reliability during the portion of the year when the Generation Resource would be unavailable.  If the Generation Resource addresses the reliability deficiency, it should have a significant (at least 10%) Shift Factor impact on the constraint.  
PRR_Template.doc
Page 2 of 2
PRR_Template.doc
Page 2 of 2
788NPRR-01 RMR Study Modifications 070716
Page 1 of 5
PUBLIC

_1529414272.unknown

_1529414273.unknown

_1529414270.unknown

_1529414271.unknown

_1529414269.unknown

_1529414268.unknown

