APPROVED

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, April 7, 2016 – 9:30 a.m.

Attendance Members: Bern, Alan; Oncor. Burke, Tom; GSEC; Alt. Rep. for C. Koenig. DeTullio, David; Air Liquide. Dillard, Jesse; City of Dallas. Ee, Danny; Austin Energy. Evans, Doug; STEC; Alt. Rep. for J. Moore. Greer, Clayton; Morgan Stanley. Grimes, Mike; EDP Renewables; Alt. Rep. for R. Tzartzev. Helton, Bob; GDF Suez; Alt. Rep. for A. Ramirez. Hudson, Tony; TNMP. Keetch, Rick; Reliant Energy Retail Services. Kroskey, Tony; Brazos Electric Cooperative. Kunkel, Dennis; AEP Service Corporation. Lee, Billy; Garland Power and Light. Perez, Eliazar; Brownsville PUB; Alt. Rep. for E. Alvarez. Reed, Cyrus; Sierra Club. Staples, Boone; Tenaska Power Services. Vo, Trieu; CPS Energy. Warren, John; LCRA; Alt. Rep. for B. Hatfield. Woitt, Wes; CenterPoint Energy. Zaragoza, Luis; Pattern Energy. Guests: Abbott, Kristin; PUCT; Via Teleconference. Ainspan, Malcom; NRG; Via Teleconference. Armke, James; Austin Energy. Ashley, Kristy; CES. Bailey, Robert; NRG; Via Teleconference. Blackburn, Don; Luminant; Via Teleconference. Brandt, Adrianne; CPS Energy. Bunch, Kevin; EDFES; Via Teleconference. Chatlani, Varsha; LCRA; Via Teleconference. Chui, Ken; LCRA; Via Teleconference. Cripe, Ramsey; Schneider Engineering; Via Teleconference. DeWitt, Charles; LCRA. Donohoo, Ken; Oncor; Via Teleconference. Frazier, Amanda; Luminant. Galliguez, Percy; Brazos Electric. Garcia, David; Enchanted Rock; Via Teleconference. Greaff, Venona; Occidental; Via Teleconference. Gross, Blake; AEPSC. Harvey, Julia; PUCT; Via Teleconference. Henry, Mark; Texas Reliability Entity; Via Teleconference. Henson, Martha; Oncor. Holbrook, Dennis; NRG; Via Teleconference. Hughes, Lindsey; Competitive Power; Via Teleconference. Hunt, Dandy; AEN. Jewell, Michael; Jewell and Associates; Via Teleconference. Juricek, Michael; Oncor; Via Teleconference. Kee, David; CPS Energy. Kremling, Barry; GVEC. Lane, Rob; Luminant. Liu, Ming; Luminant; Via Teleconference. Looney, Sherry; Luminant. Loth, Justin; Oncor; Via Teleconference. McAndrew, Thomas; Enchanted Rock; Via Teleconference. Mercado, David; CenterPoint Energy; Via Teleconference. Morris, Sandra; Direct Energy. Owens, Frank; Cross Texas Transmission. Penny, David; Texas Reliability Entity. Peters, Patrick; CenterPoint Energy. Priestley, Vanus; Macquarie; Via Teleconference. Pushkar, Chhajed; Luminant; Via Teleconference. Reid, Walter; Wind Coalition. Rohan, Adam; Enchanted Rock; Via Teleconference. Sandidge, Clint; Noble Solutions; Via Teleconference. Schwarz, Brad; Sharyland; Via Teleconference. Tu, Feng; AEP; Via Teleconference. Turner, David; Lone Star. Turner, Lucas; STEC; Via Teleconference. White, Lauri; AEP Texas. Wittmeyer, Bob; Longhorn Power; Via Teleconference. Woods, Brad; Texas Reliability Entity. ERCOT Staff: Albracht, Brittney. Billo, Jeff. Castillo, Leo; Via Teleconference. Clifton, Suzy. Giarratano, Alex. Hanson, Kevin; Via Teleconference. Huang, Fred; Via Teleconference. Jin, Julie; Via Teleconference. Lavi, Yamit. Lazarus, Dana; Via Teleconference. Nitika, Mago; Via Teleconference. Landry, Kelly. Phillips, Cory; Via Teleconference. Reed, Bobby; Via Teleconference. Simons, Diane; Via Teleconference. Solis, Stephen; Via Teleconference. Spinner, Mark. Surendran, Resmi; Via Teleconference. Teixeira, Jay; Via Teleconference. Thompson, Chad. Woodfin, Dan.

Unless otherwise indicated, all Market Segments were present for a vote.

2016 ROS Chair Alan Bern called the April 7, 2016 ROS meeting to order at 9:30 a.m. Antitrust Admonition Mr. Bern directed attention to the Antitrust Admonition, which was displayed. A copy of the Antitrust Guidelines was available for review.

Agenda Review (see Key Documents) Mr. Bern announced that the Operations Working Group (OWG) report would be taken up immediately after the ERCOT Updates.

Approval of ROS Meeting Minutes March 3, 2016 This item was postponed.

Technical Advisory Committee (TAC) Update Joint ROS/Wholesale Market Subcommittee (WMS) Workshop re Reliability Must Run (RMR) Mr. Bern announced that the workshop is tentatively scheduled for May 24, 2016. Jeff Billo noted that the workshop would primarily focus on current rules and not additional analysis at this time. Emergency Response Service (ERS) and North American Electric Reliability Corporation (NERC) Standard BAL-002 Mr. Bern reported the TAC assignment to ROS to review the testing of ERS Resources, ERCOT performance, and any impacts to ERCOT’s ability to meet NERC Standard BAL-002. Mr. Bern referred the issue to OWG.

ERCOT Updates (see Key Documents) Operations Report Alex Giarratano presented the Operations Report. System Planning Report Jeff Billo presented the System Planning Report. Reserve Discount Factor (RDF) Sandip Sharma presented analysis of the RDF and ERCOT’s recommendation to reduce the RDF to one percent for temperatures above 95 degrees, and to reduce the RDF to zero for temperatures of 95 degrees and below. Market Participants discussed the possibility of using historical data to understand unit performance at temperatures above 95 degrees, rather than using unannounced testing, and whether temperatures higher than 104 degrees might require still require an RDF greater than one percent. Randy Jones moved to approve the ERCOT recommendation for RDF. Cyrus Reed seconded the motion. The motion carried unanimously. 2016 Ancillary Service Methodology Mr. Sharma presented proposed revisions to the 2016 Ancillary Service Methodology, and noted that the proposed revisions were presented to a number of stakeholder forums in the previous month. Mr. Sharma also noted that, if approved by the ERCOT Board of Directors, the revised methodology would be effective July 1, 2016. Market Participants discussed the RDF; the Operating Reserve Demand Curve (ORDC); the proposed effective date of the revisions, and regulatory certainty; and whether or not there is a reliability need for the proposed additional 200MWs. Bob Helton moved to endorse the ERCOT recommendation for changes to the 2016 Ancillary Service Methodology to procure an additional 200MWs of RRS during Hours Ending 1500 through 1800 in July and August 2016. Dennis Kunkel seconded the motion. Mr. R. Jones moved to amend the motion to delay implementation of the revisions to January 1, 2017. Clayton Greer seconded the motion. The motion to amend failed via roll call, with 13 objections from the Consumer (3) (Air Liquide, City of Dallas, Sierra Club), Cooperative (3) (LCRA, GSEC, STEC), Independent Generator (GDF Suez), Independent Power Marketer (IPM) (Tenaska), Independent Retail Electric Provider (IREP) (Reliant Energy Retail Services), Investor Owned Utilities (IOU) (3) (Oncor, AEPSC, CenterPoint Energy), and Municipal (Brownsville PUB) Market Segments, and seven abstentions from the Cooperative (Brazos), Independent Generator (2) (EDP Renewables, Pattern Energy), IOU (TNMP) and Municipal (3) (Austin Energy, Garland Power and Light, CPS Energy) Market Segments. (Please see ballot posted with Key Documents.) The original motion carried via roll call, with two objections from the Independent Generator (Calpine) and IPM (Morgan Stanley) Market Segments, and four abstentions from the Cooperative (Brazos), Independent Generator (EDP Renewables, Pattern Energy), and Municipal (Garland Power and Light) Market Segments. (Please see ballot posted with Key Documents.)

PRS Referrals There were no referrals to ROS from the March 2016 PRS.

Outage Coordination Improvements Task Force (OCITF) Troy Anderson reminded Market Participants that Nodal Operating Guide Revision Request (NOGRR) 050, Resolution of Reporting Issues Related to NPRR219, was approved in 2010, and recommended that ERCOT file a revised Impact Analysis for consideration at the May 5, 2016 ROS meeting. There were no objections.

Revision Requests Tabled at PRS, Referred to ROS NOGRR050, Resolution of Reporting Issues Related to NPRR219 (OCITF) Nodal Protocol Revision Request (NPRR) 685, Change Criteria for Resource Opportunity Outages (OCITF) NPRR747, Revision of Voltage Control Requirements (OWG) ROS took no action on these items.

Operations Working Group (OWG) (see Key Documents) Sherry Looney presented Revision Requests for ROS consideration. NOGRR152, Restore Synchrony Between Contingency Planning for Minimum Level of Responsive Reserve Service and Real Time Contingency Analysis Ms. Looney advised ROS that OWG could not reach consensus regarding NOGRR152. Market Participants discussed the history of NOGRR152, applicable North American Electric Reliability Corporation (NERC) Standards, and the Ancillary Services Methodology. Proponents of NOGRR152 expressed a desire to raise the Responsive Reserve (RRS) floor for all hours for improved grid reliability, while opponents favored ERCOT’s current approach to procuring minimum levels of reserves in the AS Methodology. Mr. Greer moved to reject NOGRR152. Rick Keetch seconded the motion. The motion carried via roll call, with six objections from the Cooperative (3) (LCRA, GSEC, STEC), Independent Generator (2) (Calpine, GDF Suez), and Investor Owned Utility (IOU) (Oncor) Market Segments, and two abstentions from the Independent Generator (EDP Renewables, Pattern Energy) Market Segment. (Please see ballot posted with Key Documents.) NOGRR153, Maintenance of Duplicate EEA Language via Alignment NOGRR Process Mr. Helton moved to recommend approval of NOGRR153 as recommended by OWG in the 3/24/16 OWG Report. Mr. Greer seconded the motion. The motion carried unanimously.

Operations Training Working Group (OTWG) Mark Spinner reviewed recent OTWG activities. Mr. Bern noted reception of positive feedback regarding the 2016 Operations Training Seminar, and thanked ERCOT Staff for their efforts.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents) Percy Galliguez reviewed recent PDCWG activities.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents) Mike Juricek reviewed recent PGDTF activities.

Planning Working Group (PLWG) (see Key Documents) Charlie DeWitt reviewed recent PLWG activities.

Steady State Working Group (SSWG) (see Key Documents) There were no questions regarding the posted SSWG report.

System Protection Working Group (SPWG) (see Key Documents) There were no questions regarding the posted SPWG report.

Other Business - TRE Workshop: Remedial Action Scheme May 9, 2016 – 9am-1pm - Open Action Items - No Report - Black Start Working Group (BSWG) - Resource Data Working Group (RDWG) - Dynamics Working Group (DWG) - Network Data Support Working Group (NDSWG) - Voltage Profile Working Group (VPWG)

Adjournment Mr. Bern adjourned the April 7, 2016 ROS meeting at 11:50 a.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: http://www.ercot.com/calendar/2016/4/7/77591-ROS