## Slide 1
Project 2015-08 –
Emergency Operations
–
Laura Anderson, NERC Standards Developer

## Slide 2: Project 2015-08 Emergency Operations
Project 2015-08 – Emergency Operations
  The Emergency Operations Standards Drafting Team (EOP SDT) is developing revisions based on recommendations that resulted from the Project 2015-02 Emergency Operations Periodic Review of the following standards:
    EOP-004-2
    EOP-005-2
    EOP-006-2
    EOP-008-1

## Slide 3: Project 2015-08 Emergency Operations
Proposed Retirements
  EOP-005
    Requirement R3, Part 3.1 (retirement of EOP-005-2, Requirement R3, Part 3.1 approved by Federal Energy Regulatory Commission (FERC) with effective date of January 21, 2014);
    Requirement R7
    Requirement R8
  EOP-006
    Requirement R1, Parts 1.2, 1.3, and 1.4
    Requirement R7
    Requirement R8

## Slide 4: Project 2015-08 Emergency Operations
Revisions
  EOP-005
    Clarifying language revisions for several requirements; and
    Revisions to address findings from The Report on the FERC-NERC-Regional Entity Joint Review of Restoration and Recovery Plans.
  EOP-006
    Clarifying language revisions for several requirements.
  EOP-008
    Clarifying language revisions for several requirements; and
    Requirement R1, Part 1.2.3 revised from “Voice communications” to “Interpersonal Communications” (defined term became effective 10/1/2015).

## Slide 5: EOP-004-2 Attachment 1
Reportable Events
  The EOP PRT recommended revisions to Attachment 1. The posted recommendations and SAR posting resulted in comments and considerations from industry for attachment revisions, such as:
    Provide clarity to the obligations of the Responsible Entities;
    Eliminating duplicative reporting by the Generator Operator (GOP) and Balancing Authority (BA);
    Generation loss criteria specific to Quebec Interconnection; and
    To look for alignment opportunities with the OE-417 report.

## Slide 6: EOP-004-2 Attachment 2
EOP-004 – Attachment 2: Event Reporting Form
  EOP SDT Leadership conducted an initial meeting with the U.S. Department of Energy (DOE). This meeting resulted in:
    EOP SDT and DOE committing to look for opportunities for alignment of reporting requirements; and
    Participation of DOE representatives in the May 3-5, 2016 EOP SDT meeting for further discussions on alignment of OE-417 and EOP-004 event reporting.

## Slide 7: Project 2015-08 Emergency Operations
Sean Cavote, Manager of Standards Development
404-446-9697
sean.cavote@nerc.net
Laura Anderson, Standards Developer
404-446-9671
laura.anderson@nerc.net
Stephen Crutchfield, Senior Standards Developer
609-651-9455
stephen.crutchfield@nerc.net

## Slide 8
Questions and Answers