## Process_Assumptions
Process & Assumptions
1) This process utilizes 867 reads with a stop date ending in the prior month
2) Data selected from database for analysis as per dates noted on Read Statistics tab
3) Selected all AMS reads (where ESI ID has AMS profile & status = 'A' or 'D') with start times within 60 days of the first of the reporting month to the last day of the reporting month
4) Both estimated and actual 867 and AMS reads were selected
5) Selected 867 records that have AMS reads (if an ESI ID has an 867 but no AMS read then the 867 record is dropped)
6) Sum up AMS totals for the period of the coinciding 867 read
7) Calculate the delta between 867 and AMS kWh
a) (Delta kWh) = [(867 kWh) - round(AMS kWh)] / (867 kWh)
b) If both the 867 kWh and AMS kWh are zero, then Delta kWh = 0
c) If 867 kWh is zero and AMS kWh is non-zero, then the comparison cannot be performed and the record is removed from further reporting analysis
Disconnect Type Breakout
Data separated into three groups based on disconnect type
a) AMSR - Remote disconnect type, thought to have a meter multiplier of 1
b) AMSM - Manual disconnect type, may not have a meter multiplier of 1
c) Unknown - Remote disconnect type not designated

## Read Statistics
Data Description | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01
Date of Data Pull | 2014-10-27 | 2014-10-27 | 2014-10-27 | 2014-11-07 | 2015-01-14 | 2015-01-30 | 2015-02-16 | 2015-03-25 | 2015-04-20 | 2015-05-18 | 2015-06-16 | 2015-07-16 | 2015-08-17 | 2015-09-15 | 2015-10-15 | 2015-11-16 | 2015-12-15 | 2016-01-15 | 2016-02-15 | 2016-03-18 | 2016-04-15 | 2016-05-16 | 2016-06-15 | 2016-07-15
Starting Reads | 7111155 | 6489299 | 7434052 | 7256268 | 6459392 | 6918452 | 6818892 | 6692558 | 7613534 | 7021042 | 6745714 | 7395326 | 7096479 | 7466307 | 7097403 | 7061810 | 6749192 | 6911745 | 7104789 | 7114703 | 7112003 | 7476210 | 6774185 | 7550788
Removed due to zero kWh 867 and non-zero AMS total | 7196 | 6678 | 6780 | 7300 | 6057 | 6286 | 6044 | 6234 | 6895 | 6409 | 6813 | 7022 | 6793 | 5684 | 5576 | 5709 | 5138 | 5318 | 5737 | 5790 | 6142 | 6520 | 5872 | 6606
All analyzed reads | 7103959 | 6482621 | 7427272 | 7248968 | 6453335 | 6912166 | 6812848 | 6686324 | 7606639 | 7014633 | 6738901 | 7388304 | 7089686 | 7460623 | 7091827 | 7056101 | 6744054 | 6906427 | 7099052 | 7108913 | 7105861 | 7469690 | 6768313 | 7544182
Removed due to AMS reads being within (inclusive) 2kWh or 2% of 867 | 6983663 | 6395122 | 7333601 | 7159498 | 6369910 | 6831928 | 6738150 | 6617800 | 7536301 | 6943520 | 6667525 | 7307531 | 7015192 | 7392415 | 7035793 | 6997781 | 6672933 | 6823529 | 7051072 | 7057252 | 7060054 | 7422597 | 6724970 | 7490354
Analyzed reads (subset with deltas greater than 2kWh and 2%) | 120296 | 87499 | 93671 | 89470 | 83425 | 80238 | 74698 | 68524 | 70338 | 71113 | 71376 | 80773 | 74494 | 68208 | 56034 | 58320 | 71121 | 82898 | 47980 | 51661 | 45807 | 47093 | 43343 | 53828
% Counts Greater Than 2 kWh and 2% | 1.693% | 1.35% | 1.261% | 1.234% | 1.293% | 1.161% | 1.096% | 1.025% | 0.9247% | 1.014% | 1.059% | 1.093% | 1.051% | 0.9142% | 0.7901% | 0.8265% | 1.055% | 1.2% | 0.6759% | 0.7267% | 0.6446% | 0.6305% | 0.6404% | 0.7135%
Absolute Sum of kWh Greater Than 2 kWh and 2% | [6 empty] | 17900925.892 | 15622183.676 | 14936361.2 | 12380977.83 | 14609562.602 | 18598675.474 | 15924114.266 | 17104859.994 | 14488437.434 | 12042770.716 | 9585069.514 | 8288240.444 | 8749931.184 | 7157863.639 | 5625571.639 | 5664436.69 | 4998846.036 | 7033891
[20 empty] | 15-day lag | 45-day lag

## Analyzed Reads by SO
Analyzed Reads by Service Order
Category | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
AMSR - All Analyzed Reads | 96160 | 67930 | 71014 | 65780 | 60534 | 57687 | 53576 | 48787 | 48101 | 49264 | 49684 | 59824 | 56063 | 50744 | 39995 | 40262 | 49054 | 61965 | 29654 | 32381 | 26060
AMSR - Cycle Read | 58356 | 35789 | 35648 | 37610 | 37409 | 37631 | 32273 | 25746 | 23125 | 25908 | 27656 | 28966 | 32053 | 26158 | 18677 | 21863 | 27281 | 44540 | 14346 | 14687 | 10525
AMSR - Move In/Out | 29634 | 25302 | 27857 | 21242 | 17901 | 15792 | 16927 | 17450 | 19442 | 17841 | 17804 | 27232 | 21811 | 21739 | 19376 | 16953 | 19351 | 15943 | 14249 | 15853 | 14319
AMSR - Switch | 8170 | 6839 | 7509 | 6928 | 5224 | 4264 | 4376 | 5591 | 5534 | 5515 | 4224 | 3626 | 2199 | 2847 | 1942 | 1446 | 2422 | 1482 | 1059 | 1841 | 1216
Category | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2015-12-01 | 2016-02-01 | 2016-03-01
AMSM - All Analyzed Reads | 23405 | 18904 | 21858 | 22940 | 22215 | 21904 | 20453 | 19185 | 21745 | 21420 | 21149 | 20408 | 17866 | 17336 | 15923 | 17961 | 21968 | 20821 | 18240 | 19179 | 20974
AMSM - Cycle Read | 19069 | 15663 | 18231 | 19307 | 18618 | 18995 | 17286 | 16100 | 18094 | 18066 | 17566 | 16875 | 15197 | 15105 | 13868 | 16146 | 19760 | 18821 | 15669 | 16704 | 18629
AMSM - Move In/Out | 2885 | 2414 | 2690 | 2599 | 2167 | 2000 | 2280 | 2311 | 2760 | 2427 | 2347 | 2135 | 1707 | 1562 | 1577 | 1427 | 1531 | 1363 | 1474 | 1483 | 1504
AMSM - Switch | 1451 | 827 | 937 | 1034 | 1430 | 909 | 887 | 774 | 891 | 927 | 1236 | 1398 | 962 | 669 | 478 | 388 | 677 | 637 | 1097 | 992 | 841
Category | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2015-12-01 | 2016-02-01 | 2016-03-01
Unknown - All Analyzed Reads | 731 | 665 | 799 | 750 | 676 | 647 | 669 | 552 | 492 | 429 | 543 | 541 | 565 | 128 | 116 | 97 | 99 | 112 | 86 | 101 | 59
Unknown - Cycle Read | 352 | 316 | 393 | 374 | 317 | 279 | 254 | 205 | 183 | 169 | 225 | 217 | 156 | 62 | 67 | 45 | 37 | 69 | 38 | 53 | 21
Unknown - Move In/Out | 374 | 347 | 400 | 367 | 355 | 365 | 412 | 344 | 306 | 257 | 312 | 321 | 408 | 65 | 49 | 52 | 62 | 40 | 46 | 47 | 37
Unknown - Switch | 5 | 2 | 6 | 9 | 4 | 3 | 3 | 3 | 3 | 3 | 6 | 3 | 1 | 1 | 0 | 0 | 0 | 3 | 2 | 1 | 1

## AMSR_Cycle Reads_Less Than
AMSR Cycle Reads - 867 kWh less than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
<(50%) | 1644 | 1752 | 1792 | 1606 | 1695 | 1529 | 927 | 736 | 608 | 1004 | 908 | 1492 | 1764 | 1830 | 1109 | 891 | 742 | 745 | 647 | 448 | 283
(10)-(50%) | 3041 | 1947 | 2123 | 2547 | 2955 | 2427 | 1908 | 1514 | 1762 | 2489 | 1859 | 2535 | 2348 | 1904 | 1707 | 1529 | 1770 | 1855 | 1033 | 683 | 603
(2)-(10%) | 7998 | 5112 | 10743 | 10735 | 12313 | 7097 | 5287 | 6713 | 6962 | 6100 | 6548 | 6449 | 5562 | 5460 | 6226 | 6470 | 8854 | 15145 | 4045 | 4563 | 3690
kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
<(50) kWh | 6505 | 4976 | 6941 | 5898 | 5980 | 4983 | 3828 | 3266 | 3320 | 3377 | 2687 | 4458 | 5143 | 5527 | 4249 | 3115 | 2671 | 3221 | 2121 | 1617 | 933
(10)-(50) kWh | 4553 | 3077 | 6798 | 7910 | 9135 | 4945 | 3478 | 4404 | 4822 | 4757 | 5108 | 4763 | 3687 | 3072 | 4014 | 4538 | 6524 | 11305 | 2855 | 3216 | 2716
(2)-(10) kWh | 1625 | 758 | 919 | 1080 | 1848 | 1125 | 816 | 1293 | 1190 | 1459 | 1520 | 1255 | 844 | 595 | 779 | 1237 | 2171 | 3219 | 749 | 861 | 927

## AMSR_Cycle_Reads_Greater Than
AMSR Cycle Reads - 867 kWh greater than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
>50% | 4579 | 3972 | 4294 | 3727 | 2833 | 2590 | 1233 | 1182 | 852 | 2063 | 2339 | 2329 | 2047 | 1226 | 856 | 710 | 815 | 437 | 363 | 250 | 156
10-50% | 8238 | 6698 | 6485 | 6996 | 5551 | 7661 | 4739 | 4363 | 3046 | 5231 | 5396 | 5606 | 4585 | 3991 | 2887 | 4416 | 4233 | 2473 | 1547 | 1311 | 806
2-10% | 32856 | 16308 | 10211 | 11999 | 12062 | 16327 | 18179 | 11238 | 9895 | 9021 | 10606 | 10555 | 15747 | 11747 | 5892 | 7847 | 10867 | 23885 | 6711 | 7432 | 4987
kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
>50 kWh | 23783 | 15749 | 14097 | 12954 | 9267 | 12308 | 9874 | 7945 | 5703 | 7570 | 8705 | 10079 | 11487 | 9030 | 5091 | 6775 | 5739 | 5051 | 2613 | 2119 | 881
10-50 kWh | 17988 | 9695 | 5626 | 7783 | 8605 | 11157 | 11013 | 7069 | 6309 | 6694 | 7685 | 6783 | 9338 | 6714 | 3563 | 4888 | 7488 | 16923 | 4352 | 5102 | 3682
2-10 kWh | 3902 | 1534 | 1267 | 1985 | 2574 | 3113 | 3264 | 1769 | 1781 | 2051 | 1951 | 1628 | 1554 | 1220 | 981 | 1310 | 2688 | 4821 | 1656 | 1772 | 1386

## AMSR_Move InOut_Less Than
AMSR Move In/Out - 867 kWh less than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
<(50%) | 709 | 563 | 563 | 488 | 497 | 407 | 440 | 407 | 433 | 389 | 353 | 619 | 493 | 416 | 456 | 347 | 487 | 507 | 392 | 341 | 300
(10)-(50%) | 2086 | 1693 | 1532 | 1339 | 1233 | 917 | 1097 | 1117 | 1356 | 1127 | 1012 | 1776 | 1175 | 1194 | 1111 | 964 | 1436 | 1113 | 925 | 1065 | 905
(2)-(10%) | 6545 | 5369 | 5919 | 4628 | 3664 | 3006 | 3087 | 3344 | 3979 | 3292 | 3112 | 4900 | 4085 | 4453 | 4105 | 4008 | 4178 | 3144 | 2625 | 2880 | 2640
kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
<(50) kWh | 662 | 648 | 669 | 391 | 370 | 390 | 643 | 555 | 643 | 228 | 244 | 445 | 469 | 506 | 347 | 249 | 204 | 321 | 388 | 290 | 124
(10)-(50) kWh | 5566 | 4745 | 4995 | 3341 | 2364 | 2095 | 2514 | 2547 | 2907 | 2079 | 2178 | 3979 | 3715 | 4057 | 3538 | 2859 | 2535 | 2311 | 2092 | 2140 | 1795
(2)-(10) kWh | 3112 | 2232 | 2350 | 2723 | 2660 | 1845 | 1467 | 1766 | 2218 | 2501 | 2055 | 2871 | 1569 | 1500 | 1787 | 2211 | 3362 | 2132 | 1462 | 1856 | 1926

## AMSR_MoveInOut_Greater Than
AMSR Move In/Out - 867 kWh greater than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
>50% | 769 | 752 | 761 | 588 | 471 | 491 | 398 | 393 | 487 | 541 | 537 | 465 | 514 | 359 | 383 | 287 | 306 | 290 | 301 | 279 | 158
10-50% | 4315 | 4309 | 4888 | 3606 | 3093 | 2815 | 3027 | 3451 | 3656 | 3083 | 3047 | 3745 | 3365 | 3145 | 2699 | 2697 | 3051 | 2734 | 2626 | 2956 | 2377
2-10% | 15210 | 12616 | 14194 | 10593 | 8943 | 8156 | 8878 | 8738 | 9531 | 9409 | 9743 | 15727 | 12179 | 12172 | 10622 | 8650 | 9893 | 8155 | 7380 | 8332 | 7939
kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
>50 kWh | 2719 | 2837 | 2819 | 1657 | 1369 | 1351 | 2070 | 1817 | 1710 | 1101 | 1184 | 1835 | 2535 | 2407 | 1748 | 1157 | 822 | 993 | 1300 | 1045 | 446
10-50 kWh | 11407 | 10043 | 10811 | 6821 | 5682 | 5424 | 6268 | 6308 | 5989 | 5659 | 6833 | 11268 | 9637 | 9035 | 7379 | 5598 | 5840 | 5587 | 5037 | 5137 | 4675
2-10 kWh | 6168 | 4797 | 6213 | 6309 | 5456 | 4687 | 3965 | 4457 | 5975 | 6273 | 5310 | 6834 | 3886 | 4234 | 4577 | 4879 | 6588 | 4599 | 3970 | 5385 | 5353

## AMSR_Switch_Less Than
AMSR Switch - 867 kWh less than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
<(50%) | 172 | 152 | 396 | 136 | 146 | 105 | 100 | 139 | 161 | 161 | 72 | 103 | 53 | 44 | 43 | 22 | 57 | 29 | 72 | 77 | 41
(10)-(50%) | 702 | 681 | 825 | 586 | 529 | 307 | 353 | 489 | 582 | 506 | 354 | 379 | 148 | 245 | 181 | 122 | 269 | 123 | 96 | 197 | 159
(2)-(10%) | 2805 | 2432 | 2589 | 3284 | 1853 | 1595 | 1296 | 2156 | 2125 | 2012 | 1740 | 1117 | 730 | 966 | 726 | 594 | 895 | 503 | 326 | 595 | 487
kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
<(50) kWh | 724 | 758 | 792 | 558 | 252 | 230 | 329 | 481 | 560 | 144 | 121 | 178 | 197 | 247 | 195 | 89 | 70 | 68 | 128 | 145 | 106
(10)-(50) kWh | 2449 | 2142 | 2519 | 2610 | 1386 | 1171 | 1050 | 1652 | 1555 | 1412 | 1268 | 1064 | 579 | 851 | 608 | 464 | 615 | 387 | 238 | 508 | 359
(2)-(10) kWh | 506 | 365 | 499 | 838 | 890 | 606 | 370 | 651 | 753 | 1123 | 777 | 357 | 155 | 157 | 147 | 185 | 536 | 200 | 128 | 216 | 222

## AMSR_Switch_Greater Than
AMSR Switch - 867 kWh greater than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
>50% | 102 | 88 | 225 | 146 | 90 | 63 | 25 | 33 | 40 | 64 | 49 | 57 | 47 | 29 | 36 | 18 | 26 | 10 | 12 | 23 | 12
10-50% | 979 | 866 | 885 | 680 | 621 | 517 | 465 | 612 | 532 | 633 | 437 | 328 | 283 | 277 | 208 | 155 | 221 | 128 | 125 | 226 | 109
2-10% | 3410 | 2620 | 2589 | 2096 | 1985 | 1677 | 2137 | 2162 | 2094 | 2139 | 1572 | 1642 | 938 | 1286 | 748 | 535 | 954 | 689 | 428 | 723 | 408
kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
>50 kWh | 1028 | 910 | 1008 | 521 | 372 | 305 | 556 | 642 | 346 | 202 | 190 | 317 | 355 | 329 | 194 | 111 | 118 | 100 | 107 | 100 | 29
10-50 kWh | 2836 | 2273 | 2126 | 1576 | 1455 | 1328 | 1577 | 1575 | 1430 | 1431 | 1147 | 1318 | 706 | 1041 | 607 | 381 | 596 | 488 | 305 | 560 | 283
2-10 kWh | 627 | 391 | 565 | 825 | 869 | 624 | 494 | 590 | 890 | 1203 | 721 | 392 | 207 | 222 | 191 | 216 | 487 | 239 | 153 | 312 | 217

## AMSM_Cycle Reads_Less Than
AMSM Cycle Reads - 867 kWh less than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
<(50%) | 472 | 506 | 703 | 625 | 577 | 497 | 387 | 381 | 336 | 329 | 338 | 412 | 335 | 313 | 280 | 278 | 263 | 267 | 239 | 230 | 240
(10)-(50%) | 1687 | 1567 | 1842 | 1923 | 1687 | 1758 | 1519 | 1535 | 1597 | 1610 | 1547 | 1664 | 1436 | 1478 | 1356 | 1464 | 1496 | 1510 | 1424 | 1480 | 1517
(2)-(10%) | 5467 | 4747 | 5808 | 6445 | 6535 | 6318 | 5383 | 5521 | 6447 | 6582 | 6264 | 5732 | 4728 | 4899 | 4868 | 5680 | 6736 | 7261 | 5597 | 5994 | 7317
kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
<(50) kWh | 3600 | 3289 | 4323 | 4289 | 4060 | 3695 | 3193 | 3004 | 3381 | 3187 | 3198 | 3261 | 2862 | 2855 | 2788 | 3068 | 3116 | 3276 | 2764 | 2813 | 3212
(10)-(50) kWh | 3421 | 3023 | 3458 | 4102 | 4149 | 4292 | 3556 | 3835 | 4331 | 4687 | 4329 | 3918 | 3133 | 3271 | 3172 | 3787 | 4686 | 4944 | 3883 | 4314 | 5153
(2)-(10) kWh | 605 | 508 | 572 | 602 | 590 | 586 | 540 | 598 | 668 | 647 | 622 | 629 | 504 | 564 | 544 | 567 | 693 | 818 | 613 | 577 | 709

## AMSM_Cycle Reads_Greater Than
AMSM Cycle Reads - 867 kWh greater than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
>50% | 604 | 551 | 642 | 626 | 539 | 649 | 485 | 427 | 418 | 402 | 405 | 446 | 398 | 380 | 394 | 300 | 340 | 333 | 330 | 314 | 306
10-50% | 2273 | 2010 | 2384 | 2226 | 1988 | 2135 | 1979 | 1764 | 1896 | 1748 | 1773 | 1859 | 1759 | 1665 | 1465 | 1617 | 1628 | 1619 | 1612 | 1628 | 1575
2-10% | 8566 | 6282 | 6852 | 7462 | 7292 | 7638 | 7533 | 6472 | 7400 | 7395 | 7239 | 6762 | 6541 | 6370 | 5505 | 6807 | 9297 | 7831 | 6467 | 7058 | 7674
kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
>50 kWh | 6081 | 4834 | 5320 | 5095 | 4376 | 4848 | 4770 | 3917 | 4128 | 3903 | 3828 | 4077 | 4066 | 3898 | 3260 | 3860 | 4990 | 3715 | 3330 | 3707 | 3516
10-50 kWh | 4303 | 3334 | 3771 | 4399 | 4593 | 4705 | 4287 | 3963 | 4688 | 4817 | 4762 | 4179 | 3853 | 3748 | 3399 | 4143 | 5298 | 5007 | 4195 | 4521 | 5234
2-10 kWh | 1059 | 675 | 787 | 820 | 850 | 869 | 940 | 783 | 898 | 825 | 827 | 811 | 779 | 769 | 705 | 721 | 977 | 1061 | 884 | 772 | 805

## AMSM_MoveInOut_Less Than
AMSM Move In/Out - 867 kWh less than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
<(50%) | 73 | 80 | 78 | 80 | 55 | 70 | 77 | 87 | 90 | 80 | 63 | 68 | 53 | 46 | 39 | 32 | 29 | 23 | 35 | 38 | 30
(10)-(50%) | 217 | 231 | 222 | 252 | 215 | 187 | 198 | 220 | 277 | 234 | 223 | 222 | 134 | 158 | 134 | 124 | 140 | 125 | 150 | 145 | 125
(2)-(10%) | 679 | 613 | 698 | 694 | 536 | 496 | 531 | 537 | 663 | 617 | 579 | 560 | 389 | 353 | 374 | 392 | 360 | 310 | 299 | 322 | 327
kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
<(50) kWh | 443 | 424 | 451 | 406 | 300 | 273 | 325 | 339 | 421 | 330 | 309 | 337 | 262 | 263 | 238 | 196 | 138 | 135 | 165 | 159 | 123
(10)-(50) kWh | 433 | 404 | 453 | 503 | 390 | 351 | 384 | 383 | 466 | 453 | 416 | 406 | 261 | 238 | 247 | 260 | 294 | 245 | 243 | 257 | 272
(2)-(10) kWh | 93 | 96 | 94 | 117 | 116 | 129 | 97 | 122 | 143 | 148 | 140 | 107 | 53 | 56 | 62 | 92 | 97 | 78 | 76 | 89 | 87

## AMSM_MoveInOut_Greater Than
AMSM Move In/Out - 867 kWh greater than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
>50% | 106 | 92 | 154 | 111 | 93 | 88 | 125 | 118 | 148 | 95 | 96 | 77 | 63 | 65 | 81 | 60 | 58 | 50 | 61 | 81 | 56
10-50% | 460 | 391 | 459 | 416 | 378 | 345 | 398 | 408 | 445 | 334 | 355 | 286 | 297 | 248 | 259 | 252 | 228 | 214 | 236 | 263 | 268
2-10% | 1350 | 1007 | 1079 | 1046 | 890 | 814 | 951 | 941 | 1137 | 1067 | 1031 | 922 | 771 | 692 | 690 | 567 | 716 | 641 | 693 | 634 | 698
kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
>50 kWh | 1010 | 711 | 802 | 727 | 524 | 489 | 684 | 670 | 722 | 561 | 575 | 607 | 539 | 459 | 429 | 287 | 268 | 257 | 329 | 343 | 297
10-50 kWh | 697 | 601 | 669 | 614 | 583 | 526 | 554 | 538 | 682 | 610 | 621 | 513 | 440 | 413 | 398 | 415 | 481 | 416 | 440 | 410 | 498
2-10 kWh | 209 | 178 | 221 | 232 | 254 | 232 | 236 | 259 | 326 | 325 | 286 | 165 | 152 | 133 | 203 | 177 | 253 | 232 | 221 | 225 | 227

## AMSM_Switch_Less Than
AMSM Switch - 867 kWh less than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
<(50%) | 41 | 22 | 30 | 27 | 26 | 24 | 26 | 21 | 21 | 19 | 21 | 35 | 33 | 16 | 11 | 4 | 13 | 15 | 26 | 23 | 22
(10)-(50%) | 138 | 68 | 89 | 83 | 174 | 73 | 82 | 74 | 74 | 92 | 108 | 170 | 75 | 56 | 46 | 40 | 61 | 71 | 130 | 78 | 92
(2)-(10%) | 513 | 340 | 329 | 425 | 562 | 355 | 300 | 295 | 310 | 318 | 441 | 410 | 365 | 275 | 182 | 157 | 260 | 235 | 342 | 371 | 324
kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
<(50) kWh | 380 | 221 | 195 | 232 | 290 | 173 | 172 | 181 | 155 | 143 | 229 | 305 | 261 | 167 | 92 | 77 | 120 | 106 | 206 | 223 | 155
(10)-(50) kWh | 269 | 181 | 224 | 261 | 370 | 222 | 214 | 169 | 213 | 238 | 282 | 264 | 185 | 151 | 121 | 112 | 177 | 180 | 253 | 208 | 234
(2)-(10) kWh | 43 | 28 | 29 | 42 | 102 | 57 | 22 | 40 | 37 | 48 | 59 | 46 | 27 | 29 | 26 | 12 | 37 | 35 | 39 | 41 | 49

## AMSM_Switch_Greater Than
AMSM Switch - 867 kWh greater than AMS kWh
% Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
>50% | 37 | 16 | 19 | 28 | 20 | 18 | 18 | 16 | 13 | 10 | 24 | 15 | 14 | 11 | 7 | 6 | 2 | 8 | 10 | 24 | 13
10-50% | 164 | 118 | 114 | 128 | 139 | 110 | 97 | 88 | 92 | 115 | 147 | 167 | 91 | 88 | 58 | 30 | 53 | 77 | 128 | 117 | 86
2-10% | 558 | 263 | 356 | 343 | 509 | 329 | 364 | 280 | 381 | 373 | 495 | 601 | 384 | 223 | 174 | 151 | 288 | 231 | 461 | 379 | 304
kWh Delta | 2014-07-01 | 2014-08-01 | 2014-09-01 | 2014-10-01 | 2014-11-01 | 2014-12-01 | 2015-01-01 | 2015-02-01 | 2015-03-01 | 2015-04-01 | 2015-05-01 | 2015-06-01 | 2015-07-01 | 2015-08-01 | 2015-09-01 | 2015-10-01 | 2015-11-01 | 2015-12-01 | 2016-01-01 | 2016-02-01 | 2016-03-01
>50 kWh | 411 | 197 | 223 | 207 | 255 | 183 | 234 | 156 | 173 | 204 | 302 | 401 | 226 | 128 | 99 | 74 | 154 | 115 | 269 | 216 | 140
10-50 kWh | 291 | 177 | 233 | 244 | 340 | 231 | 203 | 192 | 259 | 247 | 313 | 320 | 224 | 157 | 117 | 96 | 156 | 160 | 271 | 262 | 218
2-10 kWh | 57 | 23 | 33 | 48 | 73 | 43 | 42 | 36 | 54 | 47 | 51 | 62 | 39 | 37 | 23 | 17 | 33 | 41 | 59 | 42 | 45