## Slide 1
Load Resource UFR Deployments and the Reliability Adder
QMWG 07/18/2016

## Slide 2: Load Resource RRS UFR Deployments

## Slide 3: Adding LR UFR Deployments to the Reliability Adder
Telemetry is available for all LRs providing RRS
  Resource Status – ONRL
  RRS Responsibility and RRS Schedule
  Net Power Consumption
  Low Power Consumption
  UFR Status – Armed or Online when active
  Circuit Breaker Status – Closed when active
RRS Schedules do not change during a UFR type deployment
No electronic instruction for dispatch or recall for UFR deployments – currently only have a verbal instruction for the recall
Ancillary Service Monitor relies on difference between RRS Responsibility and RRS Schedule to show quantity that has been deployed and as a result it does not show the amount deployed for UFR deployments
To add this capacity to the Reliability Adder, we need to identify a deployment trigger, a recall trigger and a way to measure the amount of capacity that tripped on under-frequency and its recovery. None of these items are currently in our systems today.