AGENDA

ERCOT Planning Geomagnetic Disturbance Task Force

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78749

Tuesday, June 28, 2016 / 9:30am – 3:00 p.m.

http://ercot.webex.com

Meeting Number: 621 755 659

Meeting Password: PGDTF0628

Audio Dial-In: 1.877.668.4493

| 1. |  | Antitrust Admonition |  | M. Juricek | 9:30 a.m. |  |
| --- | --- | --- | --- | --- | --- | --- |
| 2. 3. |  | Introductions Agenda Review Added section to discuss modeling below 200 kV |  | Task Force M. Juricek |  |  |
| 4. |  | Review of Minutes from 5/19/2016 Meeting There were no changes to the meeting notes. |  | Task Force |  |  |
| 5. |  | PGRR046 Addition for Geomagnetically Induced Current (GIC) Model Building Requirements No changes made at last PLWG meeting. PLWG will meet on 6-29-16 to review before it goes to ROS. |  | M. Juricek/J. Teixeira |  |  |
| 6. 7. |  | Modeling under 200 kV Revised the draft Manual to provide option of modeling 138 kV and 69 kV so it will be available for ROS June meeting. Procedure Manual Development Revised the draft Manual so it will be available for ROS June meeting. |  | Task Force Task Force |  |  |
| 8. |  | Training on GIC Model Data Preparation There was no discussion on training. |  | Task Force |  |  |
| 9. |  | Future Meetings The next meeting will be in July 2016. |  | M. Juricek |  |  |
| 10. |  | Other Business None |  | M. Juricek |  |  |
| 11. |  | Adjourn |  | M. Juricek | 3:20 p.m. |  |
|  | Open Questions on Model |  | Responsible Party |  |  |  |
|  | - Get definition for GIC and GMD - Ask Siemens: - Station Numbers – Are these changed each time a GIC study is performed if TSP does not supply its own list? - Substation grounding resistance – Is data only collected - for high side Y grounded transformers and shunt reactors? - Does it matter what voltage size goes first for Winding 1 in GIC module? Do we want highest kV first? - How does GIC module of PSS/E handle branch data in GIC computations? Does the branch data from PSS/E override the power flow data? |  | ERCOT and TSPs |  |  |  |

| Name |  | Representing | Name |  | Representing |
| --- | --- | --- | --- | --- | --- |
| Michael | Juricek | Oncor | Walt | Simmons | Oncor |
| Kaleb | Luce | Oncor | Jianhui | Zhang | AEN |
| Blake | Gross | AEP | Ward | Jablonski | BEC |
| Larisa | Loyferman | CNP | Zhenhua | Wang | CNP |
| Jason | Hulbert | CNP | Oluwaseyi | Olafujoye | CPS |
| Tim | Cook | CTT | Bharath | Ravulapati | CTT |
| Jay | Teixeira | ERCOT | Chris | Forral | ERCOT |
| Qiuli | Yu | ERCOT | Shane | McMinn | GSE |
| Chris | Koenig | GSEC | Dylan | Preas | LRCA |
| Cole | Dietert | LRCA | Ben | Guo | LCRA |
| Don | Le | LST | John | Palen | NRG |
| Esteban | Santos | Sharyland | Jorge | Canamar | Sharyland |
| Brad | Schwarz | Sharyland | Ahmed | Elhelw | Sharyland |
| Doug | Evans | STEC | John | Moore | STEC |
| Christina | Minchew | WETT | Omar | Urquidez |  |
| Mehriar | Tabrizi |  | Paloma | De Arien |  |
| Carlos | Casablanca |  | Agee | Springer |  |
| Nitin | Prakash |  | Zhenhua |  |  |
| Jun |  |  | Charles |  |  |
|  | Steinfield |  | Falvio |  |  |

Attendees: