## Slide 1
ERCOT 90th
percentile load forecast
Calvin Opheim
Manager, Load Forecasting & Analysis
PLWG
July 20, 2016

## Slide 2: Outline of Today’s Presentation
Process for creating ERCOT’s 90th percentile forecast
Model accuracy - looking back at the 2015 summer peak
Comparison of SSWG and ERCOT 90th percentile forecasts
2017 summer peak forecast comparison
Questions

## Slide 3
ERCOT’s
90th Percentile Forecast

## Slide 4: 90th Percentile (90/10) Forecast
Performed at the Weather Zone Level
  Historical weather from calendar years 2002 – 2014 is used as input into each hourly weather zone forecast model

## Slide 5: 90th Percentile (90/10) Forecast
Performed at the Weather Zone Level
  Forecasted values are sorted from high to low for each year
  The sorted values are used to calculate the 90th percentile (and average) by rank
  Example:
  Below are the top 5 peak values for Coast for 2017

## Slide 6: 90th Percentile (90/10) Forecast
Performed at the Weather Zone Level

## Slide 7: 90th Percentile (90/10) Forecast
Performed at the Weather Zone Level
  This process is completed for every weather zone, for each forecasted year (2016 – 2025)
ERCOT (90/10) Forecast
  After the weather zone (90/10) hourly load forecasts are completed, the results are mapped into a representative historical calendar by rank
  The 2003 calendar was selected (as has been our convention in the past)

## Slide 8
Model Accuracy
2015 Summer Peak

## Slide 9: Weather Zones

## Slide 10
Comparison of SSWG and ERCOT’s 90th percentile forecasts

## Slide 11: Load definitions
ERCOT’s load forecast is based on transmission adjusted load values
  Does not include PUN load
  Only includes load that ERCOT serves
SSWG’s load forecasts are calculated at the distribution level
  Includes PUN load

## Slide 12: Caution
The charts that follow show ERCOT’s load forecast values (and actual load values) adjusted by removing transmission losses and adding PUN load.
This is not the typical way that ERCOT reports its load forecast or its actual load.
The listed values will not agree with ERCOT’s published official load forecast documentation.

## Slide 13: 90th Percentile (90/10) Forecast

## Slide 14: 90th Percentile (90/10) Forecast

## Slide 15: 90th Percentile (90/10) Forecast

## Slide 16: 90th Percentile (90/10) Forecast

## Slide 17: 90th Percentile (90/10) Forecast

## Slide 18: 90th Percentile (90/10) Forecast

## Slide 19: 90th Percentile (90/10) Forecast

## Slide 20: 90th Percentile (90/10) Forecast

## Slide 21: 90th Percentile (90/10) Forecast

## Slide 22: 90th Percentile (90/10) Forecast

## Slide 23: 90th Percentile (90/10) Forecast

## Slide 24: 90th Percentile (90/10) Forecast

## Slide 25: 90th Percentile (90/10) Forecast

## Slide 26: 90th Percentile (90/10) Forecast

## Slide 27: 90th Percentile (90/10) Forecast

## Slide 28: 90th Percentile (90/10) Forecast

## Slide 29: Questions

## Slide 30
Appendix
2015 Weather Data

## Slide 31: Coast – High Temperature in August

## Slide 32: Coast – High Temperature in July

## Slide 33: Ncent – High Temperature in August

## Slide 34: Ncent – High Temperature in July

## Slide 35: Scent – High Temperature in August

## Slide 36: Scent – High Temperature in July

## Slide 37: South – High Temperature in August

## Slide 38: South – High Temperature in July

## Slide 39: Coast – Median Temperature in August

## Slide 40: Coast – Median Temperature in July

## Slide 41: Ncent – Median Temperature in August

## Slide 42: Ncent – Median Temperature in July

## Slide 43: Scent – Median Temperature in August

## Slide 44: Scent – Median Temperature in July

## Slide 45: South – Median Temperature in August

## Slide 46: South – Median Temperature in August