| NOGRR Number | 162 | NOGRR Title | Process for Resolving Real-Time Data Discrepancies |
| --- | --- | --- | --- |
| Date of Decision |  | July 21, 2016 |  |
| Action |  | Tabled |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Guide Sections Requiring Revision |  | 7.3.3, Data from QSEs and TSPs to ERCOT 7.3.4, Data Quality and Resolving Real-Time Data Conflicts (New) 7.3.4, TSP and QSE Telemetry Restoration (Delete) 7.3.5, General Telemetry Performance Criterion (Delete) |  |
| Related Documents Requiring Revision/Revision Requests |  | None |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) establishes a process for resolving Real-Time data discrepancies that affect ERCOT’s Network Security Analysis (NSA). |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | North American Electric Reliability Corporation (NERC) Reliability Standard IRO-010-2, Reliability Coordinator Data Specification and Collection, requires ERCOT and applicable Entities to have a mutually agreeable process for resolving Real-Time data conflicts. |  |
| OWG Decision |  | On 7/21/16, the Operations Working Group (OWG) was in consensus to table NOGRR162. |  |
| Summary of OWG Discussion |  | On 7/21/16, participants discussed NERC Reliability Standard IRO-010-2; whether the discrepancy resolution window might be expanded to 48 Business Hours; and whether language could be developed to address third-party response timelines. |  |

| Sponsor |  |
| --- | --- |
| Name | Stephen Solis |
| E-mail Address | Stephen.Solis@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6772 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

Please note that the following NOGRR(s) also propose revision(s) to the following section(s):

- NOGRR154, Alignment with NPRR755 and Requirements for ERCOT WAN Installation and Exchange of Resource-Specific XML Data

- Section 7.3.3

Proposed Guide Language Revision

### 7.3.3	Data from QSEs and TSPs to ERCOT

(1)	Each TSP and QSE shall provide telemetered measurements on modeled Transmission Elements as required by the Protocols and the ERCOT Nodal ICCP Communications Handbook.

(2)	QSEs and TSPs shall provide Real-Time monitoring of power system quantities to ERCOT as defined in the Protocols and the ERCOT Nodal ICCP Communications Handbook.  ERCOT shall work with TSPs and QSEs to determine the required data using the methodology presented in the Protocols.  Transmission Element status and analog measurements that the TSPs and QSEs define in the Network Operations Model shall, at a minimum, be provided to ERCOT.  Ultimately, it is the responsibility of the TSPs and QSEs to provide all data requested by ERCOT.

(3)	Real-Time telemetry data from QSEs used to supply power or Ancillary Services shall be integrated by ERCOT and checked against settlement meter values on a monthly basis.

- 7.3.4	Data Quality and Resolving Real-Time Data Conflicts

- (1)	ERCOT will notify the QSE or TO responsible for the data when a Real-Time data discrepancy affects ERCOT’s Network Security Analysis (NSA).  The QSE or TO shall resolve the Real-Time data discrepancy or manually replace the data within 10 minutes of notification.  Manually replaced data shall be updated at least every 10 minutes until the Real-Time data discrepancy is resolved.

- (2)	The QSE or TO shall resolve the discrepancy as soon as practicable.  If the QSE or TO cannot resolve the discrepancy within 48 hours, it shall provide an estimated time of resolution.  The QSE or TO shall notify ERCOT when the Real-Time data discrepancy is resolved.