Date:	July 28, 2016

To:	Technical Advisory Committee (TAC) Representatives

From:	Amanda Frazier, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs and SCR recommended for approval by PRS: - NPRR696, Price Correction Process Following a SCED Failure [Reliant Energy] - NPRR738, ERS Performance Calculations During TDSP Outages [MP2 Energy] - NPRR747, Revision of Voltage Control Requirements [ERCOT] - NPRR767, Commitment by RUC for Long Lead Time Resource [ERCOT] - NPRR770, Addition of Outaged Resource Capacity to the Ancillary Services Capacity Monitor [Morgan Stanley] - NPRR771, Clarifications to New ESI ID Creation Process [Texas SET Working Group (TX SET WG)] - NPRR774, Remove Duplicate Language to Calculate Seasonal Transmission Loss Factors [ERCOT] - NPRR779, Clarifies References to Texas Reliability Entity and Independent Market Monitor [ERCOT] - NPRR781, Updates to Nodal Protocol Section 18, Load Profiling, to Align with Current Market Processes [Profiling Working Group (PWG)] - SCR789, Update NMMS Topology Processor to PSSE 34 Capability [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR696, Price Correction Process Following a SCED Failure [Reliant Energy] Proposed Effective Date: September 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; ERCOT grid operations and practices will be updated. Revision Description: This NPRR establishes a price correction policy which uses the last good price for the intervals covering the first 15 minutes following a Security-Constrained Economic Dispatch (SCED) failure. PRS Decision: On 6/16/16, PRS voted via roll call vote to recommend approval of NPRR696 as amended by the 10/19/15 Reliant comments. There were five opposing votes from the Consumer (2), Independent Generator (1), and Independent Power Marketer (IPM) (2), and three abstentions from the Independent Generator (1) and Investor Owner Utility (IOU) (2). On 7/14/16, PRS voted to endorse and forward to TAC the 6/16/16 PRS Report as revised by PRS and the Impact Analysis for NPRR696. There were two opposing votes from the Consumer Market Segment and one abstention from the IOU Market Segment. - NPRR738, ERS Performance Calculations During TDSP Outages [MP2 Energy] Proposed Effective Date: Upon system implementation ERCOT Impact Analysis: Less than $10k (O&M); no impacts to ERCOT staffing; impacts to Emergency Response Service (ERS) System; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR excludes intervals from performance calculations for which an ERS Generator is unable to meet its obligations due to Transmission and/or Distribution Service Provider (TDSP) Outages. PRS Decision: On 5/12/16, PRS voted to recommend approval of NPRR738 as amended by the 5/5/16 WMS comments. There was one opposing vote from the IPM Market Segment. On 6/16/16, PRS voted to endorse and forward to TAC the 5/12/16 PRS Report as amended by the 5/31/16 MP2 Energy comments and the Impact Analysis for NPRR738. There was one opposing vote from the IPM Market Segment. - NPRR747, Revision of Voltage Control Requirements [ERCOT] Proposed Effective Date: Upon implementation of Nodal Operating Guide Revision Request (NOGRR) 150, Alignment with NPRR747, Revision of Voltage Control Requirements ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. (no additional impacts to implement this NPRR beyond what is captured in the Impact Analysis for NOGRR150) Revision Description: This NPRR proposes new definitions related to Voltage Profiles, defines various Entities’ responsibilities related to Voltage Support, and also clarifies that the interconnecting Transmission Service Provider (TSP) (or its designated agent) may modify a Generation Resource’s Voltage Set Point. PRS Decision: On 6/16/16, PRS voted to recommend approval of NPRR747 as amended by the 4/21/16 ERCOT comments. There was one abstention from the Consumer Market Segment. On 7/14/16, PRS unanimously voted to endorse and forward to TAC the 6/16/16 PRS Report and Impact Analysis for NPRR747. - NPRR767, Commitment by RUC for Long Lead Time Resource [ERCOT] Proposed Effective Date: September 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR changes the eligibility check for the startup portion of the Reliability Unit Commitment (RUC) Make-Whole Payment. Resources with lead times longer than six hours may submit a Settlement dispute to have their Resource-specific startup times considered when determining eligibility for Startup Costs to be included in the RUC Make-Whole Payment calculation. PRS Decision: On 5/12/16, PRS unanimously voted to recommend approval of NPRR767 as submitted. On 6/16/16, PRS unanimously voted to endorse and forward to TAC the 5/12/16 PRS Report and the Impact Analysis for NPRR767. - NPRR770, Addition of Outaged Resource Capacity to the Ancillary Services Capacity Monitor [Morgan Stanley] Proposed Effective Date: Upon system implementation - Priority 2016; Rank 872 ERCOT Impact Analysis: Between $40k and $60k; no impacts to ERCOT staffing; impacts to Market Management Systems (MMS), Current Day Reports (CDR), Market Information System (MIS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR adds visibility and situational awareness to the market by posting the aggregate quantity of Resources that are telemetered as OUT, OUTL or EMR to the Ancillary Service Capacity Monitor. PRS Decision: On 6/16/16, PRS unanimously voted to recommend approval of NPRR770 as submitted. On 7/14/16, PRS unanimously voted to endorse and forward to TAC the 6/16/16 PRS Report as amended by the 7/6/16 ERCOT comments and the Impact Analysis for NPRR770 with a recommended priority of 2016 and a rank of 872. - NPRR771, Clarifications to New ESI ID Creation Process [TX SET WG] Proposed Effective Date: September 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies that the TDSPs must ensure that an Electric Service Identifier (ESI ID) has been created in the ERCOT systems prior to initiating electric service at a Premise. PRS Decision: On 6/16/16, PRS unanimously voted to recommend approval of NPRR771 as submitted. On 7/14/16, PRS unanimously voted to endorse and forward to TAC the 6/16/16 PRS Report and Impact Analysis for NPRR771. - NPRR774, Remove Duplicate Language to Calculate Seasonal Transmission Loss Factors [ERCOT] Proposed Effective Date: September 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes duplicate language regarding calculation of Seasonal Transmission Loss Factors (TLFs). PRS Decision: On 6/16/16, PRS unanimously voted to recommend approval of NPRR774 as submitted. On 7/14/16, PRS unanimously voted to endorse and forward to TAC the 6/16/16 PRS Report and Impact Analysis for NPRR774. - NPRR779, Clarifies References to Texas Reliability Entity and Independent Market Monitor [ERCOT] Proposed Effective Date: September 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies references to the Texas Reliability Entity (Texas RE) and the Independent Market Monitor (IMM). The Nodal Protocols currently refer to the Texas RE in both its capacity as the North American Electric Reliability Corporation (NERC) Regional Entity and the Public Utility Commission of Texas (PUCT) Reliability Monitor, a new term recently added to P.U.C Subst. R. 25.503, Oversight of Wholesale Market Participants. PRS Decision: On 6/16/16, PRS unanimously voted to recommend approval of NPRR779 as submitted. On 7/14/16, PRS unanimously voted to endorse and forward to TAC the 6/16/16 PRS Report and Impact Analysis for NPRR779. - NPRR781, Updates to Nodal Protocol Section 18, Load Profiling, to Align with Current Market Processes [PWG] Proposed Effective Date: September 1, 2016 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR updates Protocol language related to Load Profiling to clarify purpose and definitions, update current processes and methodologies, and remove outdated processes and practices. PRS Decision: On 6/16/16, PRS unanimously voted to recommend approval of NPRR781 as submitted. On 7/14/16, PRS unanimously voted to endorse and forward to TAC the 6/16/16 PRS Report and Impact Analysis for NPRR781. - SCR789, Update NMMS Topology Processor to PSSE 34 Capability [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2017; Rank 1820 ERCOT Impact Analysis: Between $300k and $450k; no impacts to ERCOT staffing; impacts to Network Model Management System (NMMS); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices. Revision Description: This SCR updates the NMMS Topology Processor to output Power System Simulator for Engineering (PSS/E) 34 RAW files. PRS Decision: On 5/12/16, PRS unanimously voted to recommend approval of SCR789 as amended by the 5/3/16 STEC comments. On 6/16/16, PRS voted to endorse and forward to TAC the 5/12/16 PRS Report and Impact Analysis for SCR789 with a recommended priority of 2017 and a rank of 1820. There was one abstention from the IPM Market Segment. Revision Requests Rejected - NPRR784, Mitigated Offer Caps for RMR Units [NRG] - URGENT Proposed Effective Date: Not applicable ERCOT Impact Analysis: Not applicable Revision Description: This NPRR establishes a process to set the Mitigated Offer Cap for Reliability Must-Run (RMR) Units that is consistent with the adopted policy of ensuring that out-of-market units do not interfere with market outcomes. The proposed language provides ERCOT with a flexible process to set and update a Mitigated Offer Cap for RMR Units that allows SCED to Dispatch RMR Units for congestion as far back in the Dispatch order as possible but well below the System-Wide Offer Cap (SWCAP). The value of the Mitigated Offer Cap for RMR Units, and any subsequent changes, will be communicated to Market Participants through a Market Notice. PRS Decision: On 6/16/16, PRS voted to grant NPRR784 Urgent status. There were two opposing votes from the IOU and Consumer Market Segments, and one abstention from the IOU Market Segment. PRS then voted to table NPRR784 for one month. There was one opposing vote from the Municipal Market Segment. On 7/14/16, the PRS motion to recommend approval of NPRR784 as revised by PRS failed via roll-call vote. There were 10 opposing votes from the Consumer (3), Cooperative (5), Independent Retail Electric Provider (IREP) (1), and IOU (1), Market Segments, and three abstentions from the IREP, IOU, and Municipal Market Segments. Revision Requests Withdrawn NPRR780, Revise North 345kV Hub Definition [ERCOT] Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the August 11, 2016 PRS Meeting - NPRR753, Allow AMS Data Submittal Process for TDSP-Read Non-Modeled Generators [ERCOT] - NPRR755, Agent-Only QSE Registration [ERCOT] - NPRR760, Calculation of Exposure Variables For Days With No Activity [DC Energy] - NPRR773, Broadening Scope of Acceptable Letter of Credit Issuers [ACES] - NPRR778, Modifications to Date Change and Cancellation Evaluation Window [TX SET WG] - NPRR782, Settlement of Infeasible Ancillary Services Due to Transmission Constraints [ERCOT] - NPRR785, Synchronizing WGR and PVGR COPs with the Short Term Wind and PhotoVoltaic Forecasts [ERCOT] - NPRR786, Consumption Data Adjustments for Negative Load [ERCOT] - NPRR787, Removal of Recipient Name Requirement for VDI Confirmations [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR562, Subsynchronous Resonance [ERCOT] - NPRR638, Revisions to Certain Price Components of EAL [ERCOT] - NPRR697, Disclosure of Protected Information for Research and Coordination Purposes [ERCOT] - NPRR759, Segmentation of the Total New Capacity Estimate in the ERCOT CDR [PLWG] - NPRR768, Revisions to Real-Time On-Line Reliability Deployment Price Adder Categories [ERCOT] - NPRR769, Alignment with VCMRR013, Clarifications to Verifiable Cost Appeals Process [ERCOT] - NPRR772, Clarification of Process for Transmission Outages Related to a Service Disconnection Request for a Generation Resource [Oncor] - NPRR775, Enhanced Implementation of Limits for Fast Responding Regulation Service [ERCOT] - NPRR776, Voltage Set Point Communication [ERCOT] - NPRR777, ERCOT-directed Dispatch of Price-Responsive Distributed Generation [SENA] - NPRR783, Revision of Network Operations Model Consistency Audit Requirement [ERCOT] - SCR785, Update RTL calculation to include Real-Time Reserve Price Adder based components [ERCOT] New Revision Requests Scheduled for Consideration at the August 11, 2016 PRS Meeting - NPRR788, RMR Study Modifications [LCRA] - NPRR789, Publish All Load Forecast Results [Citigroup] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr