## Slide 1
Settlement of Switchable Generation Resources
ERCOT
RCWG
July 26, 2016

## Slide 2: Settlement of SWGRs
REAL-TIME SETTLEMENT FOR SUSPENDED SWITCHING OPERATIONS
In the current ERCOT Protocols there is no settlement consideration for the lost opportunity a SWGR incurs, if ERCOT suspends a SWGR’s ability to switch into another grid by committing the unit through a RUC process or if ERCOT requests the SWGR switch into ERCOT during or in anticipation of Emergency Conditions. Currently, the SWGR compensation is determined through the RUC process. The SWGR can include a purchase power agreement as part of their verifiable cost, if it meets the criteria in the ERCOT Protocols1.
Challenge: SWGRs potentially have commitments and opportunities in other power regions that are not specifically addressed in current ERCOT settlements.
Potential Change: Add language to ERCOT Protocols and verifiable cost manual to address the unique costs associated with SWGRs.
There are multiple options on how to financially settle the SWGR during suspended switching operation intervals.
1. A = Make whole to the resource cost + penalty from contractual obligations + penalty from market obligations
2. B = A + lost opportunity cost
3. C = B - RUC Clawback
ERCOT Recommendation: ERCOT recommends that an SWGR be eligible for make whole payments as well as additional settlement treatment to cover contractual penalties, and penalties from market obligations.
1 Signed prior to July 16, 2008

## Slide 3: Settlement Option A
A = Make whole to the resource cost + penalty from contractual obligations + penalty from market obligations
SWGR Make Whole Payment = Max[(SWGR Guarantee + penalty from contractual obligations + penalty from market obligations),Real-Time Revenues1]
SWGR Cost Guarantee
  SWGR Cost Guarantee for the hours SWGR is needed under emergency conditions (RUC)
  No claw-back charge
  Might be able to utilize existing RUC settlement structure with some changes
Penalty from contractual obligations
  Fees for not meeting a capacity requirement for a particular day due to a mandatory ERCOT switch, if the switch results in lowering the monthly or annual required minimum availability as stated in the contract.
  Penalty associated with an inability to meet a previously awarded Day-Ahead Capacity requirement
    Impact on final availability may be difficult to determine given that other variables affect it.
    Unclear when fees would be submitted to ERCOT given that in some markets capacity payments/charges are invoiced monthly. This implies that any approved fees would have to be paid in Final or True-Up settlements.
    Unclear if fees and penalties need to be allocated capacity short or LRS directly?
  1 Example: Real-Time Energy Imbalance + Emergency Payments