| RRGRRR Number | 009 | RRGRR Title | Adding Voltage Limit Sets, Relay Loadability, MLSE, and GMD Data |
| --- | --- | --- | --- |
| Date |  | July 20, 2016 |  |
| Submitter’s Information |  |  |  |
| Name |  | Jay Teixeira |  |
| E-mail Address |  | Jay.Teixeira@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-6582 |  |
| Cell Number |  | 512-656-6734 |  |
| Market Segment |  | Not applicable |  |

Comments

ERCOT submits comments to simplify the data requirements for transformers that are true three winding transformers but required to be modeled as two winding transformers in the Resource Asset Registration Form (RARF) for DC Winding resistance of winding 3, GIC Blocking Device in winding 3, and Winding 3 Grounding Resistance.  This modification removes three fields from the Resource Registration Glossary and simplifies the data entry.

Revised Cover Page Language

None

Revised Proposed Protocol Language

Please see 009RRGRR-14a ERCOT Comments 072016 for proposed revisions to the following language in light blue:

Tab – Resource Registration Glossary; Lines 691, 692, 693, 694, 695, 696, 700, 701, and 702.

Tab – Implementation of RRGRR006&007; Lines 743, 744, 745, 746, 747, 748, 752, 753, and 754.