## Slide 1
ROS Report
Boone Staples
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Non-Voting Items
Switchable Generation Resources white paper presented by ERCOT
  ROS assigned OWG & PLWG to review.
GIC System Modeling Procedure Manual
  Approved at ROS (1 opposed, 1 abstention)

## Slide 3: Voting Items
NOGRR150, Alignment with NPRR747, Revision of Voltage Control Requirements
  Passed at ROS (unanimous)
NOGRR155, Voltage Ride-Through Requirements Clarification (with OWG recommendation)
  Passed at ROS (unanimous)

## Slide 4: Voting Items
RRGRR009, Adding Voltage Limit Sets, Relay Loadability, MLSE, and GMD Data
  Passed at ROS
PGRR046, Addition of Geomagnetically Induced Current (GIC) Model Building Requirements
  Passed at ROS (1 opposing vote)