ERCOT Nodal Operating Guide

- Table of Contents

- August 1, 2016

1	Overview	1

1.1	Document Purpose	1

1.2	Document Relationship	2

1.3	Process for Nodal Operating Guide Revision	2

1.3.1 Introduction	2

1.3.2 Submission of a Nodal Operating Guide Revision Request	3

1.3.3 Operations Working Group	4

1.3.4 Nodal Operating Guide Revision Procedure	5

1.3.5 Urgent Requests	13

1.3.6 Nodal Operating Guide Revision Implementation	14

1.4	Definitions	14

A	14

B	15

C	15

D	15

E	15

F	15

G	16

H	16

I	16

J	17

K	17

L	17

M	17

N	17

O	17

P	17

Q	17

R	18

S	18

T	18

U	19

V	19

W	19

X	19

Y	19

Z	19

1.5	Operational Training	20

1.5.1 System Operator Training Objectives	20

1.5.2 System Operator Training Requirements	20

1.5.3 ERCOT Operations Training Seminar	21

1.5.4 ERCOT Severe Weather Drill	21

1.5.5 Training Practices	22

1.5.6 ERCOT Operator Certification Program	22

2	System Operations and Control Requirements	1

2.1	Operational Duties	1

2.2	System Monitoring and Control	3

2.2.1 Overview	3

2.2.2 Security Criteria	4

2.2.3 Response to Transient Voltage Disturbance	5

2.2.4 Load Frequency Control	5

2.2.5 Automatic Voltage Regulators	6

2.2.6 Power System Stabilizers	6

2.2.7 Turbine Speed Governors	8

2.2.8 Performance/Disturbance/Compliance Analysis	10

2.2.9 Time Error and Time Synchronization	12

2.2.10 Generation Resource Response Time Requirements	12

2.3	Ancillary Services	14

2.3.1 Responsive Reserve	16

2.3.2 Non-Spinning Reserve Service	16

2.4	Outage Coordination	19

2.5	Reliability Unit Commitment	19

2.5.1 Criteria for Removing Contingencies from the RUC Analyses	19

2.6	Requirements for Under-Frequency Relaying	19

2.6.1 Automatic Firm Load Shedding	19

2.6.2 Generators	21

2.7	System Voltage Profile	21

2.7.1 Introduction	21

2.7.2 Maintaining Voltage Profile	22

2.7.3 Special Consideration for Nuclear Power Plants	24

2.7.4 Reactive Considerations for Generation Resources	24

2.8	Operation of Direct Current Ties	25

2.8.1 Inadvertent Energy Management	26

2.9	Voltage Ride-Through Requirements For Generation Resources	26

2.9.1 Additional Voltage Ride-Through Requirements for Wind-Powered Generation

Resources	27

3 	ERCOT AND MARKET PARTICIPANT RESPONSIBILITIES	1

3.1	System Control Interfaces with ERCOT	1

3.1.1 Introduction	1

3.1.2 Compliance with Dispatch Instructions	1

3.2	Qualified Scheduling Entities	2

3.2.1 Operating Obligations	2

3.2.2 Changes in Resource Status	3

3.2.3 Regulatory Required Incident and Disturbance Reports	3

3.2.4 Ancillary Service Qualification and Testing Program	4

3.3	Resource Entities	5

3.3.1 Unit Capability Requirements	7

3.3.2 Unit Reactive Capability Requirements	7

3.3.3 Resource Entity Responsibilities for Equipment Ratings	15

3.4	Load Resource Testing Requirement	15

3.5	ERCOT Implementation	16

3.6	Transmission Service Providers	17

3.7  	Transmission Operators	17

3.7.1 Transmission Owner Responsibility for a Vegetation Management Program	19

3.7.2 Trasmission Service Provider Responsibilities for Equipment Ratings	19

3.8  	Requirements for Reporting Sabotage Information	19

4	Emergency Operation	1

4.1	Introduction	2

4.2	Communication Under Emergency Conditions	2

4.2.1 Operating Condition Notice	2

4.2.2 Advisory	3

4.2.3 Watch	3

4.2.4 Emergency Notice	4

4.3	Operation to Maintain Transmission System Security	4

4.3.1 Real-Time and Short Term Planning	5

4.4	Block Load Transfers between ERCOT and Non-ERCOT System	5

4.5	Energy Emergency Alert (EEA)	5

4.5.1 General	5

4.5.2 Operating Procedures	6

4.5.3 Implementation	7

4.5.3.1 General Procedures Prior to EEA Operations	 9

4.5.3.2 General Procedures During to EEA Operations	10

4.5.3.3 EEA Levels	11

4.5.3.4 Load Shed Obligation………………………………………………………………..15

4.5.3.5 EEA Termination…………………………………………...……………………….15

4.6	Black Start Service	16

4.6.1 Principles	16

4.6.2 Strategies	17

4.6.3 Priorities	18

4.6.4 Responsibilities	18

4.6.5 Black Start Emergency Back Up Communication Facilities Criteria	21

4.7	Geomagnetic Operational Preparedness for Geomagnetic Disturbances	22

4.7.1 Monitoring and Dissemination of Space Weather Information	22

4.7.2 Development and Submission of TO GMD Operating Procedures or Processes	22

4.7.3 ERCOT’s Operating Plan and Review of TO GMD Operating Procedures or Processes	23

4.8	Responsive Reserve Service During Scarcity Conditions…………………………………………23

4.8.1 Responsive Reserve Service Manual Deployment…………………………………………..23

4.8.2 Responsive Reserve Service Manual Recall…….……….………….………………………24

5	Network Operations Modeling Requirements	1

5.1	System Modeling Information	1

6	Disturbance Monitoring and System Protection	1

6.1	Disturbance Monitoring Requirements	1

6.1.1 Introduction	1

6.1.2 Fault Recording Equipment	1

6.1.3 Phasor Measurement Recording Equipment	4

6.1.4 Equipment Reporting Requirements	6

6.1.5 Review Process	6

6.2	System Protective Relaying	6

6.2.1 Introduction	6

6.2.2 Design and Operating Requirements for ERCOT System Facilities	7

6.2.3 Performance Analysis Requirements for ERCOT System Facilities	8

6.2.4 Protective Relay System Failure Response	10

6.2.5 Maintenance and Testing Requirements for ERCOT System Facilities	11

6.2.6 Requirements and Recommendations for ERCOT System Facilities	12

7	Telemetry and Communication	1

7.1  	ERCOT Wide Area Network	1

7.1.1 ERCOT Responsibilities	1

7.1.2 QSE and TSP Responsibilities	2

7.1.3 Joint Responsibilities (Maintenance and Restoration)	5

7.2	ERCOT ICCP Interface	5

7.2.1 Quality Codes	5

7.2.2 Metric of Availability	5

7.3	Telemetry	6

7.3.1 Data from ERCOT to QSEs	6

7.3.2 Data from ERCOT to TSP	6

7.3.3 Data from QSEs and TSPs to ERCOT	6

7.3.4 TSP and QSE Telemetry Restoration	7

7.3.5 General Telemetry Performance Criterion	8

7.4	Calibration and Testing of Telemetry Responsibilities	8

7.5	Competitive Renewable Energy Zone Circuits and Stations	8

8	Attachments

8A Black Start Info

8B Protection System Misoperation Report

8C Turbine Governor Speed Tests

8D Seasonal Unit Net Real Power Capability Verification

8E Black Start Plan Template

8F Seasonal Hydro Responsive Reserve Net Capability Verification

8G Load Resource Tests

8H Unit Alternative Fuel Capability

8I Black Start Resource Availabiity Test Form

9	Monitoring Programs	1

9.1	QSE and Resource Monitoring Program	1

9.1.1 Testing	1

9.1.2 Reactive Testing for Generation Resources	1

9.1.3 Real-Time Data	2

9.1.4 Compliance with Valid Dispatch Instructions	3

9.1.5 Resource Facilities Network Operations Model Update Implementation Monitor	3

9.1.6 Resource Outage Reporting	3

9.1.7 Backup Control for Resource Energy Deployment	4

9.1.8 Qualified Staffing Requirement	4

9.1.9 Automatic Voltage Regulator (AVR)	5

9.1.10 Current Operating Plan Metrics for QSEs	6

9.2	TSP Monitoring Program	6

9.2.1 Intentionally Left Blank	6

9.2.2 Real-Time Data Monitor	6

9.2.3 Transmission Outage Reporting	7

9.2.4  Transmission Service Provider (TSP) Network Operations Model Update Implementation Monitor	8

9.2.5  Backup Control for TSPs	8

9.3	ERCOT Monitoring Program	9

9.3.1 Transmission Control	9

9.3.2 System and Resource Control	12

9.3.3 Forecasting	13

9.3.4 System Operating Constraints	14

9.3.5 Network Operations Model Update Implementation Statistics	14

9.3.6 Back-up Control Plan	15

9.3.7 ERCOT Black Start Plan	15

9.3.8 Computer and Communication Systems Real-Time Availability and Systems Security	15

9.3.9 Voltage and Reactive Control Performance Monitoring	16

9.4	Ancillary Services Monitoring Program	17

9.4.1 Hydro Responsive Testing	17

9.4.2 Black Start Service Requirements for TSPs, QSEs, and Generation Resources	17

9.4.3 Resource-Specific Responsive Reserve Performance	17

9.4.4 Constant Frequency Control	18

9.4.5 Resource-specific Non-Spinning Reserve	18

10	Market Data Transparency	1

10.1	Direct Current Tie Outage Information	1

10.2	Daily Grid Operations Report	2

11	Constraint Management Plans and Special Protection Systems	1

11.1	Introduction	1

11.2	Special Protection System	1

11.2.1 Reporting of SPS Operations	4

11.3	Remedial Action Plan	5

11.3.1 Remedial Action Plan Process	6

11.4	Mitigation Plan	6

11.5	Pre-Contingency Action Plans	7

11.5.1 Pre-Contingency Action Plan Process	8

11.6	Temporary Outage Action Plan	8