- Summary of Nodal Operating Guide Revisions

- Effective:  August 1, 2016

- Section 2:

NOGRR155 – Voltage Ride-Through Requirements Clarification

This Nodal Operating Guide Revision Request (NOGRR) clarifies Voltage Ride-Through (VRT) performance requirements for all Generation Resources immediately following a fault.  This NOGRR stipulates that, in addition to remaining On-Line and connected to the transmission system following a fault, Generation Resources must also maintain real power.

Revised Subsection:  2.9

- Section 4:

NOGRR163 – Administrative Changes for August 1, 2016 Nodal Operating Guide – Load Shed Table

This Administrative Nodal Operating Guide Revision Request (NOGRR) updates the ERCOT Load Shed Table for 2016.  Administrative changes to the Load Shed Table are allowed under Section 1.3.1, Introduction.

Revised Subsection:  4.5.3.4