| PGRR Number | 047 | PGRR Title | FIS Department of Defense Declaration |
| --- | --- | --- | --- |
| Date Posted |  | May 11, 2016 |  |
| Requested Resolution |  | Normal |  |
| Planning Guide Sections Requiring Revision |  | 5.3, Full Interconnection Study Request 8, Attachment C, Declaration of Department of Defense Notification (new) |  |
| Related Documents Requiring Revision/Related Revision Requests |  | None |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) requires Interconnecting Entities (IEs) seeking a Full Interconnection Study (FIS) to submit a declaration to ERCOT concerning the applicability and status of reviews by the Department of Defense (DOD) and/or the Federal Aviation Administration (FAA) for the proposed Generation Resource. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) See explanation in the Business Case below. (please select all that apply) |  |
| Business Case |  | Current federal regulations require that any structure constructed above certain height limits (approximately 200 feet above ground level) or within certain close proximity to military and civilian airports provide notice to the Federal Aviation Administration (FAA) and the U.S. Department of Defense (DOD) Siting Clearinghouse. The FAA and DOD review the proposed structure and provide feedback regarding any concerns they may have, as authorized by federal law. ERCOT has recently received a request from the Office of the Governor for the State of Texas and the DOD to consider including some language in the ERCOT Planning Guide that ensure that any proposed construction of generation or other facilities that are covered in the scope of the existing federal regulations confirm that they have provided notice and obtained review from the FAA and DOD to the extent required under federal law. Several other states have enacted rules or statutes to achieve this same goal. This PGRR adds confirmation that the above described federal regulations have been followed into the list of IE requirements pertaining to FIS, and provides a standardized form for Market Participants to submit the required attestation. |  |

| Sponsor |  |
| --- | --- |
| Name | Warren Lasher / Douglas Fohn |
| E-mail Address | Warren.Lasher@ercot.com / Douglas.Fohn@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6379 / 512-275-7447 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

Proposed Guide Language Revision

- 5.3	Full Interconnection Study Request

(1)	Any Interconnecting Entity (IE) seeking a Full Interconnection Study (FIS) for interconnection to the ERCOT System must submit the following to ERCOT:

(a)	A Notice to proceed with the FIS;

(b)	Resource Registration data in the format prescribed by ERCOT with applicable information required for interconnection studies identified in the Resource Registration Glossary;

(c)	A Stability Modeling Fee as prescribed in Section 5.7.3, Stability Modeling Fee;

(d)	Proof of site control as described in Section 5.4.9, Proof of Site Control; and

(e)	A declaration in Section 8, Attachment C, Declaration of Department of Defense Notification, certifying that:

(i)	The IE has notified the Department of Defense (DOD) Siting Clearinghouse of the proposed Generation Resource and requested an informal or formal review as described in 32 C.F.R. § 211.1 (2013); or

(ii)	The IE’s proposed Generation Resource is not required to provide notice to the DOD and Federal Aviation Administration (FAA) because the project does not meet the criteria requiring notice to the FAA under 14 C.F.R. § 77.9 (2010).

(2)	Transmission Service Providers (TSPs) may charge additional fees for their interconnection studies.

(3)	All FIS requests and supporting data submissions shall be delivered to ERCOT by email.  The supporting data shall be sent as discrete file attachments.

(4)	The IE shall include the associated project identification number (INR number) in the subject field of the email.

(5)	The IE shall include in the FIS request all information necessary to allow for timely development, design, and implementation of any electric system improvements or enhancements required by ERCOT and the TSP to reliably meet the interconnection requirements of the proposed generation.  This information shall be of sufficient detail for use in determining transfer capabilities, operating limits (including stability), and planning margins to provide both reliability and operating efficiency as well as facilitating coordinated planning for future transmission system additions.

(6)	Upon receipt of the FIS request, the ERCOT designated point of contact will continue to be the primary ERCOT contact for the IE, ensuring Resource Registration data is communicated to the TSP.  The ERCOT designated point of contact will initiate a meeting between the TSP(s) and the IE.  If during the course of the studies, additional information is needed from the IE, ERCOT will immediately notify the IE and the IE will have ten Business Days to answer the request for additional information without impacting the study timeline.

ERCOT Planning Guide

Section 8

Attachment C:  Declaration of Department of Defense Notification

- TBD

Declaration of Department of Defense Notification

Interconnecting Entity (IE):________________________________________________

This declaration applies to the following proposed Generation Resource:________________________________________________________________

Check the below listed attestation(s) which apply to the Generation Resource.

I hereby attest that:

____ 	This IE has notified the Department of Defense (DOD) Siting Clearinghouse of the above listed proposed Generation Resource and requested that it perform an Informal Review and/or Formal Review as described in 32 C.F.R. § 211.1 (2013);

____	This IE has completed the formal review process for the Generation Resource with the Department of Defense (DOD) Siting Clearinghouse and Federal Aviation Administration (FAA), as described in 14 C.F.R. § 77.7 (2010) and  32 C.F.R. § 211.6 (2013);  or

_____	The above listed proposed Generation Resource is exempt from the requirement to seek review from the Department of Defense (DOD) and the Federal Aviation Administration (FAA), as described in 14 C.F.R. § 77.7 (2010) and  32 C.F.R. § 211.6 (2013).

By signing below, I certify that I am an officer, executive, or authorized employee with authority to bind the IE listed above, that I am authorized to execute and submit this declaration on behalf of each IE listed above, and that, to the best of my knowledge, the statements contained herein are true and correct.

______________________________________

Signature

______________________________________

Name

______________________________________

Title

______________________________________

Date