## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to the ROS
August 4, 2016
Michael Juricek
PGDTF Chairman
<number>
8/4/2016 ROS Meeting

## Slide 2: July 22, 2016 Meeting
Discussed Data Requirements for GIC System Model.
Started List of Questions for GIC Software Vendor.
Decided to Retain December 2016 as Target Date for TSPs’ Data for GIC System Model.
Decided to Defer Next Training Class into 2017 When GIC System Model is Available.
Discussed Next Activities.
Michael Juricek – 8/4/2016 ROS Meeting
<number>

## Slide 3: Next Activities for PGDTF
Create GIC System Model for Geomagnetic Disturbance (GMD) Vulnerability Assessment (12/2016).
Develop PGRR for Documenting GMD Planning Activities as Required by the Proposed Standard.
Michael Juricek – 8/4/2016 ROS Meeting
<number>

## Slide 4: Next Meeting and Other
September ??, 2016 at Met Center
Continue Discussing Data Needed for the GIC System Model.
Develop Questions Regarding Use of the GIC Module.
GIC System Model Procedure Manual Posted on PGDTF Web Page.
Michael Juricek – 8/4/2016 ROS Meeting
<number>

## Slide 5: Questions and Answers
<number>
Michael Juricek – 8/4/2016 ROS Meeting