# NDSWG Report to ROS

# August 2016

**NDSWG last met on July 19th**

**Major Agenda items reviewed and/or discussed:**

* **ERCOT NMMS Upgrade Project Update**

User training – October/November 2016

Go-Live – November 2016

* **ERCOT discussion items**

NPRR 783, Revision of Network Operations Model Consistency Audit Requirement

Upcoming ICCP Handbook changes

New requirements for Phase Angle Limit

NOGRR162 Process for Resolving Data Discrepancies

* **Reviewed 2015 Telemetry Availability and State Estimator Metrics (TRE report)**
* **Reviewed Modeling guideline revision requests**

MGR0024: Remove necessity to model MVA ratings on the transformer winding

MGR0025: Addition of validation rules affecting substations with generation resources

MGR0026: Shunt Compensator required links updates

MGR0027: Add line length requirement to AC Line Segment

MGR0028: Clarification of required Conductor rating

MGR0029: Shunt Compensator update (Dominant Capbank)

**Next NDSWG meeting is scheduled for October 2016**