## Slide 1: OWG Update to ROS
S. Looney, Luminant
August 4, 2016

## Slide 2: Voting Items
158NOGRR Alignment with Protocol Limits on RRS Provided by Hydro Resources – OWG approved IA, recommends ROS approval.
159NOGRR Alignment with NPRR779, Clarifies References to Texas Reliability Entity and Independent Market Monitor -- OWG approved IA, recommends ROS approval.

## Slide 3: Language Review
162NOGRR, Process for Resolving Real-Time Data Discrepancies –
  IRO-010-2 becomes effective on 1/1/2017 requires ERCOT to run RTCA every 30 minutes for SOLs and IROLs
  IRO-017 requires a procedure for data validation
  OWG discussed alternative language
  Tabled

## Slide 4: Language Review
776NPRR Voltage Set Point Communication
  Working on preferred method for designating the POI in ERCOT’s systems.
  Tabled
Switchable Generation Resource Whitepaper –
  OWG had no reliability issues with the whitepaper
NPRR790, Addition of Phase Angle Limits to the Network Operations Model –
  Adding phase angle data for transmission breakers
  Tabled

## Slide 5: Other Business
Outage Scheduler Enhancements --
  On August 8 the actual interface will be available for testing
  Next month ERCOT will bring a transition plan for revising existing outages in the system
  ERCOT will host another Webex to demonstrate the new functionality