## Slide 1
<number>
Profiling Working Group
Update to COPS
August 10, 2016
Jim Lee (AEP) – Chair Sheri Wiegand (TXU) – Vice Chair
Notes: <number>

## Slide 2
<number>
ERCOT responsibility for unregistered DG reporting has moved from the Data Loading & Aggregation Dept. to the System Planning (Resource Adequacy Dept.)
System Planning is responsible for reporting current and future resources in ERCOT and is the main internal consumer of DG data.
  Uses data to determine current and forecasted DG capacity reported to NERC for Long Term Reliability Assessments
  Transmission Planning looks at how DG should be incorporated in reliability studies and load flow cases
Changes to Unregistered DG Reporting

## Slide 3
<number>
To align Binding Documents with the change in DG reporting responsibility, ERCOT submitted:
  NPRR794, Relocation of Unregistered DG Reporting Requirements
  COPMGRR044, Alignment with NPRR794, Relocation of Unregistered DG Reporting Requirements
This change puts reporting requirements for DG in the same section of Nodal Protocols as reporting of other resources & increases market transparency for future changes in DG reporting. ** PWG will continue discussions with ERCOT to determine if a new report format is needed and/or whether existing reports provided by the TDSPs (ie: Annual Load Data Request (ALDR)) can be leveraged for this purpose.**
Changes to Unregistered DG Reporting

## Slide 4
<number>
Next PWG meeting date: August 31st , 9:30am start time (WebEx only)
Agenda items:
Changes to Unregistered DG Reporting
Annual Validation Review
Remaining PWG 2016 meetings:
October 26 (WebEx only) December 9 (WebEx only)
http://www.ercot.com/committees/board/tac/cops/pwg/

## Slide 5
<number>