## Slide 1: July 28, 2016 TAC Update to COPS
Michelle Trenary
August 10, 2016

## Slide 2: PRS Update
<number>
NPRR696, Price Correction Process Following a SCED Failure Approved (Roll Call)
NPRR738, ERS Performance Calculations During TDSP Outages Approved
NPRR747, Revision of Voltage Control Requirements Approved
NPRR767, Commitment by RUC for Long Lead Time Resource Approved
NPRR770, Addition of Outaged Resource Capacity to the Ancillary Services Capacity Monitor Approved
NPRR771, Clarifications to New ESI ID Creation Process Approved
NPRR774, Remove Duplicate Language to Calculate Seasonal Transmission Loss Factors Approved
NPRR779, Clarifies References to Texas Reliability Entity and Independent Market Monitor Tabled at TAC; Waiting on NOGRR159 and PGRR048
NPRR781, Updates to Nodal Protocol Section 18, Load Profiling, to Align with Current Market Processes Tabled at TAC; Pending consideration of LPGRR057
SCR789, Update NMMS Topology Processor to PSSE 34 Capability Approved
NPRR784, Mitigated Offer Caps for RMR Units Rejected
NPRR780, Revise North 345 kV Hub Definition Withdrawn
Notes: <number>

## Slide 3: Appeal of NPRR784
<number>
Mitigated Offer Caps for RMR Units
Proposed to establish a process to set the Mitigated Offer Cap for Reliability Must-Run (RMR) Units that is consistent with the adopted policy of ensuring that out-of-market units do not interfere with market outcomes.
  Would provide ERCOT with a flexible process to set and update a Mitigated Offer Cap for RMR Units that allows SCED to Dispatch RMR Units for congestion as far back in the Dispatch order as possible but well below the System-Wide Offer Cap (SWCAP).
  The value of the Mitigated Offer Cap for RMR Units, and any subsequent changes, would be communicated to Market Participants through a Market Notice.
The TAC motion to grant the NRG appeal of NPRR784 failed by roll-call vote

## Slide 4: ROS Report
<number>
NOGRR150, Alignment with NPRR747, Revision of Voltage Control Requirements Tabled at TAC until Board considers NPRR747
NOGRR155, Voltage Ride-Through Requirements Clarification Approved
RRGRR009, Adding Voltage Limit Sets, Relay Loadability, MLSE, and GMD Data Approved
PGRR046, Addition of Geomagnetically Induced Current (GIC) Model Building Requirements Approved
Appeal of NOGRR149, Revision to Definition of Transmission Operation Tabled at TAC

## Slide 5: WMS Report
<number>
  RMR
    WMS prioritized the issue list and made assignments
    Continue to work on issues in WMS, Working Groups and other Subcommittees (ROS)
    Seeking guidance on any other specific action items
  Joint Market Continuity Workshop (WMS, COPS and RMS)
    Assignments made to various working groups
    Next meeting pushed to at least September or October
  NPRR777, ERCOT-directed Dispatch of Price-Responsive Distributed Generation
    Plan to dedicate 1 hour at each WMS meeting over the next 4 months

## Slide 6: WMS Report
<number>
  Votes taken at WMS:
  NPRR747, Revision of Voltage Requirements Endorsed with 4/21/16 ERCOT Comments
  NPRR696, Price Correction Process Following a SCED Failure Endorsed with 10/19/15 Reliant Comments
  NPRR773, Broadening Scope of Acceptable Letter of Credit Issuers Endorsed with 6/22/16 CWG Comments
  NPRR782, Settlement of Infeasible Ancillary Services Due to Transmission Constraints Endorsed as submitted

## Slide 7: NPRR782
<number>
  Settlement of Infeasible Ancillary Services Due to Transmission Constraints
  NPRR782 clarifies the Protocol language regarding the equations governing the Settlement of Ancillary Services for Resources that are not able to deliver on their Ancillary Services responsibilities due to transmission constraints
The QSE with the infeasible Ancillary Service(s) will be charged the Day-Ahead Market (DAM) clearing price regardless whether the responsibility was awarded, self-arranged, or traded, and regardless of whether a Supplemental Ancillary Service Market (SASM) is executed
The Ancillary Service replacement cost, if any, is charged to all QSEs based on the current Settlement allocation (Load Ratio Share (LRS) less self-arranged)
The QSE with the Ancillary Service infeasibility is not directly charged the full replacement cost, if any
All revenues collected from charges to QSEs due to infeasible Ancillary Service(s) are paid to all QSEs based on the current Settlement allocation (LRS less self-arranged)

## Slide 8: July 7, 2016 EMS Outage Event
<number>
  Impact: 1hour 42 minutes
  EMS Applications
  LFC (Load Frequency Control)
  SCED Solutions
  Root Cause: Information Technology: Situational Awareness
  Multiple Sessions including EMS & Model Verification Environment (MVE)
  Command intended for MVE was executed in EMS
  Recovery:
  Immediate awareness that there was an issue
  Identify problem, recovery & restore data and verify in sequence

## Slide 9: July 7, 2016 EMS Outage Event
<number>
Settlement Impact
Subsequent to the EMS issue, corrected prices were posted for the affected SCED intervals
Emergency Base Point data was determined to not be reliable and was therefore not used for Initial Settlement
ERCOT is continuing to evaluate alternatives that may impact subsequent settlements and will provide updates as necessary
Lessons Learned
  Training: IT Operations and IT Support
  Hardening: Processes, Production and Lower Environments, Procedures Re-Enforcement and Automation
  Lessons Learned – IT Situational Awareness:
  Internal – IT Operations, Grid Operations, IT Support
  External – TRE, NERC, EMS Working Groups
  Market Participants

## Slide 10: Reliability Must Run (RMR)
<number>
RMR and the following NPRRs will be taken up at WMS and ROS:
NPRR788, RMR Study Modifications
NPRR793, Clarifications to RMR RUC Commitment and Other RMR Cleanups
NPRR795, Provisions for Refunds of Capital Contributions Made in Connection with an RMR Agreement

## Slide 11: Annual TAC/TAC Subcommittee Review
<number>
Proposal to tack on to the August 25th TAC meeting or hold the following day, August 26th
  Discussion on COPS processes and structure

## Slide 12: Questions?
14