## Stats
RESULTSCODE | 2016-01-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 6-Month Average | Percentage by Error Code
0 | 220906742 | 206352251 | 219031918 | 212502181 | 221079049 | 216813597 | 99.76% | N/A
1 | 14 | 5 | 0 | 0 | 7 | 37 | 4.847e-06% | 0.002026%
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0%
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0%
4 | 0 | 0 | 5550 | 0 | 0 | 262 | 0.0004471% | 0.1869%
5 | 9367 | 11723 | 11092 | 13057 | 10250 | 10246 | 0.005057% | 2.114%
6 | 9573 | 9040 | 9538 | 9306 | 9695 | 9559 | 0.004363% | 1.824%
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0%
8 | 378091 | 320457 | 359870 | 494159 | 395026 | 406683 | 0.1811% | 75.71%
9 | 17229 | 18327 | 24667 | 17296 | 19510 | 26530 | 0.009506% | 3.974%
10 | 64984 | 54943 | 53531 | 152823 | 107648 | 68273 | 0.03864% | 16.15%
11 | 33 | 3 | 1 | 2 | 2 | 34 | 5.77e-06% | 0.002412%
12 | 282 | 253 | 123 | 103 | 109 | 176 | 8.047e-05% | 0.03364%
13 | 0 | 0 | 0 | 6 | 2 | 0 | 6.155e-07% | 0.0002573%
AVG. PER DAY | 7141494.0323 | 7129896.6207 | 7080525.4839 | 7106297.7667 | 7149074.129 | 7244513.2333

## Error Code Description
LSE ERROR CODES TABLE
| Error Description | Comments
Error Code |  |  | How MRE should interpret and/or correct this error
0 | Data loaded successfully. | No comment necessary | Data record completed successfully within ERCOT’s system. No Action required.
1 | Mandatory element not a valid value. | Field = ‘ ‘ | Refer to list of valid values for field listed in the LSE File Format Specifications document.
2 | Value has improper format. | Field = ‘ ‘ | Data record contains an element that is incorrectly formatted. Resend data record with correct data format.
3 | Data does not contain a full day. (DST inclusive) | No comment necessary | Data record does not contain a full day’s worth of data. Resend data record with a complete day of data starting 00:00:00 and ending 23:59:00.
4 | Data contains future dated read. | No comment necessary | Data contains a STARTTIME or STOPTIME greater than SYSDATE. Resend data record with corrected STARTTIME and/or STOPTIME that is in the past.
5 | File contains more recent read for this ESI ID and timeframe. Load not attempted. | No comment necessary | File contains a more recent read for this ESI ID and timeframe. Load not attempted. No Action required.
6 | ESI ID does not exist. | No comment necessary | ESI ID does not exist in ERCOT's system. TDSP sends 814_20 to add ESI ID to ERCOT systems. Resend data record.
7 | Sender is not the owner of the ESI ID. (Incorrect MRE DUNS) | No comment necessary | The ESI ID exists in ERCOT’s system but it is serviced/owned by different MRE entity. No Action
8 | ESI ID profile code is invalid for LSE data submitted. | No comment necessary | The ESI ID exists in ERCOT’s system but the channel/recorder does not exist. TDSP sends 814_20 to update the Advance Metering PROFILE CODE. Resend data record.
9 | Generation value for specific period was not expected but submitted. | No comment necessary | ESI ID is not set up to receive generation data. If ESI ID should have generation, TDSP sends 814_20 to update the PROFILE CODE. Resend data record. If ESI ID should not have generation, no action necessary.
10 | Timestamp of data record is less than or equal to the timestamp of loaded data. | No comment necessary | The submitted transaction did not overwrite the loaded data because the timestamp of the submitted data was not greater than the timestamp of the loaded data. No Action required.
11 | WARNING: Exceeds Threshold – Bypass Requested | No comment necessary | The transaction submitted has been allowed to bypass validations for threshold only.
12 | Exceeds Threshold for load data. | No comment necessary | At least one 15 minute interval within the transaction has exceeded the threshold set for load.
13 | Exceeds Threshold for generation data. | No comment necessary | At least one 15 minute interval within the transaction has exceeded the threshold set for generation.
F1 | Record count exceeds file limit of 50,000 data records. File has failed to process. | No comment necessary | Record count exceeds file limit of 50,000 data records. File has failed to process. Resend file with 50000 or less data records.
F2 | Mandatory element missing. File has failed to process. | Record # = ‘ ‘, Field = ‘ ’ | Data cannot be loaded because a mandatory data element is missing. Resend data record with correct mandatory elements.