## Slide 1
FIS Initiatives Update
Chad Thompson
Manager, Operations Support
ERCOT, Inc.
Planning Working Group
August 17, 2016

## Slide 2: FIS Initiatives - Review
Set C: PGRR
  Modify Section 6.9 of the Planning Guide to address modeling issues with incomplete information
    Added new section 6.9 (2)
  Other language clean up
    Modified section 6.9 (1)

## Slide 3: FIS Initiatives - Review
Set B: PGRR
  Require ERCOT perform an operational study for newly interconnecting generators
    Added new section 5.9 Triannual Stability Assessment

## Slide 4: FIS Initiatives - NEW
Set A: NPRR
  Require ERCOT to develop GTC exit strategy
    Added new section 3.10.7.6 (7)
  Clarify criteria for Initial Synchronization
    Modified section 16.5 (4)

## Slide 5: FIS Initiatives - NEW
Set A: NPRR
  Other language clean up
    Define Initial Energization and Initial Synchronization
    Modified 3.10.1 (2) & 16.5 (3) to be consistent with Set C Planning Guide Section 6.9 requirements
    Added new section 3.10.7.6 (2) to align with Set B PGRR Section 5.9 requirements

## Slide 6: FIS Initiatives - NEW
Set A: PGRR
  Revise confidentiality provisions for FIS studies
    Added new section 5.4.8 (4) & (5)
    Modified section 7.1 (2)
  TSPs & IEs to resolve FIS-identified instability first through generator controls, then through transmission improvement, or implement a RAS
    Added new section 5.4.5 (6)

## Slide 7: FIS Initiatives - NEW
Set A: PGRR
  Other language clean up
    Modified section 5.4.2 (1), clarifying FIS intended use
    Use of Initial Synchronization as defined term per Set A NPRR

## Slide 8: Proposed Planning Guide 5.4.5 (6)