## Slide 1
2017 Winter Peak and Spring Off-Peak Voltage Profile Kick Off
Operations Planning
August 16, 2016

## Slide 2
Agenda
SSWG Case and Contingency Information
Changes to the Base Case
Voltage Profile Conversations
Changes From Last Voltage Profile
Voltage Profile Schedule
Additional Information

## Slide 3: SSWG Case and Contingency Information
Cases:
  15SSWG_2017_WIN1_U3_Final_07012016
    Load: 64,367.8 MW
  16SSWG_2017_SPG2_Final_07012016
    Load: 40,805.0 MW
Contingencies
  Auto-generated Single
  NERC P1 & P7

## Slide 4: Changes to the Base Case and Contingency Files
Please review and verify that the information in these SSWG cases and con files are correct
  This includes but is not limited to generation pattern, mothballed unit information, generator reactive capabilities, autotransformer tap settings
IDEV File and/or Con File must be submitted with the proposed changes
For contingency files, please only submit the contingencies are you are modifying or adding
File Name Convention: TDSP_2017_VP_SPG2(WIN1)_Pass0.IDV(con)
  EX: ONCOR_2017_VP_WIN1_Pass0.IDV(con)

## Slide 5: Voltage Profile Conversations
Please include Voltage Profile in the subject line of all emails
Example subject lines:
  2017 Winter/Spring Voltage Profile - CNP Pass 0 Submission
  RE: 2017 WINTER_SPRING Voltage Profile Study
  Voltage Profile Pass0 Changes
This helps me not miss any emails related to our Voltage Profile Study

## Slide 6: Changes From Last Voltage Profile Study
Contingency Analysis
  Summer/Fall
    Power Flow: Fixed Sloped Decoupled Newton Raphson
    Transformers and Reactive Devices Locked
    Mismatch Tolerance: 0.5 MW
  Winter/Spring
    Power Flow: Full Newton Raphson
    Transformers and Reactive Devices Locked
    Mismatch Tolerance: 2 MW

## Slide 7: Voltage Profile Schedule
Pass # | ERCOT Scheduled Date | TDSP Submittal
Pass0 | 09/06/16 | 09/14/16
Pass1 | 09/22/16 | 09/29/16
Pass2 | 10/06/16 | 10/17/16
Pass3 | 10/25/16 | 11/01/16
Final Pass | 11/10/16 | Review Spreadsheet
Review Meeting | 11/15/16 | 
Posted | 12/01/16 | 

## Slide 8: Additional Information
PSS/E version: ERCOT will be using the PSS/E Version 33.5.2 during the studies.
Power World version: ERCOT will be using Simulator 19 during the studies.