## Slide 1
Generation Resource Energy and Regulation Deployment Performance – July 2016
QMWG 08/30/2016

## Slide 2: IRR Summary July 2016
IRR | Fleet | <95% | >100 INT; <95%
Average (%) | 77.33 | 52.28 | 61.61
Median (%) | 94.70 | 69.89 | 61.40
Average ERR(MW) | 3.48 | 3.43 | 3.64
Median ERR(MW) | 3.43 | 3.79 | 3.66
INTERVALS | 6943 | 1096 | 614
100+ INT | 13 | 2 | 2
AVE INT SCORED | 78 | 26 | 307
Non IRR GREDP < 85% 06/30/2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev(GREDP MW) | GREDP Monthly Score
Unit 243 | 572 | 674 | 4.12 | 84.87
Unit 150 | 401 | 481 | 2.82 | 83.37
Unit 138 | 11 | 26 | 0.70 | 42.31
 | 984 | 1,181 | 3.51 | 83.32

## Slide 3: IRR GREDP > .95 (47) July 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 4 | 2,122 | 2,122 | 4.97 | 100.00
Unit 5 | 1,245 | 1,245 | 0.56 | 100.00
Unit 1 | 527 | 552 | 3.16 | 95.47
Unit 70 | 353 | 355 | 2.75 | 99.44
Unit 71 | 333 | 333 | 2.66 | 100.00
Unit 43 | 257 | 260 | 4.79 | 98.85
Unit 45 | 260 | 260 | 5.06 | 100.00
Unit 79 | 248 | 248 | 2.44 | 100.00
Unit 46 | 151 | 154 | 2.81 | 98.05
Unit 25 | 99 | 104 | 3.96 | 95.19
Unit 32 | 103 | 103 | 4.02 | 100.00
Unit 9 | 14 | 14 | 3.69 | 100.00
Unit 89 | 13 | 13 | 4.03 | 100.00
Unit 30 | 10 | 10 | 5.86 | 100.00
Unit 6 | 5 | 5 | 2.97 | 100.00
Unit 29 | 5 | 5 | 5.59 | 100.00

## Slide 4: IRR GREDP > .95 (47) July 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 37 | 5 | 5 | 3.64 | 100.00
Unit 62 | 4 | 4 | 1.22 | 100.00
Unit 81 | 4 | 4 | 1.64 | 100.00
Unit 82 | 4 | 4 | 1.92 | 100.00
Unit 83 | 4 | 4 | 1.15 | 100.00
Unit 44 | 3 | 3 | 4.36 | 100.00
Unit 58 | 3 | 3 | 3.27 | 100.00
Unit 67 | 3 | 3 | 2.98 | 100.00
Unit 85 | 3 | 3 | 1.11 | 100.00
Unit 87 | 3 | 3 | 6.93 | 100.00
Unit 21 | 2 | 2 | 2.27 | 100.00
Unit 23 | 2 | 2 | 4.25 | 100.00
Unit 40 | 2 | 2 | 3.74 | 100.00
Unit 51 | 2 | 2 | 3.43 | 100.00
Unit 52 | 2 | 2 | 4.93 | 100.00
Unit 53 | 2 | 2 | 4.41 | 100.00

## Slide 5: IRR GREDP > .95 (47) July 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 66 | 2 | 2 | 3.12 | 100.00
Unit 3 | 1 | 1 | 4.72 | 100.00
Unit 10 | 1 | 1 | 1.72 | 100.00
Unit 19 | 1 | 1 | 3.00 | 100.00
Unit 20 | 1 | 1 | 2.59 | 100.00
Unit 22 | 1 | 1 | 3.15 | 100.00
Unit 26 | 1 | 1 | 3.63 | 100.00
Unit 31 | 1 | 1 | 4.80 | 100.00
Unit 35 | 1 | 1 | 4.76 | 100.00
Unit 41 | 1 | 1 | 1.20 | 100.00
Unit 42 | 1 | 1 | 6.66 | 100.00
Unit 50 | 1 | 1 | 3.86 | 100.00
Unit 63 | 1 | 1 | 4.91 | 100.00
Unit 64 | 1 | 1 | 4.35 | 100.00
Unit 68 | 1 | 1 | 3.10 | 100.00
 | 5,809 | 5,847 | 3.37 | 99.35

## Slide 6: IRR GREDP < .95 (42) July 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 16 | 172 | 316 | 4.28 | 54.43
Unit 15 | 205 | 298 | 3.00 | 68.79
Unit 77 | 76 | 83 | 5.13 | 91.57
Unit 39 | 44 | 47 | 3.29 | 93.62
Unit 2 | 32 | 38 | 5.13 | 84.21
Unit 57 | 33 | 37 | 3.47 | 89.19
Unit 78 | 22 | 35 | 4.22 | 62.86
Unit 14 | 23 | 29 | 3.38 | 79.31
Unit 13 | 24 | 28 | 3.28 | 85.71
Unit 18 | 26 | 28 | 5.02 | 92.86
Unit 55 | 17 | 19 | 2.29 | 89.47
Unit 60 | 18 | 19 | 3.22 | 94.74
Unit 36 | 14 | 15 | 5.67 | 93.33
Unit 61 | 14 | 15 | 2.33 | 93.33

## Slide 7: IRR GREDP < .95 (42) July 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 24 | 8 | 10 | 2.82 | 80.00
Unit 28 | 6 | 7 | 5.24 | 85.71
Unit 88 | 3 | 6 | 4.96 | 50.00
Unit 38 | 3 | 5 | 3.95 | 60.00
Unit 47 | 3 | 5 | 2.72 | 60.00
Unit 80 | 1 | 5 | 4.72 | 20.00
Unit 7 | 3 | 4 | 1.20 | 75.00
Unit 8 | 2 | 4 | 2.33 | 50.00
Unit 59 | 3 | 4 | 1.56 | 75.00
Unit 69 | 3 | 4 | 2.52 | 75.00
Unit 84 | 3 | 4 | 1.13 | 75.00
Unit 12 | 1 | 3 | 3.18 | 33.33
Unit 34 | 2 | 3 | 3.81 | 66.67
Unit 56 | 1 | 3 | 4.19 | 33.33

## Slide 8: IRR GREDP < .95 (42) July 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 76 | 1 | 3 | 5.46 | 33.33
Unit 11 | 0 | 2 | 3.13 | 0.00
Unit 33 | 0 | 2 | 1.19 | 0.00
Unit 54 | 1 | 2 | 3.68 | 50.00
Unit 65 | 1 | 2 | 0.64 | 50.00
Unit 72 | 1 | 2 | 6.33 | 50.00
Unit 86 | 0 | 2 | 4.05 | 0.00
Unit 17 | 0 | 1 | 2.18 | 0.00
Unit 27 | 0 | 1 | 3.74 | 0.00
Unit 48 | 0 | 1 | 1.55 | 0.00
Unit 49 | 0 | 1 | 0.54 | 0.00
Unit 73 | 0 | 1 | 3.91 | 0.00
Unit 74 | 0 | 1 | 3.97 | 0.00
Unit 75 | 0 | 1 | 5.65 | 0.00
 | 766 | 1,096 | 3.79 | 69.89