## Slide 1: Missed Postings July 2016 through August 22, 2016: Summary
 | Missed Postings - July 2016 |  |  |  |  | 
 | EMIL_ID | Report Type ID | PRODUCT_NAME | GEN_FREQ | # Missed | 
 | NP4-739-SG | 13498 | Aggregated Solar Resource Power Potential Forecast | Chron - Hourly | 1 | 
 | NP5-300-CD | 13075 | Hourly RUC Off-Line Generation Resources Initial Conditions | Chron - Hourly | 2 | 
 | NP5-752-CD | 10050 | Hourly RUC Committed or Decommitted Resources | Chron - Hourly | 2 | 
 | NP5-755-CD | 12336 | Hourly RUC Active and Binding Transmission Constraints | Chron - Hourly | 2 | 
 | NP5-524-CD | 13109 | HRUC Deselected Capacity | Chron - Hourly | 2 | 
 | NP5-758-CD | 13079 | Deselected Hourly RUC Recommendations | Chron - Hourly | 1 | 
 | NP4-736-SG | 13482 | Solar Generation Resource Power Potential Forecast | Chron - Hourly | 1 | 
 | NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1 | 
 | Missed Postings - Aug 1-23, 2016 |  |  |  |  | 
 | EMIL_ID | Report Type ID | PRODUCT_NAME | GEN_FREQ | # Missed | 
 | NP6-215-CD | 11024 | Real Time Dynamic Rating Data | Chron - 15 Minutes | 1 | 
 | NP6-291-CD | 12309 | Topology Consistency | Chron - 5 Minutes | 1 | 
 | NP6-619-CD | 12308 | State Estimator Real-Time Transmission Line Flows | Chron - 5 Minutes | 1 | 
 | NP8-143-CD | 11025 | QSE Ancillary Services Capacity Monitor | Chron - 5 Minutes | 10 | 
 | NP4-733-CD | 13071 | Wind Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1 | 
 | NP4-738-CD | 13484 | Solar Power Production - Actual 5-minute averaged values | Chron - 5 Minutes | 1 | 
 | NP4-731-SG | 12320 | Wind Generation Resource Power Potential Forecast | Chron - Hourly | 1 | 
 | NP6-915-CD | 13081 | Summary Report of HDL and LDL | Event - Per SCED Run | 1 | 

## Slide 2: Missed Postings July 2016 through August 22, 2016: Detail
 | Missed Postings - July 2016 |  |  |  | 
 | Report Name | EMIL ID | Report ID | Intervals Missed (DD/MM/YYYY) | Reason
 | Aggregated Solar Resource Power Potential Forecast | NP4-739-SG | 13498 | 06/07/2016 12:00 - 06/07/2016 13:00 | M-B070616-01 Missed Solar Report Postings (no data from vendor)
 | Hourly RUC Off-Line Generation Resources Initial Conditions | NP5-300-CD | 13075 | 23/07/2016 05:00 - 23/07/2016 07:00 | Source System issue
 | Hourly RUC Committed or Decommitted Resources | NP5-752-CD | 10050 | 23/07/2016 05:00 - 23/07/2016 07:00 | Source System issue
 | Hourly RUC Active and Binding Transmission Constraints | NP5-755-CD | 12336 | 23/07/2016 05:00 - 23/07/2016 07:00 | Source System issue
 | HRUC Deselected Capacity | NP5-524-CD | 13109 | 23/07/2016 05:00 - 23/07/2016 07:00 | Source System issue
 | Deselected Hourly RUC Recommendations | NP5-758-CD | 13079 | 23/07/2016 06:00 - 23/07/2016 07:00 | Source System issue
 | Solar Generation Resource Power Potential Forecast | NP4-736-SG | 13482 | 06/07/2016 12:00 - 06/07/2016 13:00 | M-B070616-01 Missed Solar Report Postings (no data from vendor)
 | Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 20/07/2016 13:40 - 20/07/2016 13:45 | Database Password Change
 | Missed Postings - August 1 - 22 , 2016 |  |  |  | 
 | Report Name | EMIL ID | Report ID | Intervals Missed (DD/MM/YYYY) | Reason
 | Real Time Dynamic Rating Data | NP6-215-CD | 11024 | 17/08/2016 17:30 - 17/08/2016 17:45 | M-A081216-01, Planned system maintenance with impacted services
 | Topology Consistency | NP6-291-CD | 12309 | 17/08/2016 17:40 - 17/08/2016 17:45 | M-A081216-01, Planned system maintenance with impacted services
 | State Estimator Real-Time Transmission Line Flows | NP6-619-CD | 12308 | 17/08/2016 17:40 - 17/08/2016 17:45 | M-A081216-01, Planned system maintenance with impacted services
 | QSE Ancillary Services Capacity Monitor | NP8-143-CD | 11025 | 17/08/2016 17:40 - 17/08/2016 18:25 | M-A081216-01, Planned system maintenance with impacted services
 | Wind Power Production - Actual 5-minute averaged values | NP4-733-CD | 13071 | 17/08/2016 17:40 - 17/08/2016 17:45 | M-A081216-01, Planned system maintenance with impacted services
 | Solar Power Production - Actual 5-minute averaged values | NP4-738-CD | 13484 | 17/08/2016 17:40 - 17/08/2016 17:45 | M-A081216-01, Planned system maintenance with impacted services
 | Wind Generation Resource Power Potential Forecast | NP4-731-SG | 12320 | 17/08/2016 18:00 - 17/08/2016 19:00 | M-A081216-01, Planned system maintenance with impacted services
 | Summary Report of HDL and LDL | NP6-915-CD | 13081 | 17/08/2016 17:40 - 17/08/2016 17:45 | M-A081216-01, Planned system maintenance with impacted services