## Slide 1
Preliminary Ancillary Service Quantities for 2017 using Current Methodology
ERCOT Staff

## Slide 2: Schedule for Stakeholder discussion
Aug 30, 2016 – QMWG (w Current Methodology)
Sep 19, 2016 – QMWG (w Proposed Methodology)
Sep 22, 2016 – OWG
Oct 6, 2016 – ROS
Oct 17, 2016 – WMS
Oct 27, 2016 – TAC
Dec 13, 2016 – BOD
Notes: 3.16 Standards for Determining Ancillary Service Quantities
The ERCOT Board shall review and approve ERCOT's methodology for determining the minimum Ancillary Service requirements, the monthly percentage of Load Resources, Controllable Load Resources and DC Ties allowed to provide RRS, and the maximum amount of Reg-Up and Reg-Down that can be provided by Resources providing FRRS-Up and FRRS-Down.
Last done by BOD Dec 2014.

## Slide 3: Scope
The values of Ancillary Services (AS) quantities for 2017 contained in this presentation are based on the same methodology that was approved in June 2016. The quantities for 2017 simply reflects moving forward the historic data on which quantities are based, unless otherwise noted.
ERCOT is seeking feedback, based on this analysis, of whether or not any changes are needed to the 2017 AS Methodology.

## Slide 4: Regulation Service
The preliminary Regulation quantities in subsequent slides for January through July of 2017 are based on historical (2015 and 2016) five-minute net load variability data using the current methodology.
There will be an additional adjustments to the regulation quantities for 2017, once the updates to the GE Tables are completed.

## Slide 5: ERCOT CPS1

## Slide 6: Reg-Up (Jan 2017)

## Slide 7: Reg-Up (Feb 2017)

## Slide 8: Reg-Up (March 2017)

## Slide 9: Reg-Up (April 2017)

## Slide 10: Reg-Up (May 2017)

## Slide 11: Reg-Up (June 2017)

## Slide 12: Reg-Up (July 2017)

## Slide 13: Reg-Down (Jan 2017)

## Slide 14: Reg-Down (Feb 2017)

## Slide 15: Reg-Down (Mar 2017)

## Slide 16: Reg-Down (Apr 2017)

## Slide 17: Reg-down (May 2017)

## Slide 18: Reg-Down (Jun 2017)

## Slide 19: Reg-Down (Jul 2017)

## Slide 20: Regulation Service Methodology Changes
ERCOT is contemplating the following changes to the 2017 Regulation Service Methodology,
  Remove exhaustion rate feedback from the regulation procurement analysis
  Estimate 5-minute net load variability by including Solar generation (consistent with process to adjust for annual wind generation increase).
ERCOT will share the revised Regulation Service quantities computed using the above changes prior to the September 7th QMWG meeting.

## Slide 21: Responsive Reserve Service (RRS)
The preliminary RRS quantities in subsequent slides for January through July of 2017 are based on historical (2015 and 2016) inertia data using current methodology.
2017 RRS quantities reflect system inertia based on Gross MW telemetry in comparison to the net MW telemetry.
Note that, if RDF is not removed, then the amounts to be procured for HE 15 through HE 18 in the months of July and August in 2017 would be increased by 200 MW.

## Slide 22: RRS (Jan 2017)

## Slide 23: RRS (Feb 2017)

## Slide 24: RRS (Mar 2017)

## Slide 25: RRS (Apr 2017)

## Slide 26: RRS (May 2017)

## Slide 27: RRS (Jun 2017)

## Slide 28: RRS (Jul 2017)

## Slide 29: Non-Spin Reserve Service (NSRS)
The preliminary NSRS quantities in subsequent slides for January through July of 2017 are based on historical (2014, 2015 and 2016) net forecast error data using the current methodology.

## Slide 30: NSRS (Jan 2017)

## Slide 31: NSRS (Feb 2017)

## Slide 32: NSRS (Mar 2017)

## Slide 33: NSRS (Apr 2017)

## Slide 34: NSRS (May 2017)

## Slide 35: NSRS (Jun 2017)

## Slide 36: NSRS (Jul 2017)

## Slide 37: Questions and Answers