## Slide 1: PLWG Report to ROS
September 8, 2016

## Slide 2: Topics
PGRR042 - Regional Transmission Plan Model Reserve Requirement and Load-Generation Imbalance Methodology
Stability Issues Identified during FIS -- Process/Impact on Generic Transmission Constraints

## Slide 3: PGRR042 - Regional Transmission Plan Model Reserve Requirement and Load-Generation Imbalance Methodology
History
  Initiated by ERCOT in response to concerns expressed over the impact of load scaling on the evaluation of individual projects.
  Submitted in February 2015.
  Comments from 9 parties filed.
  July 2016, PLWG identified two alternatives but lacked consensus.
  Issued report to ROS referring to two alternatives.

## Slide 4: PGRR042 - Regional Transmission Plan Model Reserve Requirement and Load-Generation Imbalance Methodology
AEP
Project Evaluation
  Gives ERCOT discretion to make model changes needed to evaluate a project
  Requires that ERCOT give RPG notice of case changes and allow adequate time for comments.
  Requires a sensitivity study to report the impact of generation additions in or near the study area on Tier 1 projects.
Regional Transmission Plan
  SSWG cases are starting point.
  Mothballed gen is removed.
  All other case adjustments reported to RPG with time allowed for comment.
Morgan Stanley/ NRG/Calpine
Project Evaluation
  Requires use of ERCOT 90/10 forecast.
  Prescribes allowable case adjustments and establishes limits to load scaling outside of region of study.
  Requires a sensitivity study to report the impact of generation additions in or near the study area on Tier 1 projects.
  Requires a study showing the impact of load scaling on outcome of study.
Regional Transmission Plan
  Requires use of ERCOT 90/10 forecast.

## Slide 5: PGRR042 - Regional Transmission Plan Model Reserve Requirement and Load-Generation Imbalance Methodology
ERCOT 9/3/2016
Project Evaluation
  Gives ERCOT discretion to make model changes needed to evaluate a project
  Requires that ERCOT give RPG notice of case changes and allow adequate time for comments.
  Requires a sensitivity study to report the impact of generation additions in or near the study area on Tier 1 projects.
  Requires a study showing the impact of load scaling on outcome of study.
Regional Transmission Plan
  SSWG cases are starting point.
  Mothballed gen is removed.
  All other case adjustments reported to RPG with time allowed for comment.
In Addition
  ERCOT will apply a “Bounded Higher-of-Methodology” in the 2017 RTP Scope Document.

## Slide 6: Stability Issues Identified during FIS -- Process/Impact on Generic Transmission Constraints
History
  Several GTC have been established as a result of new generation being interconnect.
  ERCOT Operations and PLWG members generally agree that processes for establishing these constraints be defined.
  In addition, Planning Guide Section 6.9 was identified as potentially being too limiting on the inclusion of generators in planning models.

## Slide 7: Stability Issues Identified during FIS -- Process/Impact on Generic Transmission Constraints
Possible solution
  Three PGRRs being developed
    Section 6.9 revisions
    Triennial Stability Study Requirements
    FIS Study Requirement Clarifications
  Companion NPRR
    Establishes requirement on ERCOT to perform Triennial Stability Assessment

## Slide 8: Stability Issues Identified during FIS -- Process/Impact on Generic Transmission Constraints
Potential barriers to implementation
  Length of time required for stability assessment
  Synchronization of SSWG, DWG and SSWG cases
  Workload on ERCOT Operations staff.