## Slide 1
Generation Resource Energy and Regulation Deployment Performance – August 2016
QMWG 09/19/2016

## Slide 2: IRR Summary August2016
IRR | Fleet | <95% | >100 INT; <95%
Average (%) | 81.41 | 24.09 | 0
Median (%) | 90.69 | 54.83 | 0
Average ERR(MW) | 3.35 | 2.32 | 0
Median ERR(MW) | 3.55 | 1.76 | 0
INTERVALS | 2266 | 31 | 0
100+ INT | 4 | 0 | 0
AVE INT SCORED | 69 | 4 | 0
Non IRR GREDP < 85% 08/31/2016
 | Total Intervals Passed | Total Intervals Scored | Std Dev(GREDP MW) | GREDP Monthly Score
Unit 167 | 200 | 247 | 1.95 | 80.97
Unit 236 | 139 | 169 | 2.23 | 82.25
Unit 289 | 50 | 63 | 1.66 | 79.37
Unit 306 | 0 | 1 | 3.75 | 0.00

## Slide 3: IRR GREDP > .95 (25) August 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 1 | 1,145 | 1,148 | 4.98 | 99.74
Unit 6 | 318 | 330 | 2.39 | 96.36
Unit 7 | 310 | 317 | 2.36 | 97.79
Unit 2 | 264 | 264 | 2.76 | 100.00
Unit 12 | 79 | 79 | 3.61 | 100.00
Unit 19 | 35 | 35 | 8.14 | 100.00
Unit 20 | 23 | 23 | 1.53 | 100.00
Unit 4 | 14 | 14 | 3.16 | 100.00
Unit 10 | 4 | 4 | 3.56 | 100.00
Unit 28 | 3 | 3 | 2.37 | 100.00
Unit 29 | 2 | 2 | 2.38 | 100.00
Unit 30 | 2 | 2 | 4.81 | 100.00

## Slide 4: IRR GREDP > .95 (25) August 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 31 | 2 | 2 | 2.97 | 100.00
Unit 3 | 1 | 1 | 4.39 | 100.00
Unit 9 | 1 | 1 | 2.70 | 100.00
Unit 11 | 1 | 1 | 4.40 | 100.00
Unit 14 | 1 | 1 | 3.98 | 100.00
Unit 15 | 1 | 1 | 3.21 | 100.00
Unit 16 | 1 | 1 | 3.20 | 100.00
Unit 18 | 1 | 1 | 2.59 | 100.00
Unit 21 | 1 | 1 | 4.76 | 100.00
Unit 23 | 1 | 1 | 4.24 | 100.00
Unit 26 | 1 | 1 | 4.66 | 100.00
Unit 32 | 1 | 1 | 4.17 | 100.00
Unit 33 | 1 | 1 | 4.72 | 100.00
 | 2,213 | 2,235 | 3.90 | 99.02

## Slide 5: IRR GREDP < .95 (8) August 2016
UNIT | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG-Exp MW) | GREDP Monthly Score
Unit 24 | 8 | 11 | 2.62 | 72.73
Unit 27 | 7 | 10 | 2.42 | 70.00
Unit 8 | 2 | 4 | 1.94 | 50.00
Unit 22 | 0 | 2 | 1.63 | 0.00
Unit 5 | 0 | 1 | 3.24 | 0.00
Unit 13 | 0 | 1 | 1.45 | 0.00
Unit 17 | 0 | 1 | 2.71 | 0.00
Unit 25 | 0 | 1 | 2.57 | 0.00
 | 17 | 31 | 2.39 | 54.84