ERCOT VOLTAGE PROFILE WORKING GROUP (VPWG)

## September 8, 2016 Report to ROS

### Recent Meeting

- VPWG had a meeting on Aug 16, 2016.

- Some concerns were raised on the VSS exemptions for Grandfathered plants. ERCOT confirmed that although there are VSS exemptions for those old plants, they are still required to hold their voltage profiles.

- System load level for a “Typical High Load” case for voltage profile study scenarios was discussed. It is proposed that VPWG do a test case using “Typical High Load” for winter season (maybe 50 GW load) and compare Voltage Profiles with the upcoming Winter-Spring studies (at winter peak load hour).

- The group reviewed and updated the Draft Voltage Study Procedure Manual based on previous study experiences and comments from the draft last meeting.

- Kicked off the Winter/Spring 2017 Voltage Profile Study process.

### Future Planned Meeting

- Next VPWG will be held on Tuesday, September 20, 2016.

Feng Tu	Scot Williams

VPWG Chair	VPWG Vice-Chair