## Slide 1: OWG Update to ROS
S. Looney, Luminant
September 8, 2016

## Slide 2: Language Review
NPRR790, Addition of Phase Angle Limits to the Network Operations Model --
  CNP comments posted on Sept. 6
  OWG was in consensus to endorse at the August 18 meeting. OWG has not considered the CNP comments.

## Slide 3: Language Review
NOGRR162, Process for Resolving Real-Time Data Discrepancies –
  IRO-010-2 becomes effective on 1/1/2017 requires ERCOT to run RTCA every 30 minutes for SOLs and IROLs
  IRO-017 requires a procedure for data validation
  OWG workshop discussed alternative language
  Comments submitted by Garland reflect workshop discussion.

## Slide 4: Language Review
NPRR776 Voltage Set Point Communication
  Working on preferred method for designating the POI in ERCOT’s systems.
  Tabled at OWG
NPRR792, Changing Special Protection System (SPS) to Remedial Action Scheme (RAS) -- Tabled
NOGRR164, Alignment with NPRR792, Removing Special Protection System (SPS) and adding Remedial Action Scheme (RAS) -- Tabled