## Slide 1: Standards Subject to Future Enforcement Quarter 3 of 2016 – Quarter 3 of 2017
Rachel Coyne, Manager, Reliability Standards Program

## Slide 2: Standards Upcoming Enforcement Dates – 10/1/2016
Standard/Requirement | Enforcement Date
BAL-001-TRE-1 (GO 100% meet average 12-month PFR) R9, R10 | 10/1/2016
FAC-003-4 (All Requirements) | 10/1/2016
MOD-031-2 (All Requirements) | 10/1/2016
PRC-002-2 R12 | 10/1/2016

## Slide 3: BAL-001-TRE-1 Implementation Plan Timeline
4/1/2015
BAL-001-TRE-1 Effective
ERCOT Records FMEs (R1)
GO 50% Governor Settings (R6) (R7)
GOP Notify ERCOT of Governor Status Change (R8)
4/1/2014
10/1/2015
1/1/2016
4/1/2016
7/1/2016
10/1/2016
GO 100% Governor Settings (R6) (R7)
ERCOT Makes FR Public if FME Occurs (R4)
ERCOT Improves FR if < IMFR (R5)
ERCOT 12-Month PFR Calculated (R2)
ERCOT Calculates IMFR (R3)
GO 50% Meet Average 12-Month PFR (R9) (R10)
GO 100% Meet Average 12-Month PFR (R9) (R10)
7/1/2015

## Slide 4: PRC-002-2 Implementation Plan
Requirement | % Compliant | Compliant By
R1, R5 | 100% | 7/1/2016 (6 months)
R12 | 100% | 10/1/2016 (9 months)
R2-R4, R6-R11 | 50% | 1/1/2020 (4 years)
R2-R4, R6-R11 (Entities owning only one BES bus, BES Element, or generating unit shall be fully compliant within 6 years) |  | 1/1/2022 (6 years)
R2-R4, R6-R11 | 100% | 1/1/2026 (10 years)
Standard Enforcement Date: First day of first calendar quarter six months after effective date of order = 7/1/2016
Entities shall be 100% compliant with a re-evaluated list from R1 or R5 within three years following the notification by the TO or responsible entity that re-evaluated the list

## Slide 5: Standards Upcoming Enforcement Dates – 1/1/2017
Standard/Requirement | Enforcement Date
IRO-010-2 | Phased in beginning 1/1/2017
TOP-003-3 | Phased in beginning 1/1/2017

## Slide 6: IRO-010-2 Implementation Plan
Requirement | Compliant By
R1, R2 | 1/1/2017
R3 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter nine months after effective date of order = 1/1/2017

## Slide 7: TOP-003-3 Implementation Plan
Requirement | Compliant By
R1, R2, R3, R4 | 1/1/2017
R5 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter nine months after effective date of order = 1/1/2017

## Slide 8: Standards Upcoming Enforcement Dates – 4/1/2017
Standard/Requirement | Standard/Requirement
EOP-004-3 | PRC-015-1
FAC-010-3 | PRC-016-1
FAC-011-3 | PRC-017-1
MOD-029-2a | PRC-023-4
MOD-030-3 | 
RAS Definition Changes

## Slide 9: TOP/IRO Standards Upcoming Enforcement Dates – 4/1/2017
Standard/Requirement | Enforcement Date
IRO-001-4 | 4/1/2017
IRO-002-4 | 4/1/2017
IRO-008-2 | 4/1/2017
IRO-010-2 R3 | 4/1/2017
IRO-014-3 | 4/1/2017
TOP-001-3 | 4/1/2017
TOP-002-4 | 4/1/2017
TOP-003-3 R5 | 4/1/2017

## Slide 10: IRO-010-2 Implementation Plan
Requirement | Compliant By
R1, R2 | 1/1/2017
R3 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter nine months after effective date of order = 1/1/2017

## Slide 11: TOP-003-3 Implementation Plan
Requirement | Compliant By
R1, R2, R3, R4 | 1/1/2017
R5 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter nine months after effective date of order = 1/1/2017

## Slide 12: Non-CIP Standards Upcoming Enforcement Dates – 4/1/2017
Standard/Requirement | Enforcement Date
EOP-010-1 R2 | 4/1/2017
EOP-011-1 | 4/1/2017
PRC-004-5(i) | 4/1/2017
PRC-005-6 (Partial) | 4/1/2017
PRC-010-1 | 4/1/2017
PRC-010-2 | 4/2/2017

## Slide 13: EOP-010-1 Implementation Plan
Requirement | Compliant By
R1, R3 | 4/1/2015
R2 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter six months after effective date of order = 4/1/2015

## Slide 14: PRC-005-6 Enforcement Dates
Maximum Maintenance Interval | % Compliant | By Date
PRC-005-6 General Implementation Plan |  | 
Less than 1 year | 100% | Oct. 1, 2015 (1D/1Q 18 mo. following regulatory approval)
1–2 calendar years | 100% | Apr. 1, 2017 (1D/1Q 36 mo. following regulatory approval)
3 calendar years | 30% | Apr. 1, 2016 (1D/1Q 24 mo. following regulatory approval) Note 1
3 calendar years | 60% | Apr. 1, 2017 (1D/1Q 36 mo. following regulatory approval)
3 calendar years | 100% | Apr. 1, 2018 (1D/1Q 48 mo. following regulatory approval)
6 calendar years | 30% | Apr. 1, 2017 (1D/1Q 36 mo. following regulatory approval) Note 2
6 calendar years | 60% | Apr. 1, 2019 (1D/1Q 60 mo. following regulatory approval)
6 calendar years | 100% | Apr. 1, 2021 (1D/1Q 84 mo. following regulatory approval)
12 calendar years | 30% | Apr. 1, 2019 (1D/1Q 60 mo. following regulatory approval)
12 calendar years | 60% | Apr. 1, 2023 (1D/1Q 108 mo. following regulatory approval)
12 calendar years | 100% | Apr. 1, 2027 (1D/1Q 156 mo. following regulatory approval)
PRC-005 new additions for Auto Reclosing and Sudden Pressure Relay additions |  | 
Less than 1 year | 100% | Jan. 1, 2016 (1D/1Q following regulatory approval)
6 calendar years | 30% | Jan. 1, 2019 (1D/1Q 36 mo. following regulatory approval)
6 calendar years | 60% | Jan. 1, 2021 (1D/1Q 60 mo. following regulatory approval)
6 calendar years | 100% | Jan. 1, 2023 (1D/1Q 84 mo. following regulatory approval)
12 calendar years | 30% | Jan. 1, 2021 (1D/1Q 60 mo. following regulatory approval)
12 calendar years | 60% | Jan. 1, 2025 (1D/1Q 108 mo. following regulatory approval)
12 calendar years | 100% | Jan. 1, 2029 (1D/1Q 156 mo. following regulatory approval)
Note 1 Or, for generating plants with scheduled outage intervals exceeding two years, at the conclusion of the first succeeding maintenance outage. |  | 
Note 2 Or, for generating plants with scheduled outage intervals exceeding three years, at the conclusion of the first succeeding maintenance outage. |  | 

## Slide 15: CIP Standards Upcoming Enforcement Dates – 4/1/2017
Standard/Requirement | Enforcement Date
CIP-003-6 R1.2, R2 | 4/1/2017
CIP-006-6 R1.1 | 4/1/2017
CIP-007-6 R1.2 | 4/1/2017
CIP-010-2 R4 | 4/1/2017

## Slide 16: CIP-003-6 Implementation Plan
Requirement | Compliant By
All req. with exceptions listed below | 7/1/2016
R1.2 | 4/1/2017
R2 | 4/1/2017
R2 Attachment 1, section 1 | 4/1/2018
R2 Attachment 1, section 2 | 9/1/2018
R2 Attachment 1, section 3 | 9/1/2018
R2 Attachment 1, section 4 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter after effective date of order = 7/1/2016

## Slide 17: CIP-006-6 Implementation Plan
Requirement | Compliant By
All req. with exception of R1.1 | 7/1/2016
R1.1 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter after effective date of order = 7/1/2016

## Slide 18: CIP-007-6 Implementation Plan
Requirement | Compliant By
All req. with exception of R1.2 | 7/1/2016
R1.2 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter after effective date of order = 7/1/2016

## Slide 19: CIP-010-2 Implementation Plan
Requirement | Compliant By
R1, R2, R3 | 7/1/2016
R4 | 4/1/2017
Standard Enforcement Date: First day of first calendar quarter after effective date of order = 7/1/2016

## Slide 20: Standard Upcoming Enforcement Dates – 7/1/2017
Standard/Requirement | Enforcement Date
MOD-033-1 | 7/1/2017

## Slide 21: Initial Performance – CIP v5v6
Standard Requirement | Initial Performance by*
CIP-004-6 Part 2.3 | 7/1/2017
CIP-004-6 Part 4.3 | 7/1/2017
CIP-004-6 Part 4.4 | 7/1/2017
CIP-006-6 Part 3.1 | 7/1/2017
CIP-008-5 Part 2.1 | 7/1/2017
CIP-009-6 Part 2.1 | 7/1/2017
CIP-010-2 Part 3.1 | 7/1/2017
*See the Implementation Plan for Version 5 CIP Cyber Security Standards dated October 26, 2012.

## Slide 22: Questions
Rachel Coyne
rsm@texasre.org
512-583-4956